Table of contents
TECEflex
TECElogo
TECEfloor
TECEflex
TECEflex starter set (brass) Plastic
assortment case with common components
of the TECEflex range (dimension 16).
Bestell-Nr.: 700002
TECEflex starter set (brass/PPSU)
Plastic assortment case with common
components of the TECEflex range
(dimension 16). Threaded components made
of brass.
Bestell-Nr.: 700003
TECEflex starter set red brass/PPSU
Plastic assortment case with standard
parts from the TECEflex range, threaded
components made of red brass.
Bestell-Nr.: 700004
TECEflex PE-Xc potable water pipe PE-Xc
potable water pipe to DIN 16892.
Dimension: 16 - Roll
Bestell-Nr.: 700516
TECEflex PE-Xc potable water pipe PE-Xc
potable water pipe to DIN 16892.
Dimension: 20 - Roll
Bestell-Nr.: 700520
TECEflex PE-Xc potable water pipe PE-Xc
potable water pipe to DIN 16892.
Dimension: 25 - Roll
Bestell-Nr.: 700525
TECEflex heating pipe for underfloor
heating and radiator connection Heating
pipe for floor heating and radiator
connection made of PE-Xc,
silver-coloured, diffusion-tight in
accordance with DIN 4726.
Dimension: 16 - Roll
Bestell-Nr.: 702016
TECEflex heating pipe for underfloor
heating and radiator connection Heating
pipe for floor heating and radiator
connection made of PE-Xc,
silver-coloured, diffusion-tight in
accordance with DIN 4726.
Dimension: 20 - Roll
Bestell-Nr.: 702020
TECEflex heating pipe for underfloor
heating and radiator connection Heating
pipe for floor heating and radiator
connection made of PE-Xc,
silver-coloured, diffusion-tight in
accordance with DIN 4726.
Dimension: 25 - Roll
Bestell-Nr.: 702025
TECEflex five-layer MDXc all-plastic
pipe, particularly suitable for radiant
heating Mother-of-pearl coloured,
five-layer heating pipe made of PE-MDXc
to DIN 16894/95, particularly high
flexibility. Five-layer pipe with
internal diffusion block pursuant to DIN
4724, particularly suitable for
underfloor heating.
Dimension: 16 - Roll
Bestell-Nr.: 703316
TECEflex five-layer MDXc all-plastic
pipe, particularly suitable for radiant
heating Mother-of-pearl coloured,
five-layer heating pipe made of PE-MDXc
to DIN 16894/95, particularly high
flexibility. Five-layer pipe with
internal diffusion block pursuant to DIN
4724, particularly suitable for
underfloor heating.
Dimension: 20 - Roll
Bestell-Nr.: 703320
TECEflex five-layer MDXc all-plastic
pipe, particularly suitable for radiant
heating Mother-of-pearl coloured,
five-layer heating pipe made of PE-MDXc
to DIN 16894/95, particularly high
flexibility. Five-layer pipe with
internal diffusion block pursuant to DIN
4724, particularly suitable for
underfloor heating.
Dimension: 16 - Roll
Bestell-Nr.: 703416
TECEflex five-layer MDXc all-plastic
pipe, particularly suitable for radiant
heating Mother-of-pearl coloured,
five-layer heating pipe made of PE-MDXc
to DIN 16894/95, particularly high
flexibility. Five-layer pipe with
internal diffusion block pursuant to DIN
4724, particularly suitable for
underfloor heating.
Dimension: 20 - Roll
Bestell-Nr.: 703420
TECEflex pressure sleeve for all-plastic
pipe, nickel-plated Silver-coloured
pressure sleeve for TECEflex all-plastic
pipes. For press-connection of TECEflex
five-layer pipes.
Dimension: 16
Bestell-Nr.: 704016
TECEflex pressure sleeve for all-plastic
pipe, nickel-plated Silver-coloured
pressure sleeve for TECEflex all-plastic
pipes. For press-connection of TECEflex
five-layer pipes.
Dimension: 20
Bestell-Nr.: 704020
TECEflex pressure sleeve for all-plastic
pipe, nickel-plated Silver-coloured
pressure sleeve for TECEflex all-plastic
pipes. For press-connection of TECEflex
five-layer pipes.
Dimension: 25
Bestell-Nr.: 704025
TECEflex 5-layer all-plastic pipe for
potable water, heating and compressed
air Silver coloured, five-layer
universal pipe, suitable for potable
water, heating and compressed air
installations, to DIN EN ISO 15875,
oxygen-tight to DIN 4726.
Dimension: 16
Bestell-Nr.: 704516
TECEflex 5-layer all-plastic pipe for
potable water, heating and compressed
air Silver coloured, five-layer
universal pipe, suitable for potable
water, heating and compressed air
installations, to DIN EN ISO 15875,
oxygen-tight to DIN 4726.
Dimension: 20
Bestell-Nr.: 704520
TECEflex 5-layer all-plastic pipe for
potable water, heating and compressed
air in corrugated sheath pipe, black
Silver coloured, five-layer universal
pipe in corrugated sheath pipe, suitable
for potable water, heating and
compressed air installations, to DIN EN
ISO 15875, oxygen-tight to DIN 4726.
Dimension: 16
Bestell-Nr.: 704616
TECEflex 5-layer all-plastic pipe for
potable water, heating and compressed
air in corrugated sheath pipe, black
Silver coloured, five-layer universal
pipe in corrugated sheath pipe, suitable
for potable water, heating and
compressed air installations, to DIN EN
ISO 15875, oxygen-tight to DIN 4726.
Dimension: 20
Bestell-Nr.: 704620
TECEflex female connector brass Female
connector made of DR brass for O-ring
free pressure sleeve connection of
TECEflex composite pipe or PE-X pipe to
threaded fittings. (without TECEflex
pressure sleeve)
Material: Brass
Dimension: 14 x Rp 1/2”
Bestell-Nr.: 705001
TECEflex female connector brass Female
connector made of DR brass for O-ring
free pressure sleeve connection of
TECEflex composite pipe or PE-X pipe to
threaded fittings. (without TECEflex
pressure sleeve)
Material: Brass
Dimension: 16 x Rp 1/2”
Bestell-Nr.: 705002
TECEflex female connector brass Female
connector made of DR brass for O-ring
free pressure sleeve connection of
TECEflex composite pipe or PE-X pipe to
threaded fittings. (without TECEflex
pressure sleeve)
Material: Brass
Dimension: 20 x Rp 1/2”
Bestell-Nr.: 705003
TECEflex female connector brass Female
connector made of DR brass for O-ring
free pressure sleeve connection of
TECEflex composite pipe or PE-X pipe to
threaded fittings. (without TECEflex
pressure sleeve)
Material: Brass
Dimension: 20 x Rp 3/4”
Bestell-Nr.: 705004
TECEflex female connector brass Female
connector made of DR brass for O-ring
free pressure sleeve connection of
TECEflex composite pipe or PE-X pipe to
threaded fittings. (without TECEflex
pressure sleeve)
Material: Brass
Dimension: 25 x Rp 3/4”
Bestell-Nr.: 705007
TECEflex female connector brass Female
connector made of DR brass for O-ring
free pressure sleeve connection of
TECEflex composite pipe or PE-X pipe to
threaded fittings. (without TECEflex
pressure sleeve)
Material: Brass
Dimension: 32 x Rp 1”
Bestell-Nr.: 705008
TECEflex female connector brass Female
connector made of DR brass for O-ring
free pressure sleeve connection of
TECEflex composite pipe or PE-X pipe to
threaded fittings. (without TECEflex
pressure sleeve)
Material: Brass
Dimension: 25 x Rp 1”
Bestell-Nr.: 705009
TECEflex female connector brass Female
connector made of DR brass for O-ring
free pressure sleeve connection of
TECEflex composite pipe or PE-X pipe to
threaded fittings. (without TECEflex
pressure sleeve)
Material: Brass
Dimension: 40 x Rp 1 1/2”
Bestell-Nr.: 705010
TECEflex female connector brass Female
connector made of DR brass for O-ring
free pressure sleeve connection of
TECEflex composite pipe or PE-X pipe to
threaded fittings. (without TECEflex
pressure sleeve)
Material: Brass
Dimension: 50 x Rp 2”
Bestell-Nr.: 705011
TECEflex female connector brass Female
connector made of DR brass for O-ring
free pressure sleeve connection of
TECEflex composite pipe or PE-X pipe to
threaded fittings. (without TECEflex
pressure sleeve)
Material: Brass
Dimension: 63 x Rp 2”
Bestell-Nr.: 705014
TECEflex female connector red brass
Female connector made of red brass for
O-ring free pressure sleeve connection
of TECEflex pipes with threaded fittings
or fittings with a thread to DIN EN
10226. Fitting with optimized flow
resistance coefficient (Zeta value).
Suitable for all potable water
qualities. (without TECEflex pressure
sleeves)
Material: Red brass
Dimension: 16 x Rp 1/2”
Bestell-Nr.: 705102
TECEflex female connector red brass
Female connector made of red brass for
O-ring free pressure sleeve connection
of TECEflex pipes with threaded fittings
or fittings with a thread to DIN EN
10226. Fitting with optimized flow
resistance coefficient (Zeta value).
Suitable for all potable water
qualities. (without TECEflex pressure
sleeves)
Material: Red brass
Dimension: 20 x Rp 1/2”
Bestell-Nr.: 705103
TECEflex female connector red brass
Female connector made of red brass for
O-ring free pressure sleeve connection
of TECEflex pipes with threaded fittings
or fittings with a thread to DIN EN
10226. Fitting with optimized flow
resistance coefficient (Zeta value).
Suitable for all potable water
qualities. (without TECEflex pressure
sleeves)
Material: Red brass
Dimension: 20 x Rp 3/4”
Bestell-Nr.: 705104
TECEflex female connector red brass
Female connector made of red brass for
O-ring free pressure sleeve connection
of TECEflex pipes with threaded fittings
or fittings with a thread to DIN EN
10226. Fitting with optimized flow
resistance coefficient (Zeta value).
Suitable for all potable water
qualities. (without TECEflex pressure
sleeves)
Material: Red brass
Dimension: 25 x Rp 3/4”
Bestell-Nr.: 705105
TECEflex female connector red brass
Female connector made of red brass for
O-ring free pressure sleeve connection
of TECEflex pipes with threaded fittings
or fittings with a thread to DIN EN
10226. Fitting with optimized flow
resistance coefficient (Zeta value).
Suitable for all potable water
qualities. (without TECEflex pressure
sleeves)
Material: Red brass
Dimension: 25 x Rp 1”
Bestell-Nr.: 705106
TECEflex female connector red brass
Female connector made of red brass for
O-ring free pressure sleeve connection
of TECEflex pipes with threaded fittings
or fittings with a thread to DIN EN
10226. Fitting with optimized flow
resistance coefficient (Zeta value).
Suitable for all potable water
qualities. (without TECEflex pressure
sleeves)
Material: Red brass
Dimension: 32 x Rp 1”
Bestell-Nr.: 705107
TECEflex female connector red brass
Female connector made of red brass for
O-ring free pressure sleeve connection
of TECEflex pipes with threaded fittings
or fittings with a thread to DIN EN
10226. Fitting with optimized flow
resistance coefficient (Zeta value).
Suitable for all potable water
qualities. (without TECEflex pressure
sleeves)
Material: Red brass
Dimension: 40 x Rp 1 1/2”
Bestell-Nr.: 705108
TECEflex female connector red brass
Female connector made of red brass for
O-ring free pressure sleeve connection
of TECEflex pipes with threaded fittings
or fittings with a thread to DIN EN
10226. Fitting with optimized flow
resistance coefficient (Zeta value).
Suitable for all potable water
qualities. (without TECEflex pressure
sleeves)
Material: Red brass
Dimension: 50 x Rp 2”
Bestell-Nr.: 705109
TECEflex female connector red brass
Female connector made of red brass for
O-ring free pressure sleeve connection
of TECEflex pipes with threaded fittings
or fittings with a thread to DIN EN
10226. Fitting with optimized flow
resistance coefficient (Zeta value).
Suitable for all potable water
qualities. (without TECEflex pressure
sleeves)
Material: Red brass
Dimension: 63 x Rp 2”
Bestell-Nr.: 705110
TECEflex male connector brass Male
connector made of DR brass for O-ring
free pressure sleeve connection of
TECEflex composite pipe or PE-X pipe to
threaded fittings. (without TECEflex
pressure sleeve)
Material: Brass
Dimension: 14 x R 1/2”
Bestell-Nr.: 705501
TECEflex male connector brass Male
connector made of DR brass for O-ring
free pressure sleeve connection of
TECEflex composite pipe or PE-X pipe to
threaded fittings. (without TECEflex
pressure sleeve)
Material: Brass
Dimension: 16 x R 1/2”
Bestell-Nr.: 705502
TECEflex male connector brass Male
connector made of DR brass for O-ring
free pressure sleeve connection of
TECEflex composite pipe or PE-X pipe to
threaded fittings. (without TECEflex
pressure sleeve)
Material: Brass
Dimension: 20 x R 1/2”
Bestell-Nr.: 705503
TECEflex male connector brass Male
connector made of DR brass for O-ring
free pressure sleeve connection of
TECEflex composite pipe or PE-X pipe to
threaded fittings. (without TECEflex
pressure sleeve)
Material: Brass
Dimension: 20 x R 3/4”
Bestell-Nr.: 705504
TECEflex male connector brass Male
connector made of DR brass for O-ring
free pressure sleeve connection of
TECEflex composite pipe or PE-X pipe to
threaded fittings. (without TECEflex
pressure sleeve)
Material: Brass
Dimension: 16 x R 3/4”
Bestell-Nr.: 705506
TECEflex male connector brass Male
connector made of DR brass for O-ring
free pressure sleeve connection of
TECEflex composite pipe or PE-X pipe to
threaded fittings. (without TECEflex
pressure sleeve)
Material: Brass
Dimension: 25 x R 3/4”
Bestell-Nr.: 705507
TECEflex male connector brass Male
connector made of DR brass for O-ring
free pressure sleeve connection of
TECEflex composite pipe or PE-X pipe to
threaded fittings. (without TECEflex
pressure sleeve)
Material: Brass
Dimension: 25 x R 1”
Bestell-Nr.: 705508
TECEflex male connector brass Male
connector made of DR brass for O-ring
free pressure sleeve connection of
TECEflex composite pipe or PE-X pipe to
threaded fittings. (without TECEflex
pressure sleeve)
Material: Brass
Dimension: 32 x R 1”
Bestell-Nr.: 705509
TECEflex male connector brass Male
connector made of DR brass for O-ring
free pressure sleeve connection of
TECEflex composite pipe or PE-X pipe to
threaded fittings. (without TECEflex
pressure sleeve)
Material: Brass
Dimension: 32 x R 1 1/4”
Bestell-Nr.: 705510
TECEflex male connector brass Male
connector made of DR brass for O-ring
free pressure sleeve connection of
TECEflex composite pipe or PE-X pipe to
threaded fittings. (without TECEflex
pressure sleeve)
Material: Brass
Dimension: 40 x R 1 1/4”
Bestell-Nr.: 705511
TECEflex male connector brass Male
connector made of DR brass for O-ring
free pressure sleeve connection of
TECEflex composite pipe or PE-X pipe to
threaded fittings. (without TECEflex
pressure sleeve)
Material: Brass
Dimension: 50 x R 1 1/2”
Bestell-Nr.: 705512
TECEflex male connector brass Male
connector made of DR brass for O-ring
free pressure sleeve connection of
TECEflex composite pipe or PE-X pipe to
threaded fittings. (without TECEflex
pressure sleeve)
Material: Brass
Dimension: 63 x R 2”
Bestell-Nr.: 705513
TECEflex male connector red brass Male
connector made of red brass for O-ring
free pressure sleeve connection of
TECEflex pipes with threaded fittings or
fittings with a thread to DIN EN 10226.
Fitting with optimized flow resistance
coefficient (Zeta value). Suitable for
all potable water qualities. (without
TECEflex pressure sleeves)
Material: Red brass
Dimension: 16 x R 1/2”
Bestell-Nr.: 705601
TECEflex male connector red brass Male
connector made of red brass for O-ring
free pressure sleeve connection of
TECEflex pipes with threaded fittings or
fittings with a thread to DIN EN 10226.
Fitting with optimized flow resistance
coefficient (Zeta value). Suitable for
all potable water qualities. (without
TECEflex pressure sleeves)
Material: Red brass
Dimension: 16 x R 3/4”
Bestell-Nr.: 705602
TECEflex male connector red brass Male
connector made of red brass for O-ring
free pressure sleeve connection of
TECEflex pipes with threaded fittings or
fittings with a thread to DIN EN 10226.
Fitting with optimized flow resistance
coefficient (Zeta value). Suitable for
all potable water qualities. (without
TECEflex pressure sleeves)
Material: Red brass
Dimension: 20 x R 1/2”
Bestell-Nr.: 705603
TECEflex male connector red brass Male
connector made of red brass for O-ring
free pressure sleeve connection of
TECEflex pipes with threaded fittings or
fittings with a thread to DIN EN 10226.
Fitting with optimized flow resistance
coefficient (Zeta value). Suitable for
all potable water qualities. (without
TECEflex pressure sleeves)
Material: Red brass
Dimension: 20 x R 3/4”
Bestell-Nr.: 705604
TECEflex male connector red brass Male
connector made of red brass for O-ring
free pressure sleeve connection of
TECEflex pipes with threaded fittings or
fittings with a thread to DIN EN 10226.
Fitting with optimized flow resistance
coefficient (Zeta value). Suitable for
all potable water qualities. (without
TECEflex pressure sleeves)
Material: Red brass
Dimension: 25 x R 3/4”
Bestell-Nr.: 705605
TECEflex male connector red brass Male
connector made of red brass for O-ring
free pressure sleeve connection of
TECEflex pipes with threaded fittings or
fittings with a thread to DIN EN 10226.
Fitting with optimized flow resistance
coefficient (Zeta value). Suitable for
all potable water qualities. (without
TECEflex pressure sleeves)
Material: Red brass
Dimension: 25 x R 1”
Bestell-Nr.: 705606
TECEflex male connector red brass Male
connector made of red brass for O-ring
free pressure sleeve connection of
TECEflex pipes with threaded fittings or
fittings with a thread to DIN EN 10226.
Fitting with optimized flow resistance
coefficient (Zeta value). Suitable for
all potable water qualities. (without
TECEflex pressure sleeves)
Material: Red brass
Dimension: 32 x R 1”
Bestell-Nr.: 705607
TECEflex male connector red brass Male
connector made of red brass for O-ring
free pressure sleeve connection of
TECEflex pipes with threaded fittings or
fittings with a thread to DIN EN 10226.
Fitting with optimized flow resistance
coefficient (Zeta value). Suitable for
all potable water qualities. (without
TECEflex pressure sleeves)
Material: Red brass
Dimension: 32 x R 1 1/4”
Bestell-Nr.: 705608
TECEflex male connector red brass Male
connector made of red brass for O-ring
free pressure sleeve connection of
TECEflex pipes with threaded fittings or
fittings with a thread to DIN EN 10226.
Fitting with optimized flow resistance
coefficient (Zeta value). Suitable for
all potable water qualities. (without
TECEflex pressure sleeves)
Material: Red brass
Dimension: 40 x R 1 1/4”
Bestell-Nr.: 705609
TECEflex male connector red brass Male
connector made of red brass for O-ring
free pressure sleeve connection of
TECEflex pipes with threaded fittings or
fittings with a thread to DIN EN 10226.
Fitting with optimized flow resistance
coefficient (Zeta value). Suitable for
all potable water qualities. (without
TECEflex pressure sleeves)
Material: Red brass
Dimension: 50 x R 1 1/2”
Bestell-Nr.: 705610
TECEflex male connector red brass Male
connector made of red brass for O-ring
free pressure sleeve connection of
TECEflex pipes with threaded fittings or
fittings with a thread to DIN EN 10226.
Fitting with optimized flow resistance
coefficient (Zeta value). Suitable for
all potable water qualities. (without
TECEflex pressure sleeves)
Material: Red brass
Dimension: 63 x R 2”
Bestell-Nr.: 705611
TECEflex coupling brass Coupling made of
DR brass for O-ring free pressure sleeve
connection of TECEflex composite pipe or
PE-X pipe of the same dimension.
(without TECEflex pressure sleeves)
Material: Brass
Dimension: 14 x 14
Bestell-Nr.: 706014
TECEflex coupling brass Coupling made of
DR brass for O-ring free pressure sleeve
connection of TECEflex composite pipe or
PE-X pipe of the same dimension.
(without TECEflex pressure sleeves)
Material: Brass
Dimension: 16 x 16
Bestell-Nr.: 706016
TECEflex coupling brass Coupling made of
DR brass for O-ring free pressure sleeve
connection of TECEflex composite pipe or
PE-X pipe of the same dimension.
(without TECEflex pressure sleeves)
Material: Brass
Dimension: 20 x 20
Bestell-Nr.: 706020
TECEflex coupling brass Coupling made of
DR brass for O-ring free pressure sleeve
connection of TECEflex composite pipe or
PE-X pipe of the same dimension.
(without TECEflex pressure sleeves)
Material: Brass
Dimension: 25 x 25
Bestell-Nr.: 706025
TECEflex coupling brass Coupling made of
DR brass for O-ring free pressure sleeve
connection of TECEflex composite pipe or
PE-X pipe of the same dimension.
(without TECEflex pressure sleeves)
Material: Brass
Dimension: 32 x 32
Bestell-Nr.: 706032
TECEflex coupling brass Coupling made of
DR brass for O-ring free pressure sleeve
connection of TECEflex composite pipe or
PE-X pipe of the same dimension.
(without TECEflex pressure sleeves)
Material: Brass
Dimension: 40 x 40
Bestell-Nr.: 706040
TECEflex coupling brass Coupling made of
DR brass for O-ring free pressure sleeve
connection of TECEflex composite pipe or
PE-X pipe of the same dimension.
(without TECEflex pressure sleeves)
Material: Brass
Dimension: 50 x 50
Bestell-Nr.: 706050
TECEflex coupling brass Coupling made of
DR brass for O-ring free pressure sleeve
connection of TECEflex composite pipe or
PE-X pipe of the same dimension.
(without TECEflex pressure sleeves)
Material: Brass
Dimension: 63 x 63
Bestell-Nr.: 706063
TECEflex coupling red brass Coupling
made of red brass for O-ring free
pressure sleeve connection of TECEflex
pipes. Fitting with optimized flow
resistance coefficient (Zeta value).
Suitable for all potable water
qualities. (without TECEflex pressure
sleeves)
Material: Red brass
Dimension: 16 x 16
Bestell-Nr.: 706216
TECEflex coupling red brass Coupling
made of red brass for O-ring free
pressure sleeve connection of TECEflex
pipes. Fitting with optimized flow
resistance coefficient (Zeta value).
Suitable for all potable water
qualities. (without TECEflex pressure
sleeves)
Material: Red brass
Dimension: 20 x 20
Bestell-Nr.: 706220
TECEflex coupling red brass Coupling
made of red brass for O-ring free
pressure sleeve connection of TECEflex
pipes. Fitting with optimized flow
resistance coefficient (Zeta value).
Suitable for all potable water
qualities. (without TECEflex pressure
sleeves)
Material: Red brass
Dimension: 25 x 25
Bestell-Nr.: 706225
TECEflex coupling red brass Coupling
made of red brass for O-ring free
pressure sleeve connection of TECEflex
pipes. Fitting with optimized flow
resistance coefficient (Zeta value).
Suitable for all potable water
qualities. (without TECEflex pressure
sleeves)
Material: Red brass
Dimension: 32 x 32
Bestell-Nr.: 706232
TECEflex coupling red brass Coupling
made of red brass for O-ring free
pressure sleeve connection of TECEflex
pipes. Fitting with optimized flow
resistance coefficient (Zeta value).
Suitable for all potable water
qualities. (without TECEflex pressure
sleeves)
Material: Red brass
Dimension: 40 x 40
Bestell-Nr.: 706240
TECEflex coupling red brass Coupling
made of red brass for O-ring free
pressure sleeve connection of TECEflex
pipes. Fitting with optimized flow
resistance coefficient (Zeta value).
Suitable for all potable water
qualities. (without TECEflex pressure
sleeves)
Material: Red brass
Dimension: 50 x 50
Bestell-Nr.: 706250
TECEflex coupling red brass Coupling
made of red brass for O-ring free
pressure sleeve connection of TECEflex
pipes. Fitting with optimized flow
resistance coefficient (Zeta value).
Suitable for all potable water
qualities. (without TECEflex pressure
sleeves)
Material: Red brass
Dimension: 63 x 63
Bestell-Nr.: 706263
TECEflex coupling reduced brass Coupling
reduced made of DR brass for O-ring free
pressure sleeve connection of TECEflex
composite pipe or PE-X pipe of different
dimensions. (without TECEflex pressure
sleeves)
Material: Brass
Dimension: 16 x 14
Bestell-Nr.: 706501
TECEflex coupling reduced brass Coupling
reduced made of DR brass for O-ring free
pressure sleeve connection of TECEflex
composite pipe or PE-X pipe of different
dimensions. (without TECEflex pressure
sleeves)
Material: Brass
Dimension: 20 x 16
Bestell-Nr.: 706503
TECEflex coupling reduced brass Coupling
reduced made of DR brass for O-ring free
pressure sleeve connection of TECEflex
composite pipe or PE-X pipe of different
dimensions. (without TECEflex pressure
sleeves)
Material: Brass
Dimension: 25 x 16
Bestell-Nr.: 706504
TECEflex coupling reduced brass Coupling
reduced made of DR brass for O-ring free
pressure sleeve connection of TECEflex
composite pipe or PE-X pipe of different
dimensions. (without TECEflex pressure
sleeves)
Material: Brass
Dimension: 25 x 20
Bestell-Nr.: 706505
TECEflex coupling reduced brass Coupling
reduced made of DR brass for O-ring free
pressure sleeve connection of TECEflex
composite pipe or PE-X pipe of different
dimensions. (without TECEflex pressure
sleeves)
Material: Brass
Dimension: 32 x 20
Bestell-Nr.: 706506
TECEflex coupling reduced brass Coupling
reduced made of DR brass for O-ring free
pressure sleeve connection of TECEflex
composite pipe or PE-X pipe of different
dimensions. (without TECEflex pressure
sleeves)
Material: Brass
Dimension: 32 x 25
Bestell-Nr.: 706507
TECEflex coupling reduced brass Coupling
reduced made of DR brass for O-ring free
pressure sleeve connection of TECEflex
composite pipe or PE-X pipe of different
dimensions. (without TECEflex pressure
sleeves)
Material: Brass
Dimension: 40 x 32
Bestell-Nr.: 706508
TECEflex coupling reduced brass Coupling
reduced made of DR brass for O-ring free
pressure sleeve connection of TECEflex
composite pipe or PE-X pipe of different
dimensions. (without TECEflex pressure
sleeves)
Material: Brass
Dimension: 50 x 40
Bestell-Nr.: 706509
TECEflex coupling reduced brass Coupling
reduced made of DR brass for O-ring free
pressure sleeve connection of TECEflex
composite pipe or PE-X pipe of different
dimensions. (without TECEflex pressure
sleeves)
Material: Brass
Dimension: 63 x 50
Bestell-Nr.: 706510
TECEflex coupling reduced red brass
Coupling reduced made of red brass.
Fitting with optimized flow resistance
coefficient (Zeta value). For O-ring
free pressure sleeve connection of
TECEflex pipes of different dimensions.
(without TECEflex pressure sleeves)
Material: Red brass
Dimension: 20 x 16
Bestell-Nr.: 706603
TECEflex coupling reduced red brass
Coupling reduced made of red brass.
Fitting with optimized flow resistance
coefficient (Zeta value). For O-ring
free pressure sleeve connection of
TECEflex pipes of different dimensions.
(without TECEflex pressure sleeves)
Material: Red brass
Dimension: 25 x 16
Bestell-Nr.: 706604
TECEflex coupling reduced red brass
Coupling reduced made of red brass.
Fitting with optimized flow resistance
coefficient (Zeta value). For O-ring
free pressure sleeve connection of
TECEflex pipes of different dimensions.
(without TECEflex pressure sleeves)
Material: Red brass
Dimension: 25 x 20
Bestell-Nr.: 706605
TECEflex coupling reduced red brass
Coupling reduced made of red brass.
Fitting with optimized flow resistance
coefficient (Zeta value). For O-ring
free pressure sleeve connection of
TECEflex pipes of different dimensions.
(without TECEflex pressure sleeves)
Material: Red brass
Dimension: 32 x 20
Bestell-Nr.: 706606
TECEflex coupling reduced red brass
Coupling reduced made of red brass.
Fitting with optimized flow resistance
coefficient (Zeta value). For O-ring
free pressure sleeve connection of
TECEflex pipes of different dimensions.
(without TECEflex pressure sleeves)
Material: Red brass
Dimension: 32 x 25
Bestell-Nr.: 706607
TECEflex coupling reduced red brass
Coupling reduced made of red brass.
Fitting with optimized flow resistance
coefficient (Zeta value). For O-ring
free pressure sleeve connection of
TECEflex pipes of different dimensions.
(without TECEflex pressure sleeves)
Material: Red brass
Dimension: 40 x 32
Bestell-Nr.: 706608
TECEflex coupling reduced red brass
Coupling reduced made of red brass.
Fitting with optimized flow resistance
coefficient (Zeta value). For O-ring
free pressure sleeve connection of
TECEflex pipes of different dimensions.
(without TECEflex pressure sleeves)
Material: Red brass
Dimension: 50 x 40
Bestell-Nr.: 706609
TECEflex coupling reduced red brass
Coupling reduced made of red brass.
Fitting with optimized flow resistance
coefficient (Zeta value). For O-ring
free pressure sleeve connection of
TECEflex pipes of different dimensions.
(without TECEflex pressure sleeves)
Material: Red brass
Dimension: 63 x 50
Bestell-Nr.: 706610
TECEflex 90Grad elbow brass 90Grad 
elbow made of DR brass for O-ring free
pressure sleeve connection of TECEflex
composite pipe or PE-X pipe of the same
dimension. (without TECEflex pressure
sleeves)
Material: Brass
Dimension: 14 x 14
Bestell-Nr.: 707014
TECEflex 90Grad elbow brass 90Grad 
elbow made of DR brass for O-ring free
pressure sleeve connection of TECEflex
composite pipe or PE-X pipe of the same
dimension. (without TECEflex pressure
sleeves)
Material: Brass
Dimension: 16 x 16
Bestell-Nr.: 707016
TECEflex 90Grad elbow brass 90Grad 
elbow made of DR brass for O-ring free
pressure sleeve connection of TECEflex
composite pipe or PE-X pipe of the same
dimension. (without TECEflex pressure
sleeves)
Material: Brass
Dimension: 20 x 20
Bestell-Nr.: 707020
TECEflex 90Grad elbow brass 90Grad 
elbow made of DR brass for O-ring free
pressure sleeve connection of TECEflex
composite pipe or PE-X pipe of the same
dimension. (without TECEflex pressure
sleeves)
Material: Brass
Dimension: 25 x 25
Bestell-Nr.: 707025
TECEflex 90Grad elbow brass 90Grad 
elbow made of DR brass for O-ring free
pressure sleeve connection of TECEflex
composite pipe or PE-X pipe of the same
dimension. (without TECEflex pressure
sleeves)
Material: Brass
Dimension: 32 x 32
Bestell-Nr.: 707032
TECEflex 90Grad elbow brass 90Grad 
elbow made of DR brass for O-ring free
pressure sleeve connection of TECEflex
composite pipe or PE-X pipe of the same
dimension. (without TECEflex pressure
sleeves)
Material: Brass
Dimension: 40 x 40
Bestell-Nr.: 707040
TECEflex 90Grad elbow brass 90Grad 
elbow made of DR brass for O-ring free
pressure sleeve connection of TECEflex
composite pipe or PE-X pipe of the same
dimension. (without TECEflex pressure
sleeves)
Material: Brass
Dimension: 50 x 50
Bestell-Nr.: 707050
TECEflex 90Grad elbow brass 90Grad 
elbow made of DR brass for O-ring free
pressure sleeve connection of TECEflex
composite pipe or PE-X pipe of the same
dimension. (without TECEflex pressure
sleeves)
Material: Brass
Dimension: 63 x 63
Bestell-Nr.: 707063
TECEflex 45Grad elbow brass 45Grad 
elbow made of DR brass for O-ring free
pressure sleeve connection of TECEflex
pipes. Fitting with optimized flow
resistance coefficient (Zeta value).
(without TECEflex pressure sleeves)
Material: Brass
Dimension: 25 x 25
Bestell-Nr.: 707125
TECEflex 45Grad elbow brass 45Grad 
elbow made of DR brass for O-ring free
pressure sleeve connection of TECEflex
pipes. Fitting with optimized flow
resistance coefficient (Zeta value).
(without TECEflex pressure sleeves)
Material: Brass
Dimension: 32 x 32
Bestell-Nr.: 707132
TECEflex 45Grad elbow brass 45Grad 
elbow made of DR brass for O-ring free
pressure sleeve connection of TECEflex
pipes. Fitting with optimized flow
resistance coefficient (Zeta value).
(without TECEflex pressure sleeves)
Material: Brass
Dimension: 40 x 40
Bestell-Nr.: 707140
TECEflex 45Grad elbow brass 45Grad 
elbow made of DR brass for O-ring free
pressure sleeve connection of TECEflex
pipes. Fitting with optimized flow
resistance coefficient (Zeta value).
(without TECEflex pressure sleeves)
Material: Brass
Dimension: 50 x 50
Bestell-Nr.: 707150
TECEflex 45Grad elbow brass 45Grad 
elbow made of DR brass for O-ring free
pressure sleeve connection of TECEflex
pipes. Fitting with optimized flow
resistance coefficient (Zeta value).
(without TECEflex pressure sleeves)
Material: Brass
Dimension: 63 x 63
Bestell-Nr.: 707163
TECEflex 45Grad elbow red brass 45Grad 
elbow made of red brass for O-ring free
pressure sleeve connection of TECEflex
pipes. Fitting with optimized flow
resistance coefficient (Zeta value).
Suitable for all potable water
qualities. (without TECEflex pressure
sleeves)
Material: Red brass
Dimension: 50 x 50
Bestell-Nr.: 707165
TECEflex 45Grad elbow red brass 45Grad 
elbow made of red brass for O-ring free
pressure sleeve connection of TECEflex
pipes. Fitting with optimized flow
resistance coefficient (Zeta value).
Suitable for all potable water
qualities. (without TECEflex pressure
sleeves)
Material: Red brass
Dimension: 63 x 63
Bestell-Nr.: 707166
TECEflex 45Grad elbow red brass 45Grad 
elbow made of red brass for O-ring free
pressure sleeve connection of TECEflex
pipes. Fitting with optimized flow
resistance coefficient (Zeta value).
Suitable for all potable water
qualities. (without TECEflex pressure
sleeves)
Material: Red brass
Dimension: 25 x 25
Bestell-Nr.: 707167
TECEflex 45Grad elbow red brass 45Grad 
elbow made of red brass for O-ring free
pressure sleeve connection of TECEflex
pipes. Fitting with optimized flow
resistance coefficient (Zeta value).
Suitable for all potable water
qualities. (without TECEflex pressure
sleeves)
Material: Red brass
Dimension: 32 x 32
Bestell-Nr.: 707168
TECEflex 45Grad elbow red brass 45Grad 
elbow made of red brass for O-ring free
pressure sleeve connection of TECEflex
pipes. Fitting with optimized flow
resistance coefficient (Zeta value).
Suitable for all potable water
qualities. (without TECEflex pressure
sleeves)
Material: Red brass
Dimension: 40 x 40
Bestell-Nr.: 707169
TECEflex 90Grad elbow, pressure-loss
optimized brass 90Grad coupling made of
DR brass, elbow with pressure-loss
optimized design and favourable flow
characteristics. Low zeta value due to
low-loss change of direction via arcuate
bends and the very nearly identical
inner cross-section of the pipe and
fitting.
Material: Brass
Dimension: 16 x 16
Bestell-Nr.: 707216
TECEflex 90Grad elbow, pressure-loss
optimized brass 90Grad coupling made of
DR brass, elbow with pressure-loss
optimized design and favourable flow
characteristics. Low zeta value due to
low-loss change of direction via arcuate
bends and the very nearly identical
inner cross-section of the pipe and
fitting.
Material: Brass
Dimension: 20 x 20
Bestell-Nr.: 707220
TECEflex 90Grad elbow, pressure-loss
optimized brass 90Grad coupling made of
DR brass, elbow with pressure-loss
optimized design and favourable flow
characteristics. Low zeta value due to
low-loss change of direction via arcuate
bends and the very nearly identical
inner cross-section of the pipe and
fitting.
Material: Brass
Dimension: 25 x 25
Bestell-Nr.: 707225
TECEflex 90Grad elbow, pressure-loss
optimized brass 90Grad coupling made of
DR brass, elbow with pressure-loss
optimized design and favourable flow
characteristics. Low zeta value due to
low-loss change of direction via arcuate
bends and the very nearly identical
inner cross-section of the pipe and
fitting.
Material: Brass
Dimension: 32 x 32
Bestell-Nr.: 707232
TECEflex 90Grad elbow, pressure-loss
optimized brass 90Grad coupling made of
DR brass, elbow with pressure-loss
optimized design and favourable flow
characteristics. Low zeta value due to
low-loss change of direction via arcuate
bends and the very nearly identical
inner cross-section of the pipe and
fitting.
Material: Brass
Dimension: 40 x 40
Bestell-Nr.: 707240
TECEflex 90Grad elbow, pressure-loss
optimized brass 90Grad coupling made of
DR brass, elbow with pressure-loss
optimized design and favourable flow
characteristics. Low zeta value due to
low-loss change of direction via arcuate
bends and the very nearly identical
inner cross-section of the pipe and
fitting.
Material: Brass
Dimension: 50 x 50
Bestell-Nr.: 707250
TECEflex 90Grad elbow, pressure-loss
optimized brass 90Grad coupling made of
DR brass, elbow with pressure-loss
optimized design and favourable flow
characteristics. Low zeta value due to
low-loss change of direction via arcuate
bends and the very nearly identical
inner cross-section of the pipe and
fitting.
Material: Brass
Dimension: 63 x 63
Bestell-Nr.: 707263
TECEflex 90Grad elbow, pressure-loss
optimized red brass 90Grad coupling
made of red brass, elbow with
pressure-loss optimized design and
favourable flow characteristics. Low
zeta value due to low-loss change of
direction via arcuate bends and the very
nearly identical inner cross-section of
the pipe and fitting. Suitable for all
potable water qualities.
Material: Red brass
Dimension: 16 x 16
Bestell-Nr.: 707316
TECEflex 90Grad elbow, pressure-loss
optimized red brass 90Grad coupling
made of red brass, elbow with
pressure-loss optimized design and
favourable flow characteristics. Low
zeta value due to low-loss change of
direction via arcuate bends and the very
nearly identical inner cross-section of
the pipe and fitting. Suitable for all
potable water qualities.
Material: Red brass
Dimension: 20 x 20
Bestell-Nr.: 707320
TECEflex 90Grad elbow, pressure-loss
optimized red brass 90Grad coupling
made of red brass, elbow with
pressure-loss optimized design and
favourable flow characteristics. Low
zeta value due to low-loss change of
direction via arcuate bends and the very
nearly identical inner cross-section of
the pipe and fitting. Suitable for all
potable water qualities.
Material: Red brass
Dimension: 25 x 25
Bestell-Nr.: 707325
TECEflex 90Grad elbow, pressure-loss
optimized red brass 90Grad coupling
made of red brass, elbow with
pressure-loss optimized design and
favourable flow characteristics. Low
zeta value due to low-loss change of
direction via arcuate bends and the very
nearly identical inner cross-section of
the pipe and fitting. Suitable for all
potable water qualities.
Material: Red brass
Dimension: 32 x 32
Bestell-Nr.: 707332
TECEflex 90Grad elbow, pressure-loss
optimized red brass 90Grad coupling
made of red brass, elbow with
pressure-loss optimized design and
favourable flow characteristics. Low
zeta value due to low-loss change of
direction via arcuate bends and the very
nearly identical inner cross-section of
the pipe and fitting. Suitable for all
potable water qualities.
Material: Red brass
Dimension: 40 x 40
Bestell-Nr.: 707340
TECEflex 90Grad elbow, pressure-loss
optimized red brass 90Grad coupling
made of red brass, elbow with
pressure-loss optimized design and
favourable flow characteristics. Low
zeta value due to low-loss change of
direction via arcuate bends and the very
nearly identical inner cross-section of
the pipe and fitting. Suitable for all
potable water qualities.
Material: Red brass
Dimension: 50 x 50
Bestell-Nr.: 707350
TECEflex 90Grad elbow, pressure-loss
optimized red brass 90Grad coupling
made of red brass, elbow with
pressure-loss optimized design and
favourable flow characteristics. Low
zeta value due to low-loss change of
direction via arcuate bends and the very
nearly identical inner cross-section of
the pipe and fitting. Suitable for all
potable water qualities.
Material: Red brass
Dimension: 63 x 63
Bestell-Nr.: 707363
TECEflex male elbow brass Male elbow
made of DR brass for O-ring free
pressure sleeve connection of TECEflex
pipes with threaded fittings or fittings
with a thread to DIN EN 10226. Fitting
with optimized flow resistance
coefficient (Zeta value). (without
TECEflex pressure sleeves)
Material: Brass
Dimension: 20 x R 3/4”
Bestell-Nr.: 707501
TECEflex male elbow brass Male elbow
made of DR brass for O-ring free
pressure sleeve connection of TECEflex
pipes with threaded fittings or fittings
with a thread to DIN EN 10226. Fitting
with optimized flow resistance
coefficient (Zeta value). (without
TECEflex pressure sleeves)
Material: Brass
Dimension: 14 x R 1/2”
Bestell-Nr.: 707514
TECEflex male elbow brass Male elbow
made of DR brass for O-ring free
pressure sleeve connection of TECEflex
pipes with threaded fittings or fittings
with a thread to DIN EN 10226. Fitting
with optimized flow resistance
coefficient (Zeta value). (without
TECEflex pressure sleeves)
Material: Brass
Dimension: 16 x R 1/2”
Bestell-Nr.: 707516
TECEflex male elbow brass Male elbow
made of DR brass for O-ring free
pressure sleeve connection of TECEflex
pipes with threaded fittings or fittings
with a thread to DIN EN 10226. Fitting
with optimized flow resistance
coefficient (Zeta value). (without
TECEflex pressure sleeves)
Material: Brass
Dimension: 20 x R 1/2”
Bestell-Nr.: 707520
TECEflex male elbow brass Male elbow
made of DR brass for O-ring free
pressure sleeve connection of TECEflex
pipes with threaded fittings or fittings
with a thread to DIN EN 10226. Fitting
with optimized flow resistance
coefficient (Zeta value). (without
TECEflex pressure sleeves)
Material: Brass
Dimension: 25 x R 3/4”
Bestell-Nr.: 707525
TECEflex male elbow brass Male elbow
made of DR brass for O-ring free
pressure sleeve connection of TECEflex
pipes with threaded fittings or fittings
with a thread to DIN EN 10226. Fitting
with optimized flow resistance
coefficient (Zeta value). (without
TECEflex pressure sleeves)
Material: Brass
Dimension: 25 x R 1”
Bestell-Nr.: 707526
TECEflex male elbow brass Male elbow
made of DR brass for O-ring free
pressure sleeve connection of TECEflex
pipes with threaded fittings or fittings
with a thread to DIN EN 10226. Fitting
with optimized flow resistance
coefficient (Zeta value). (without
TECEflex pressure sleeves)
Material: Brass
Dimension: 32 x R 1”
Bestell-Nr.: 707532
TECEflex male elbow red brass Male elbow
made of red brass for O-ring free
pressure sleeve connection of TECEflex
pipes with threaded fittings or fittings
with a thread to DIN EN 10226. Fitting
with optimized flow resistance
coefficient (Zeta value). Suitable for
all potable water qualities. (without
TECEflex pressure sleeves)
Material: Red brass
Dimension: 16 x R 1/2”
Bestell-Nr.: 707801
TECEflex male elbow red brass Male elbow
made of red brass for O-ring free
pressure sleeve connection of TECEflex
pipes with threaded fittings or fittings
with a thread to DIN EN 10226. Fitting
with optimized flow resistance
coefficient (Zeta value). Suitable for
all potable water qualities. (without
TECEflex pressure sleeves)
Material: Red brass
Dimension: 20 x R 1/2”
Bestell-Nr.: 707802
TECEflex male elbow red brass Male elbow
made of red brass for O-ring free
pressure sleeve connection of TECEflex
pipes with threaded fittings or fittings
with a thread to DIN EN 10226. Fitting
with optimized flow resistance
coefficient (Zeta value). Suitable for
all potable water qualities. (without
TECEflex pressure sleeves)
Material: Red brass
Dimension: 20 x R 3/4”
Bestell-Nr.: 707803
TECEflex male elbow red brass Male elbow
made of red brass for O-ring free
pressure sleeve connection of TECEflex
pipes with threaded fittings or fittings
with a thread to DIN EN 10226. Fitting
with optimized flow resistance
coefficient (Zeta value). Suitable for
all potable water qualities. (without
TECEflex pressure sleeves)
Material: Red brass
Dimension: 25 x R 3/4”
Bestell-Nr.: 707804
TECEflex male elbow red brass Male elbow
made of red brass for O-ring free
pressure sleeve connection of TECEflex
pipes with threaded fittings or fittings
with a thread to DIN EN 10226. Fitting
with optimized flow resistance
coefficient (Zeta value). Suitable for
all potable water qualities. (without
TECEflex pressure sleeves)
Material: Red brass
Dimension: 25 x R 1”
Bestell-Nr.: 707805
TECEflex male elbow red brass Male elbow
made of red brass for O-ring free
pressure sleeve connection of TECEflex
pipes with threaded fittings or fittings
with a thread to DIN EN 10226. Fitting
with optimized flow resistance
coefficient (Zeta value). Suitable for
all potable water qualities. (without
TECEflex pressure sleeves)
Material: Red brass
Dimension: 32 x R 1”
Bestell-Nr.: 707806
TECEflex female elbow brass Female elbow
made of DR brass for O-ring free
pressure sleeve connection of TECEflex
pipes with threaded fittings or fittings
with a thread to DIN EN 10226. Fitting
with optimized flow resistance
coefficient (Zeta value). (without
TECEflex pressure sleeves)
Material: Brass
Dimension: 20 x Rp 3/4”
Bestell-Nr.: 708002
TECEflex female elbow brass Female elbow
made of DR brass for O-ring free
pressure sleeve connection of TECEflex
pipes with threaded fittings or fittings
with a thread to DIN EN 10226. Fitting
with optimized flow resistance
coefficient (Zeta value). (without
TECEflex pressure sleeves)
Material: Brass
Dimension: 14 x Rp 1/2”
Bestell-Nr.: 708014
TECEflex female elbow brass Female elbow
made of DR brass for O-ring free
pressure sleeve connection of TECEflex
pipes with threaded fittings or fittings
with a thread to DIN EN 10226. Fitting
with optimized flow resistance
coefficient (Zeta value). (without
TECEflex pressure sleeves)
Material: Brass
Dimension: 16 x Rp 1/2”
Bestell-Nr.: 708016
TECEflex female elbow brass Female elbow
made of DR brass for O-ring free
pressure sleeve connection of TECEflex
pipes with threaded fittings or fittings
with a thread to DIN EN 10226. Fitting
with optimized flow resistance
coefficient (Zeta value). (without
TECEflex pressure sleeves)
Material: Brass
Dimension: 20 x Rp 1/2”
Bestell-Nr.: 708020
TECEflex female elbow brass Female elbow
made of DR brass for O-ring free
pressure sleeve connection of TECEflex
pipes with threaded fittings or fittings
with a thread to DIN EN 10226. Fitting
with optimized flow resistance
coefficient (Zeta value). (without
TECEflex pressure sleeves)
Material: Brass
Dimension: 25 x Rp 3/4”
Bestell-Nr.: 708025
TECEflex female elbow brass Female elbow
made of DR brass for O-ring free
pressure sleeve connection of TECEflex
pipes with threaded fittings or fittings
with a thread to DIN EN 10226. Fitting
with optimized flow resistance
coefficient (Zeta value). (without
TECEflex pressure sleeves)
Material: Brass
Dimension: 32 x Rp 1”
Bestell-Nr.: 708032
TECEflex female elbow brass Female elbow
made of DR brass for O-ring free
pressure sleeve connection of TECEflex
pipes with threaded fittings or fittings
with a thread to DIN EN 10226. Fitting
with optimized flow resistance
coefficient (Zeta value). (without
TECEflex pressure sleeves)
Material: Brass
Dimension: 40 x Rp 1 1/2”
Bestell-Nr.: 708040
TECEflex female elbow brass Female elbow
made of DR brass for O-ring free
pressure sleeve connection of TECEflex
pipes with threaded fittings or fittings
with a thread to DIN EN 10226. Fitting
with optimized flow resistance
coefficient (Zeta value). (without
TECEflex pressure sleeves)
Material: Brass
Dimension: 50 x Rp 1 1/2”
Bestell-Nr.: 708050
TECEflex female elbow red brass Female
elbow made of red brass for O-ring free
pressure sleeve connection of TECEflex
pipes with threaded fittings or fittings
with a thread to DIN EN 10226. Fitting
with optimized flow resistance
coefficient (Zeta value). Suitable for
all potable water qualities. (without
TECEflex pressure sleeves)
Material: Red brass
Dimension: 16 x Rp 1/2”
Bestell-Nr.: 708101
TECEflex female elbow red brass Female
elbow made of red brass for O-ring free
pressure sleeve connection of TECEflex
pipes with threaded fittings or fittings
with a thread to DIN EN 10226. Fitting
with optimized flow resistance
coefficient (Zeta value). Suitable for
all potable water qualities. (without
TECEflex pressure sleeves)
Material: Red brass
Dimension: 20 x Rp 1/2”
Bestell-Nr.: 708102
TECEflex female elbow red brass Female
elbow made of red brass for O-ring free
pressure sleeve connection of TECEflex
pipes with threaded fittings or fittings
with a thread to DIN EN 10226. Fitting
with optimized flow resistance
coefficient (Zeta value). Suitable for
all potable water qualities. (without
TECEflex pressure sleeves)
Material: Red brass
Dimension: 20 x Rp 3/4”
Bestell-Nr.: 708103
TECEflex female elbow red brass Female
elbow made of red brass for O-ring free
pressure sleeve connection of TECEflex
pipes with threaded fittings or fittings
with a thread to DIN EN 10226. Fitting
with optimized flow resistance
coefficient (Zeta value). Suitable for
all potable water qualities. (without
TECEflex pressure sleeves)
Material: Red brass
Dimension: 25 x Rp 3/4”
Bestell-Nr.: 708104
TECEflex female elbow red brass Female
elbow made of red brass for O-ring free
pressure sleeve connection of TECEflex
pipes with threaded fittings or fittings
with a thread to DIN EN 10226. Fitting
with optimized flow resistance
coefficient (Zeta value). Suitable for
all potable water qualities. (without
TECEflex pressure sleeves)
Material: Red brass
Dimension: 32 x Rp 1”
Bestell-Nr.: 708105
TECEflex female elbow red brass Female
elbow made of red brass for O-ring free
pressure sleeve connection of TECEflex
pipes with threaded fittings or fittings
with a thread to DIN EN 10226. Fitting
with optimized flow resistance
coefficient (Zeta value). Suitable for
all potable water qualities. (without
TECEflex pressure sleeves)
Material: Red brass
Dimension: 40 x Rp 1 1/2”
Bestell-Nr.: 708106
TECEflex female elbow red brass Female
elbow made of red brass for O-ring free
pressure sleeve connection of TECEflex
pipes with threaded fittings or fittings
with a thread to DIN EN 10226. Fitting
with optimized flow resistance
coefficient (Zeta value). Suitable for
all potable water qualities. (without
TECEflex pressure sleeves)
Material: Red brass
Dimension: 50 x Rp 1 1/2”
Bestell-Nr.: 708107
TECEflex double wall disk made of brass
Material: Brass
Dimension: 16 x 1/2” x 16
Bestell-Nr.: 708501
TECEflex wall disk, long, brass Wall
disk made of DR brass for O-ring free
pressure sleeve connection of TECEflex
pipes with threaded fittings or fittings
with a thread to DIN EN 10226. Fitting
with optimized flow resistance
coefficient (Zeta value). (without
TECEflex pressure sleeves)
Material: Brass
Dimension: 16 x Rp 1/2”
Bestell-Nr.: 708502
TECEflex U-double wall disk,
pressure-loss optimized, brass U-double
wall disk made of DR brass for O-ring
free pressure sleeve connection of
TECEflex pipes with threaded fittings or
fittings with a thread to DIN EN 10226.
Fitting with optimized flow resistance
coefficient (Zeta value). (without
TECEflex pressure sleeves)
Material: Brass
Dimension: 16 x Rp 1/2” x 16
Bestell-Nr.: 708504
TECEflex U-double wall disk,
pressure-loss optimized, brass U-double
wall disk made of DR brass for O-ring
free pressure sleeve connection of
TECEflex pipes with threaded fittings or
fittings with a thread to DIN EN 10226.
Fitting with optimized flow resistance
coefficient (Zeta value). (without
TECEflex pressure sleeves)
Material: Brass
Dimension: 20 x Rp 1/2” x 20
Bestell-Nr.: 708505
TECEflex wall disk brass Wall disk made
of DR brass for O-ring free pressure
sleeve connection of TECEflex pipes with
threaded fittings or fittings with a
thread to DIN EN 10226. Fitting with
optimized flow resistance coefficient
(Zeta value). (without TECEflex pressure
sleeves)
Material: Brass
Dimension: 14 x Rp 1/2”
Bestell-Nr.: 708514
TECEflex wall disk brass Wall disk made
of DR brass for O-ring free pressure
sleeve connection of TECEflex pipes with
threaded fittings or fittings with a
thread to DIN EN 10226. Fitting with
optimized flow resistance coefficient
(Zeta value). (without TECEflex pressure
sleeves)
Material: Brass
Dimension: 16 x Rp 1/2”
Bestell-Nr.: 708516
TECEflex wall disk brass Wall disk made
of DR brass for O-ring free pressure
sleeve connection of TECEflex pipes with
threaded fittings or fittings with a
thread to DIN EN 10226. Fitting with
optimized flow resistance coefficient
(Zeta value). (without TECEflex pressure
sleeves)
Material: Brass
Dimension: 20 x Rp 1/2”
Bestell-Nr.: 708520
TECEflex wall disk brass Wall disk made
of DR brass for O-ring free pressure
sleeve connection of TECEflex pipes with
threaded fittings or fittings with a
thread to DIN EN 10226. Fitting with
optimized flow resistance coefficient
(Zeta value). (without TECEflex pressure
sleeves)
Material: Brass
Dimension: 20 x Rp 3/4”
Bestell-Nr.: 708525
TECEflex wall disk brass Wall disk made
of DR brass for O-ring free pressure
sleeve connection of TECEflex pipes with
threaded fittings or fittings with a
thread to DIN EN 10226. Fitting with
optimized flow resistance coefficient
(Zeta value). (without TECEflex pressure
sleeves)
Material: Brass
Dimension: 25 x Rp 3/4”
Bestell-Nr.: 708526
TECEflex cistern connection elbow made
of brass For flush-mounted cisterns.
Fixing by means of locknut made of
plastic or drilling screws, incl.
locknut and two sound-insulation
inserts.
Dimension: 16 x Rp 1/2”
Bestell-Nr.: 708601
TECEflex U-double wall disk reduced,
pressure-loss optimized, red brass
Material: Red brass
Dimension: 16 x Rp 1/2” x 20
Bestell-Nr.: 708606
TECEflex U-double wall disk reduced,
pressure-loss optimized, red brass
Material: Red brass
Dimension: 20 x Rp 1/2” x 16
Bestell-Nr.: 708607
TECEflex double connection,
pressure-loss-optimised, red brass
Dimension: 16 x R 1/2”
Bestell-Nr.: 708608
TECEflex wall disk red brass Wall disk
made of red brass for O-ring free
pressure sleeve connection of TECEflex
pipes with threaded fittings or fittings
with a thread to DIN EN 10226. Fitting
with optimized flow resistance
coefficient (Zeta value). Suitable for
all potable water qualities. (without
TECEflex pressure sleeves)
Material: Red brass
Dimension: 16 x Rp 1/2”
Bestell-Nr.: 708610
TECEflex wall disk red brass Wall disk
made of red brass for O-ring free
pressure sleeve connection of TECEflex
pipes with threaded fittings or fittings
with a thread to DIN EN 10226. Fitting
with optimized flow resistance
coefficient (Zeta value). Suitable for
all potable water qualities. (without
TECEflex pressure sleeves)
Material: Red brass
Dimension: 20 x Rp 1/2”
Bestell-Nr.: 708611
TECEflex wall disk red brass Wall disk
made of red brass for O-ring free
pressure sleeve connection of TECEflex
pipes with threaded fittings or fittings
with a thread to DIN EN 10226. Fitting
with optimized flow resistance
coefficient (Zeta value). Suitable for
all potable water qualities. (without
TECEflex pressure sleeves)
Material: Red brass
Dimension: 20 x Rp 3/4”
Bestell-Nr.: 708612
TECEflex wall disk red brass Wall disk
made of red brass for O-ring free
pressure sleeve connection of TECEflex
pipes with threaded fittings or fittings
with a thread to DIN EN 10226. Fitting
with optimized flow resistance
coefficient (Zeta value). Suitable for
all potable water qualities. (without
TECEflex pressure sleeves)
Material: Red brass
Dimension: 25 x Rp 3/4”
Bestell-Nr.: 708613
TECEflex wall disk, long, red brass Wall
disk made of red brass for O-ring free
pressure sleeve connection of TECEflex
pipes with threaded fittings or fittings
with a thread to DIN EN 10226. Fitting
with optimized flow resistance
coefficient (Zeta value). Suitable for
all potable water qualities. (without
TECEflex pressure sleeves)
Material: Red brass
Dimension: 16 x Rp 1/2”
Bestell-Nr.: 708614
TECEflex U-double wall disk,
pressure-loss optimized, red brass
U-double wall disk made of red brass for
O-ring free pressure sleeve connection
of TECEflex pipes with threaded fittings
or fittings with a thread to DIN EN
10226. Fitting with optimized flow
resistance coefficient (Zeta value).
Suitable for all potable water
qualities. (without TECEflex pressure
sleeves)
Material: Red brass
Dimension: 16 x Rp 1/2” x 16
Bestell-Nr.: 708625
TECEflex U-double wall disk,
pressure-loss optimized, red brass
U-double wall disk made of red brass for
O-ring free pressure sleeve connection
of TECEflex pipes with threaded fittings
or fittings with a thread to DIN EN
10226. Fitting with optimized flow
resistance coefficient (Zeta value).
Suitable for all potable water
qualities. (without TECEflex pressure
sleeves)
Material: Red brass
Dimension: 20 x Rp 1/2” x 20
Bestell-Nr.: 708626
TECEflex wall bushing with pressure ring
brass Wall bushing made of DR brass with
pressure ring for O-ring free pressure
sleeve connection of TECEflex pipes with
threaded fittings or fittings with a
thread to DIN EN 10226. Fitting with
optimized flow resistance coefficient
(Zeta value). Adjustable for wall
thicknesses between 18-25 mm. Incl.
pressure ring, screws and
sound-insulation insert. (without
TECEflex pressure sleeves)
Material: Brass
Dimension: 16 x Rp 1/2”
Bestell-Nr.: 708701
TECEflex wall bushing with union nut
made of brass With sound-insulation
inserts, adjustable for wall thicknesses
between 18-25 mm.
Dimension: 16 x Rp 1/2”
Bestell-Nr.: 708702
TECEflex wall bushing with pressure ring
red brass Wall bushing made of red brass
with pressure ring for O-ring free
pressure sleeve connection of TECEflex
pipes with threaded fittings or fittings
with a thread to DIN EN 10226. Fitting
with optimized flow resistance
coefficient (Zeta value). Adjustable for
wall thicknesses between 18-25 mm.
Suitable for all potable water
qualities. Incl. pressure ring, screws
and sound-insulation insert. (without
TECEflex pressure sleeves)
Material: Red brass
Dimension: 16 x Rp 1/2”
Bestell-Nr.: 708705
TECEflex universal wall bushing One side
1/2” female thread, other side 1/2” male
thread made of red brass with pressure
ring. Adjustable for wall thicknesses
between 18-25 mm.
Material: Red brass
Dimension: R 1/2” x Rp 1/2”
Bestell-Nr.: 708706
TECEflex tee female thread brass Tee
with female thread made of DR brass for
O-ring free pressure sleeve connection
of TECEflex pipes with threaded fittings
or fittings with a thread in the outlet
toDIN EN 10226. Fitting with optimized
flow resistance coefficient (Zeta
value). (without TECEflex pressure
sleeves)
Material: Brass
Dimension: 16 x Rp 1/2” x 16
Bestell-Nr.: 709516
TECEflex tee female thread brass Tee
with female thread made of DR brass for
O-ring free pressure sleeve connection
of TECEflex pipes with threaded fittings
or fittings with a thread in the outlet
toDIN EN 10226. Fitting with optimized
flow resistance coefficient (Zeta
value). (without TECEflex pressure
sleeves)
Material: Brass
Dimension: 20 x Rp 1/2” x 20
Bestell-Nr.: 709520
TECEflex tee female thread brass Tee
with female thread made of DR brass for
O-ring free pressure sleeve connection
of TECEflex pipes with threaded fittings
or fittings with a thread in the outlet
toDIN EN 10226. Fitting with optimized
flow resistance coefficient (Zeta
value). (without TECEflex pressure
sleeves)
Material: Brass
Dimension: 25 x Rp 1/2” x 25
Bestell-Nr.: 709522
TECEflex tee female thread brass Tee
with female thread made of DR brass for
O-ring free pressure sleeve connection
of TECEflex pipes with threaded fittings
or fittings with a thread in the outlet
toDIN EN 10226. Fitting with optimized
flow resistance coefficient (Zeta
value). (without TECEflex pressure
sleeves)
Material: Brass
Dimension: 25 x Rp 3/4” x 25
Bestell-Nr.: 709525
TECEflex tee female thread brass Tee
with female thread made of DR brass for
O-ring free pressure sleeve connection
of TECEflex pipes with threaded fittings
or fittings with a thread in the outlet
toDIN EN 10226. Fitting with optimized
flow resistance coefficient (Zeta
value). (without TECEflex pressure
sleeves)
Material: Brass
Dimension: 32 x Rp 1/2” x 32
Bestell-Nr.: 709527
TECEflex tee female thread brass Tee
with female thread made of DR brass for
O-ring free pressure sleeve connection
of TECEflex pipes with threaded fittings
or fittings with a thread in the outlet
toDIN EN 10226. Fitting with optimized
flow resistance coefficient (Zeta
value). (without TECEflex pressure
sleeves)
Material: Brass
Dimension: 32 x Rp 1” x 32
Bestell-Nr.: 709532
TECEflex tee female thread brass Tee
with female thread made of DR brass for
O-ring free pressure sleeve connection
of TECEflex pipes with threaded fittings
or fittings with a thread in the outlet
toDIN EN 10226. Fitting with optimized
flow resistance coefficient (Zeta
value). (without TECEflex pressure
sleeves)
Material: Brass
Dimension: 40 x Rp 1/2” x 40
Bestell-Nr.: 709534
TECEflex tee female thread brass Tee
with female thread made of DR brass for
O-ring free pressure sleeve connection
of TECEflex pipes with threaded fittings
or fittings with a thread in the outlet
toDIN EN 10226. Fitting with optimized
flow resistance coefficient (Zeta
value). (without TECEflex pressure
sleeves)
Material: Brass
Dimension: 40 x Rp 1” x 40
Bestell-Nr.: 709540
TECEflex tee female thread brass Tee
with female thread made of DR brass for
O-ring free pressure sleeve connection
of TECEflex pipes with threaded fittings
or fittings with a thread in the outlet
toDIN EN 10226. Fitting with optimized
flow resistance coefficient (Zeta
value). (without TECEflex pressure
sleeves)
Material: Brass
Dimension: 50 x Rp 1/2” x 50
Bestell-Nr.: 709542
TECEflex tee female thread brass Tee
with female thread made of DR brass for
O-ring free pressure sleeve connection
of TECEflex pipes with threaded fittings
or fittings with a thread in the outlet
toDIN EN 10226. Fitting with optimized
flow resistance coefficient (Zeta
value). (without TECEflex pressure
sleeves)
Material: Brass
Dimension: 50 x Rp 1 1/4” x 50
Bestell-Nr.: 709550
TECEflex tee female thread brass Tee
with female thread made of DR brass for
O-ring free pressure sleeve connection
of TECEflex pipes with threaded fittings
or fittings with a thread in the outlet
toDIN EN 10226. Fitting with optimized
flow resistance coefficient (Zeta
value). (without TECEflex pressure
sleeves)
Material: Brass
Dimension: 63 x Rp 1/2” x 63
Bestell-Nr.: 709552
TECEflex tee female thread brass Tee
with female thread made of DR brass for
O-ring free pressure sleeve connection
of TECEflex pipes with threaded fittings
or fittings with a thread in the outlet
toDIN EN 10226. Fitting with optimized
flow resistance coefficient (Zeta
value). (without TECEflex pressure
sleeves)
Material: Brass
Dimension: 63 x Rp 1” x 63
Bestell-Nr.: 709563
TECEflex tee female thread brass Tee
with female thread made of DR brass for
O-ring free pressure sleeve connection
of TECEflex pipes with threaded fittings
or fittings with a thread in the outlet
toDIN EN 10226. Fitting with optimized
flow resistance coefficient (Zeta
value). (without TECEflex pressure
sleeves)
Material: Brass
Dimension: 63 x Rp 1 1/2” x 63
Bestell-Nr.: 709565
TECEflex tee female thread red brass Tee
with female thread made of red brass for
O-ring free pressure sleeve connection
of TECEflex pipes with threaded fittings
or fittings with a thread in the outlet
toDIN EN 10226. Fitting with optimized
flow resistance coefficient (Zeta
value). Suitable for all potable water
qualities. (without TECEflex pressure
sleeves)
Material: Red brass
Dimension: 16 x Rp 1/2” x 16
Bestell-Nr.: 709801
TECEflex tee female thread red brass Tee
with female thread made of red brass for
O-ring free pressure sleeve connection
of TECEflex pipes with threaded fittings
or fittings with a thread in the outlet
toDIN EN 10226. Fitting with optimized
flow resistance coefficient (Zeta
value). Suitable for all potable water
qualities. (without TECEflex pressure
sleeves)
Material: Red brass
Dimension: 20 x Rp 1/2” x 20
Bestell-Nr.: 709802
TECEflex tee female thread red brass Tee
with female thread made of red brass for
O-ring free pressure sleeve connection
of TECEflex pipes with threaded fittings
or fittings with a thread in the outlet
toDIN EN 10226. Fitting with optimized
flow resistance coefficient (Zeta
value). Suitable for all potable water
qualities. (without TECEflex pressure
sleeves)
Material: Red brass
Dimension: 25 x Rp 1/2” x 25
Bestell-Nr.: 709803
TECEflex tee female thread red brass Tee
with female thread made of red brass for
O-ring free pressure sleeve connection
of TECEflex pipes with threaded fittings
or fittings with a thread in the outlet
toDIN EN 10226. Fitting with optimized
flow resistance coefficient (Zeta
value). Suitable for all potable water
qualities. (without TECEflex pressure
sleeves)
Material: Red brass
Dimension: 25 x Rp 3/4” x 25
Bestell-Nr.: 709804
TECEflex tee female thread red brass Tee
with female thread made of red brass for
O-ring free pressure sleeve connection
of TECEflex pipes with threaded fittings
or fittings with a thread in the outlet
toDIN EN 10226. Fitting with optimized
flow resistance coefficient (Zeta
value). Suitable for all potable water
qualities. (without TECEflex pressure
sleeves)
Material: Red brass
Dimension: 32 x Rp 1” x 32
Bestell-Nr.: 709805
TECEflex tee female thread red brass Tee
with female thread made of red brass for
O-ring free pressure sleeve connection
of TECEflex pipes with threaded fittings
or fittings with a thread in the outlet
toDIN EN 10226. Fitting with optimized
flow resistance coefficient (Zeta
value). Suitable for all potable water
qualities. (without TECEflex pressure
sleeves)
Material: Red brass
Dimension: 40 x Rp 1” x 40
Bestell-Nr.: 709806
TECEflex tee female thread red brass Tee
with female thread made of red brass for
O-ring free pressure sleeve connection
of TECEflex pipes with threaded fittings
or fittings with a thread in the outlet
toDIN EN 10226. Fitting with optimized
flow resistance coefficient (Zeta
value). Suitable for all potable water
qualities. (without TECEflex pressure
sleeves)
Material: Red brass
Dimension: 50 x Rp 1 1/4” x 50
Bestell-Nr.: 709807
TECEflex tee female thread red brass Tee
with female thread made of red brass for
O-ring free pressure sleeve connection
of TECEflex pipes with threaded fittings
or fittings with a thread in the outlet
toDIN EN 10226. Fitting with optimized
flow resistance coefficient (Zeta
value). Suitable for all potable water
qualities. (without TECEflex pressure
sleeves)
Material: Red brass
Dimension: 63 x Rp 1 1/2” x 63
Bestell-Nr.: 709808
TECEflex tee brass Tee made of DR brass.
Fitting with optimized flow resistance
coefficient (zeta value) both in the
body and in the outlet. For O-ring free
pressure sleeve connection of TECEflex
pipes. (without TECEflex pressure
sleeves)
Material: Brass
Dimension: 14 x 14 x 14
Bestell-Nr.: 710014
TECEflex tee brass Tee made of DR brass.
Fitting with optimized flow resistance
coefficient (zeta value) both in the
body and in the outlet. For O-ring free
pressure sleeve connection of TECEflex
pipes. (without TECEflex pressure
sleeves)
Material: Brass
Dimension: 16 x 16 x 16
Bestell-Nr.: 710016
TECEflex tee brass Tee made of DR brass.
Fitting with optimized flow resistance
coefficient (zeta value) both in the
body and in the outlet. For O-ring free
pressure sleeve connection of TECEflex
pipes. (without TECEflex pressure
sleeves)
Material: Brass
Dimension: 20 x 20 x 20
Bestell-Nr.: 710020
TECEflex tee brass Tee made of DR brass.
Fitting with optimized flow resistance
coefficient (zeta value) both in the
body and in the outlet. For O-ring free
pressure sleeve connection of TECEflex
pipes. (without TECEflex pressure
sleeves)
Material: Brass
Dimension: 25 x 25 x 25
Bestell-Nr.: 710025
TECEflex tee brass Tee made of DR brass.
Fitting with optimized flow resistance
coefficient (zeta value) both in the
body and in the outlet. For O-ring free
pressure sleeve connection of TECEflex
pipes. (without TECEflex pressure
sleeves)
Material: Brass
Dimension: 32 x 32 x 32
Bestell-Nr.: 710032
TECEflex tee brass Tee made of DR brass.
Fitting with optimized flow resistance
coefficient (zeta value) both in the
body and in the outlet. For O-ring free
pressure sleeve connection of TECEflex
pipes. (without TECEflex pressure
sleeves)
Material: Brass
Dimension: 40 x 40 x 40
Bestell-Nr.: 710040
TECEflex tee brass Tee made of DR brass.
Fitting with optimized flow resistance
coefficient (zeta value) both in the
body and in the outlet. For O-ring free
pressure sleeve connection of TECEflex
pipes. (without TECEflex pressure
sleeves)
Material: Brass
Dimension: 50 x 50 x 50
Bestell-Nr.: 710050
TECEflex tee brass Tee made of DR brass.
Fitting with optimized flow resistance
coefficient (zeta value) both in the
body and in the outlet. For O-ring free
pressure sleeve connection of TECEflex
pipes. (without TECEflex pressure
sleeves)
Material: Brass
Dimension: 63 x 63 x 63
Bestell-Nr.: 710063
TECEflex tee red brass Tee made of red
brass. Fitting with optimized flow
resistance coefficient (zeta value) both
in the body and in the outlet. For
O-ring free pressure sleeve connection
of TECEflex pipes. Suitable for all
potable water qualities. (without
TECEflex pressure sleeves)
Material: Red brass
Dimension: 16 x 16 x 16
Bestell-Nr.: 710116
TECEflex tee red brass Tee made of red
brass. Fitting with optimized flow
resistance coefficient (zeta value) both
in the body and in the outlet. For
O-ring free pressure sleeve connection
of TECEflex pipes. Suitable for all
potable water qualities. (without
TECEflex pressure sleeves)
Material: Red brass
Dimension: 20 x 20 x 20
Bestell-Nr.: 710120
TECEflex tee red brass Tee made of red
brass. Fitting with optimized flow
resistance coefficient (zeta value) both
in the body and in the outlet. For
O-ring free pressure sleeve connection
of TECEflex pipes. Suitable for all
potable water qualities. (without
TECEflex pressure sleeves)
Material: Red brass
Dimension: 25 x 25 x 25
Bestell-Nr.: 710125
TECEflex tee red brass Tee made of red
brass. Fitting with optimized flow
resistance coefficient (zeta value) both
in the body and in the outlet. For
O-ring free pressure sleeve connection
of TECEflex pipes. Suitable for all
potable water qualities. (without
TECEflex pressure sleeves)
Material: Red brass
Dimension: 32 x 32 x 32
Bestell-Nr.: 710132
TECEflex tee red brass Tee made of red
brass. Fitting with optimized flow
resistance coefficient (zeta value) both
in the body and in the outlet. For
O-ring free pressure sleeve connection
of TECEflex pipes. Suitable for all
potable water qualities. (without
TECEflex pressure sleeves)
Material: Red brass
Dimension: 40 x 40 x 40
Bestell-Nr.: 710140
TECEflex tee red brass Tee made of red
brass. Fitting with optimized flow
resistance coefficient (zeta value) both
in the body and in the outlet. For
O-ring free pressure sleeve connection
of TECEflex pipes. Suitable for all
potable water qualities. (without
TECEflex pressure sleeves)
Material: Red brass
Dimension: 50 x 50 x 50
Bestell-Nr.: 710150
TECEflex tee red brass Tee made of red
brass. Fitting with optimized flow
resistance coefficient (zeta value) both
in the body and in the outlet. For
O-ring free pressure sleeve connection
of TECEflex pipes. Suitable for all
potable water qualities. (without
TECEflex pressure sleeves)
Material: Red brass
Dimension: 63 x 63 x 63
Bestell-Nr.: 710163
TECEflex tee reduced, brass Tee reduced
made of DR brass. Fitting with optimized
flow resistance coefficient (zeta value)
both in the body and in the outlet. For
O-ring free pressure sleeve connection
of TECEflex pipes. (without TECEflex
pressure sleeves)
Material: Brass
Dimension: 16 x 14 x 16
Bestell-Nr.: 710503
TECEflex tee reduced, brass Tee reduced
made of DR brass. Fitting with optimized
flow resistance coefficient (zeta value)
both in the body and in the outlet. For
O-ring free pressure sleeve connection
of TECEflex pipes. (without TECEflex
pressure sleeves)
Material: Brass
Dimension: 16 x 20 x 16
Bestell-Nr.: 710504
TECEflex tee reduced, brass Tee reduced
made of DR brass. Fitting with optimized
flow resistance coefficient (zeta value)
both in the body and in the outlet. For
O-ring free pressure sleeve connection
of TECEflex pipes. (without TECEflex
pressure sleeves)
Material: Brass
Dimension: 20 x 14 x 20
Bestell-Nr.: 710507
TECEflex tee reduced, brass Tee reduced
made of DR brass. Fitting with optimized
flow resistance coefficient (zeta value)
both in the body and in the outlet. For
O-ring free pressure sleeve connection
of TECEflex pipes. (without TECEflex
pressure sleeves)
Material: Brass
Dimension: 20 x 16 x 16
Bestell-Nr.: 710508
TECEflex tee reduced, brass Tee reduced
made of DR brass. Fitting with optimized
flow resistance coefficient (zeta value)
both in the body and in the outlet. For
O-ring free pressure sleeve connection
of TECEflex pipes. (without TECEflex
pressure sleeves)
Material: Brass
Dimension: 20 x 16 x 20
Bestell-Nr.: 710509
TECEflex tee reduced, brass Tee reduced
made of DR brass. Fitting with optimized
flow resistance coefficient (zeta value)
both in the body and in the outlet. For
O-ring free pressure sleeve connection
of TECEflex pipes. (without TECEflex
pressure sleeves)
Material: Brass
Dimension: 20 x 20 x 16
Bestell-Nr.: 710511
TECEflex tee reduced, brass Tee reduced
made of DR brass. Fitting with optimized
flow resistance coefficient (zeta value)
both in the body and in the outlet. For
O-ring free pressure sleeve connection
of TECEflex pipes. (without TECEflex
pressure sleeves)
Material: Brass
Dimension: 16 x 14 x 14
Bestell-Nr.: 710512
TECEflex tee reduced, brass Tee reduced
made of DR brass. Fitting with optimized
flow resistance coefficient (zeta value)
both in the body and in the outlet. For
O-ring free pressure sleeve connection
of TECEflex pipes. (without TECEflex
pressure sleeves)
Material: Brass
Dimension: 25 x 16 x 25
Bestell-Nr.: 710514
TECEflex tee reduced, brass Tee reduced
made of DR brass. Fitting with optimized
flow resistance coefficient (zeta value)
both in the body and in the outlet. For
O-ring free pressure sleeve connection
of TECEflex pipes. (without TECEflex
pressure sleeves)
Material: Brass
Dimension: 25 x 20 x 25
Bestell-Nr.: 710515
TECEflex tee reduced, brass Tee reduced
made of DR brass. Fitting with optimized
flow resistance coefficient (zeta value)
both in the body and in the outlet. For
O-ring free pressure sleeve connection
of TECEflex pipes. (without TECEflex
pressure sleeves)
Material: Brass
Dimension: 25 x 16 x 16
Bestell-Nr.: 710516
TECEflex tee reduced, brass Tee reduced
made of DR brass. Fitting with optimized
flow resistance coefficient (zeta value)
both in the body and in the outlet. For
O-ring free pressure sleeve connection
of TECEflex pipes. (without TECEflex
pressure sleeves)
Material: Brass
Dimension: 25 x 32 x 25
Bestell-Nr.: 710517
TECEflex tee reduced, brass Tee reduced
made of DR brass. Fitting with optimized
flow resistance coefficient (zeta value)
both in the body and in the outlet. For
O-ring free pressure sleeve connection
of TECEflex pipes. (without TECEflex
pressure sleeves)
Material: Brass
Dimension: 32 x 20 x 25
Bestell-Nr.: 710518
TECEflex tee reduced, brass Tee reduced
made of DR brass. Fitting with optimized
flow resistance coefficient (zeta value)
both in the body and in the outlet. For
O-ring free pressure sleeve connection
of TECEflex pipes. (without TECEflex
pressure sleeves)
Material: Brass
Dimension: 32 x 20 x 32
Bestell-Nr.: 710519
TECEflex tee reduced, brass Tee reduced
made of DR brass. Fitting with optimized
flow resistance coefficient (zeta value)
both in the body and in the outlet. For
O-ring free pressure sleeve connection
of TECEflex pipes. (without TECEflex
pressure sleeves)
Material: Brass
Dimension: 32 x 25 x 25
Bestell-Nr.: 710520
TECEflex tee reduced, brass Tee reduced
made of DR brass. Fitting with optimized
flow resistance coefficient (zeta value)
both in the body and in the outlet. For
O-ring free pressure sleeve connection
of TECEflex pipes. (without TECEflex
pressure sleeves)
Material: Brass
Dimension: 20 x 25 x 20
Bestell-Nr.: 710521
TECEflex tee reduced, brass Tee reduced
made of DR brass. Fitting with optimized
flow resistance coefficient (zeta value)
both in the body and in the outlet. For
O-ring free pressure sleeve connection
of TECEflex pipes. (without TECEflex
pressure sleeves)
Material: Brass
Dimension: 25 x 20 x 20
Bestell-Nr.: 710522
TECEflex tee reduced, brass Tee reduced
made of DR brass. Fitting with optimized
flow resistance coefficient (zeta value)
both in the body and in the outlet. For
O-ring free pressure sleeve connection
of TECEflex pipes. (without TECEflex
pressure sleeves)
Material: Brass
Dimension: 32 x 25 x 32
Bestell-Nr.: 710523
TECEflex tee reduced, brass Tee reduced
made of DR brass. Fitting with optimized
flow resistance coefficient (zeta value)
both in the body and in the outlet. For
O-ring free pressure sleeve connection
of TECEflex pipes. (without TECEflex
pressure sleeves)
Material: Brass
Dimension: 40 x 32 x 40
Bestell-Nr.: 710524
TECEflex tee reduced, brass Tee reduced
made of DR brass. Fitting with optimized
flow resistance coefficient (zeta value)
both in the body and in the outlet. For
O-ring free pressure sleeve connection
of TECEflex pipes. (without TECEflex
pressure sleeves)
Material: Brass
Dimension: 40 x 32 x 32
Bestell-Nr.: 710525
TECEflex tee reduced, brass Tee reduced
made of DR brass. Fitting with optimized
flow resistance coefficient (zeta value)
both in the body and in the outlet. For
O-ring free pressure sleeve connection
of TECEflex pipes. (without TECEflex
pressure sleeves)
Material: Brass
Dimension: 50 x 32 x 50
Bestell-Nr.: 710526
TECEflex tee reduced, brass Tee reduced
made of DR brass. Fitting with optimized
flow resistance coefficient (zeta value)
both in the body and in the outlet. For
O-ring free pressure sleeve connection
of TECEflex pipes. (without TECEflex
pressure sleeves)
Material: Brass
Dimension: 50 x 40 x 40
Bestell-Nr.: 710527
TECEflex tee reduced, brass Tee reduced
made of DR brass. Fitting with optimized
flow resistance coefficient (zeta value)
both in the body and in the outlet. For
O-ring free pressure sleeve connection
of TECEflex pipes. (without TECEflex
pressure sleeves)
Material: Brass
Dimension: 50 x 40 x 50
Bestell-Nr.: 710528
TECEflex tee reduced, brass Tee reduced
made of DR brass. Fitting with optimized
flow resistance coefficient (zeta value)
both in the body and in the outlet. For
O-ring free pressure sleeve connection
of TECEflex pipes. (without TECEflex
pressure sleeves)
Material: Brass
Dimension: 40 x 25 x 40
Bestell-Nr.: 710533
TECEflex tee reduced, brass Tee reduced
made of DR brass. Fitting with optimized
flow resistance coefficient (zeta value)
both in the body and in the outlet. For
O-ring free pressure sleeve connection
of TECEflex pipes. (without TECEflex
pressure sleeves)
Material: Brass
Dimension: 50 x 25 x 50
Bestell-Nr.: 710534
TECEflex tee reduced, brass Tee reduced
made of DR brass. Fitting with optimized
flow resistance coefficient (zeta value)
both in the body and in the outlet. For
O-ring free pressure sleeve connection
of TECEflex pipes. (without TECEflex
pressure sleeves)
Material: Brass
Dimension: 50 x 20 x 50
Bestell-Nr.: 710535
TECEflex tee reduced, brass Tee reduced
made of DR brass. Fitting with optimized
flow resistance coefficient (zeta value)
both in the body and in the outlet. For
O-ring free pressure sleeve connection
of TECEflex pipes. (without TECEflex
pressure sleeves)
Material: Brass
Dimension: 40 x 20 x 40
Bestell-Nr.: 710536
TECEflex tee reduced, brass Tee reduced
made of DR brass. Fitting with optimized
flow resistance coefficient (zeta value)
both in the body and in the outlet. For
O-ring free pressure sleeve connection
of TECEflex pipes. (without TECEflex
pressure sleeves)
Material: Brass
Dimension: 32 x 16 x 32
Bestell-Nr.: 710537
TECEflex tee reduced, brass Tee reduced
made of DR brass. Fitting with optimized
flow resistance coefficient (zeta value)
both in the body and in the outlet. For
O-ring free pressure sleeve connection
of TECEflex pipes. (without TECEflex
pressure sleeves)
Material: Brass
Dimension: 63 x 50 x 63
Bestell-Nr.: 710538
TECEflex tee reduced, brass Tee reduced
made of DR brass. Fitting with optimized
flow resistance coefficient (zeta value)
both in the body and in the outlet. For
O-ring free pressure sleeve connection
of TECEflex pipes. (without TECEflex
pressure sleeves)
Material: Brass
Dimension: 63 x 40 x 63
Bestell-Nr.: 710539
TECEflex tee reduced, brass Tee reduced
made of DR brass. Fitting with optimized
flow resistance coefficient (zeta value)
both in the body and in the outlet. For
O-ring free pressure sleeve connection
of TECEflex pipes. (without TECEflex
pressure sleeves)
Material: Brass
Dimension: 63 x 32 x 63
Bestell-Nr.: 710540
TECEflex tee reduced, brass Tee reduced
made of DR brass. Fitting with optimized
flow resistance coefficient (zeta value)
both in the body and in the outlet. For
O-ring free pressure sleeve connection
of TECEflex pipes. (without TECEflex
pressure sleeves)
Material: Brass
Dimension: 63 x 25 x 63
Bestell-Nr.: 710541
TECEflex tee reduced, brass Tee reduced
made of DR brass. Fitting with optimized
flow resistance coefficient (zeta value)
both in the body and in the outlet. For
O-ring free pressure sleeve connection
of TECEflex pipes. (without TECEflex
pressure sleeves)
Material: Brass
Dimension: 50 x 25 x 40
Bestell-Nr.: 710542
TECEflex tee reduced, brass Tee reduced
made of DR brass. Fitting with optimized
flow resistance coefficient (zeta value)
both in the body and in the outlet. For
O-ring free pressure sleeve connection
of TECEflex pipes. (without TECEflex
pressure sleeves)
Material: Brass
Dimension: 40 x 25 x 32
Bestell-Nr.: 710543
TECEflex tee reduced, brass Tee reduced
made of DR brass. Fitting with optimized
flow resistance coefficient (zeta value)
both in the body and in the outlet. For
O-ring free pressure sleeve connection
of TECEflex pipes. (without TECEflex
pressure sleeves)
Material: Brass
Dimension: 25 x 16 x 20
Bestell-Nr.: 710544
TECEflex tee reduced red brass Tee
reduced made of red brass. Fitting with
optimized flow resistance coefficient
(zeta value) both in the body and in the
outlet. For O-ring free pressure sleeve
connection of TECEflex pipes. Suitable
for all potable water qualities.
(without TECEflex pressure sleeves)
Material: Red brass
Dimension: 16 x 20 x 16
Bestell-Nr.: 710601
TECEflex tee reduced red brass Tee
reduced made of red brass. Fitting with
optimized flow resistance coefficient
(zeta value) both in the body and in the
outlet. For O-ring free pressure sleeve
connection of TECEflex pipes. Suitable
for all potable water qualities.
(without TECEflex pressure sleeves)
Material: Red brass
Dimension: 20 x 16 x 16
Bestell-Nr.: 710602
TECEflex tee reduced red brass Tee
reduced made of red brass. Fitting with
optimized flow resistance coefficient
(zeta value) both in the body and in the
outlet. For O-ring free pressure sleeve
connection of TECEflex pipes. Suitable
for all potable water qualities.
(without TECEflex pressure sleeves)
Material: Red brass
Dimension: 20 x 16 x 20
Bestell-Nr.: 710603
TECEflex tee reduced red brass Tee
reduced made of red brass. Fitting with
optimized flow resistance coefficient
(zeta value) both in the body and in the
outlet. For O-ring free pressure sleeve
connection of TECEflex pipes. Suitable
for all potable water qualities.
(without TECEflex pressure sleeves)
Material: Red brass
Dimension: 20 x 20 x 16
Bestell-Nr.: 710604
TECEflex tee reduced red brass Tee
reduced made of red brass. Fitting with
optimized flow resistance coefficient
(zeta value) both in the body and in the
outlet. For O-ring free pressure sleeve
connection of TECEflex pipes. Suitable
for all potable water qualities.
(without TECEflex pressure sleeves)
Material: Red brass
Dimension: 25 x 16 x 20
Bestell-Nr.: 710605
TECEflex tee reduced red brass Tee
reduced made of red brass. Fitting with
optimized flow resistance coefficient
(zeta value) both in the body and in the
outlet. For O-ring free pressure sleeve
connection of TECEflex pipes. Suitable
for all potable water qualities.
(without TECEflex pressure sleeves)
Material: Red brass
Dimension: 25 x 16 x 25
Bestell-Nr.: 710606
TECEflex tee reduced red brass Tee
reduced made of red brass. Fitting with
optimized flow resistance coefficient
(zeta value) both in the body and in the
outlet. For O-ring free pressure sleeve
connection of TECEflex pipes. Suitable
for all potable water qualities.
(without TECEflex pressure sleeves)
Material: Red brass
Dimension: 25 x 20 x 20
Bestell-Nr.: 710607
TECEflex tee reduced red brass Tee
reduced made of red brass. Fitting with
optimized flow resistance coefficient
(zeta value) both in the body and in the
outlet. For O-ring free pressure sleeve
connection of TECEflex pipes. Suitable
for all potable water qualities.
(without TECEflex pressure sleeves)
Material: Red brass
Dimension: 25 x 20 x 25
Bestell-Nr.: 710608
TECEflex tee reduced red brass Tee
reduced made of red brass. Fitting with
optimized flow resistance coefficient
(zeta value) both in the body and in the
outlet. For O-ring free pressure sleeve
connection of TECEflex pipes. Suitable
for all potable water qualities.
(without TECEflex pressure sleeves)
Material: Red brass
Dimension: 20 x 25 x 20
Bestell-Nr.: 710609
TECEflex tee reduced red brass Tee
reduced made of red brass. Fitting with
optimized flow resistance coefficient
(zeta value) both in the body and in the
outlet. For O-ring free pressure sleeve
connection of TECEflex pipes. Suitable
for all potable water qualities.
(without TECEflex pressure sleeves)
Material: Red brass
Dimension: 32 x 16 x 32
Bestell-Nr.: 710610
TECEflex tee reduced red brass Tee
reduced made of red brass. Fitting with
optimized flow resistance coefficient
(zeta value) both in the body and in the
outlet. For O-ring free pressure sleeve
connection of TECEflex pipes. Suitable
for all potable water qualities.
(without TECEflex pressure sleeves)
Material: Red brass
Dimension: 32 x 20 x 32
Bestell-Nr.: 710611
TECEflex tee reduced red brass Tee
reduced made of red brass. Fitting with
optimized flow resistance coefficient
(zeta value) both in the body and in the
outlet. For O-ring free pressure sleeve
connection of TECEflex pipes. Suitable
for all potable water qualities.
(without TECEflex pressure sleeves)
Material: Red brass
Dimension: 32 x 25 x 32
Bestell-Nr.: 710612
TECEflex tee reduced red brass Tee
reduced made of red brass. Fitting with
optimized flow resistance coefficient
(zeta value) both in the body and in the
outlet. For O-ring free pressure sleeve
connection of TECEflex pipes. Suitable
for all potable water qualities.
(without TECEflex pressure sleeves)
Material: Red brass
Dimension: 32 x 25 x 25
Bestell-Nr.: 710613
TECEflex tee reduced red brass Tee
reduced made of red brass. Fitting with
optimized flow resistance coefficient
(zeta value) both in the body and in the
outlet. For O-ring free pressure sleeve
connection of TECEflex pipes. Suitable
for all potable water qualities.
(without TECEflex pressure sleeves)
Material: Red brass
Dimension: 40 x 20 x 40
Bestell-Nr.: 710614
TECEflex tee reduced red brass Tee
reduced made of red brass. Fitting with
optimized flow resistance coefficient
(zeta value) both in the body and in the
outlet. For O-ring free pressure sleeve
connection of TECEflex pipes. Suitable
for all potable water qualities.
(without TECEflex pressure sleeves)
Material: Red brass
Dimension: 40 x 25 x 40
Bestell-Nr.: 710615
TECEflex tee reduced red brass Tee
reduced made of red brass. Fitting with
optimized flow resistance coefficient
(zeta value) both in the body and in the
outlet. For O-ring free pressure sleeve
connection of TECEflex pipes. Suitable
for all potable water qualities.
(without TECEflex pressure sleeves)
Material: Red brass
Dimension: 40 x 32 x 40
Bestell-Nr.: 710616
TECEflex tee reduced red brass Tee
reduced made of red brass. Fitting with
optimized flow resistance coefficient
(zeta value) both in the body and in the
outlet. For O-ring free pressure sleeve
connection of TECEflex pipes. Suitable
for all potable water qualities.
(without TECEflex pressure sleeves)
Material: Red brass
Dimension: 40 x 32 x 32
Bestell-Nr.: 710617
TECEflex tee reduced red brass Tee
reduced made of red brass. Fitting with
optimized flow resistance coefficient
(zeta value) both in the body and in the
outlet. For O-ring free pressure sleeve
connection of TECEflex pipes. Suitable
for all potable water qualities.
(without TECEflex pressure sleeves)
Material: Red brass
Dimension: 50 x 20 x 50
Bestell-Nr.: 710618
TECEflex tee reduced red brass Tee
reduced made of red brass. Fitting with
optimized flow resistance coefficient
(zeta value) both in the body and in the
outlet. For O-ring free pressure sleeve
connection of TECEflex pipes. Suitable
for all potable water qualities.
(without TECEflex pressure sleeves)
Material: Red brass
Dimension: 50 x 25 x 50
Bestell-Nr.: 710619
TECEflex tee reduced red brass Tee
reduced made of red brass. Fitting with
optimized flow resistance coefficient
(zeta value) both in the body and in the
outlet. For O-ring free pressure sleeve
connection of TECEflex pipes. Suitable
for all potable water qualities.
(without TECEflex pressure sleeves)
Material: Red brass
Dimension: 50 x 32 x 50
Bestell-Nr.: 710620
TECEflex tee reduced red brass Tee
reduced made of red brass. Fitting with
optimized flow resistance coefficient
(zeta value) both in the body and in the
outlet. For O-ring free pressure sleeve
connection of TECEflex pipes. Suitable
for all potable water qualities.
(without TECEflex pressure sleeves)
Material: Red brass
Dimension: 50 x 40 x 50
Bestell-Nr.: 710621
TECEflex tee reduced red brass Tee
reduced made of red brass. Fitting with
optimized flow resistance coefficient
(zeta value) both in the body and in the
outlet. For O-ring free pressure sleeve
connection of TECEflex pipes. Suitable
for all potable water qualities.
(without TECEflex pressure sleeves)
Material: Red brass
Dimension: 63 x 32 x 63
Bestell-Nr.: 710622
TECEflex tee reduced red brass Tee
reduced made of red brass. Fitting with
optimized flow resistance coefficient
(zeta value) both in the body and in the
outlet. For O-ring free pressure sleeve
connection of TECEflex pipes. Suitable
for all potable water qualities.
(without TECEflex pressure sleeves)
Material: Red brass
Dimension: 63 x 50 x 63
Bestell-Nr.: 710623
TECEflex manifold made of brass Manifold
trunk 3/4” one side with Rp 3/4” female
thread, other side with R 3/4” male
thread. TECEflex outlets dim. 16. With
3/8” venting valve and plug (without
3/4” cap and plug).
Dimension: 16 x 3/4” Two-way
Bestell-Nr.: 712007
TECEflex manifold made of brass Manifold
trunk 3/4” one side with Rp 3/4” female
thread, other side with R 3/4” male
thread. TECEflex outlets dim. 16. With
3/8” venting valve and plug (without
3/4” cap and plug).
Dimension: 16 x 3/4” Three-way
Bestell-Nr.: 712008
TECEflex manifold made of brass Manifold
trunk 3/4” one side with Rp 3/4” female
thread, other side with R 3/4” male
thread. TECEflex outlets dim. 16. With
3/8” venting valve and plug (without
3/4” cap and plug).
Dimension: 14 x 3/4” Two-way
Bestell-Nr.: 712009
TECEflex manifold made of brass Manifold
trunk 3/4” one side with Rp 3/4” female
thread, other side with R 3/4” male
thread. TECEflex outlets dim. 16. With
3/8” venting valve and plug (without
3/4” cap and plug).
Dimension: 14 x 3/4” Three-way
Bestell-Nr.: 712010
TECEflex manifold made of red brass
Manifold trunk 3/4” one side with Rp
3/4” female thread, other side with R
3/4” male thread. TECEflex outlets dim.
16. (without 3/4” cap and plug).
Dimension: 16 x 3/4” Two-way
Bestell-Nr.: 712201
TECEflex manifold made of red brass
Manifold trunk 3/4” one side with Rp
3/4” female thread, other side with R
3/4” male thread. TECEflex outlets dim.
16. (without 3/4” cap and plug).
Dimension: 16 x 3/4” Three-way
Bestell-Nr.: 712202
TECE stainless steel heating circuit
manifold without flow rate indicator
Stainless steel radiator distribution
manifold made of stainless-steel
rectangular hollow section 40 x 1.5 mm,
(grade 1.4301) in accordance with DIN EN
10088, G 1” union nut on primary side,
flat sealing, nickel-plated brass,
distance to heating circuit 50 mm.Fully
pre-assembled feed and return
with:Manifold bar with integrated
control valves and black protective
caps, in accordance with DIN EN 1264-4,
outgoing side with pipe connectors on G
3/4” male thread, inside cone in
accordance with DIN EN 16313,
nickel-plated brass2 blanking plugs G
3/4”, nickel-coated brassPackaged in a
sturdy carton including:2 dual wall
brackets 200 x 54.4 x 34.5 with
structure-borne sound insulation inserts
(DIN 4109) incl. mounting material (1
dual wall bracket for manifold with 2
heating circuits)2 flat seals 1”
Version: 2 heating circuits
Bestell-Nr.: 712540
TECE stainless steel heating circuit
manifold without flow rate indicator
Stainless steel radiator distribution
manifold made of stainless-steel
rectangular hollow section 40 x 1.5 mm,
(grade 1.4301) in accordance with DIN EN
10088, G 1” union nut on primary side,
flat sealing, nickel-plated brass,
distance to heating circuit 50 mm.Fully
pre-assembled feed and return
with:Manifold bar with integrated
control valves and black protective
caps, in accordance with DIN EN 1264-4,
outgoing side with pipe connectors on G
3/4” male thread, inside cone in
accordance with DIN EN 16313,
nickel-plated brass2 blanking plugs G
3/4”, nickel-coated brassPackaged in a
sturdy carton including:2 dual wall
brackets 200 x 54.4 x 34.5 with
structure-borne sound insulation inserts
(DIN 4109) incl. mounting material (1
dual wall bracket for manifold with 2
heating circuits)2 flat seals 1”
Version: 3 heating circuits
Bestell-Nr.: 712541
TECE stainless steel heating circuit
manifold without flow rate indicator
Stainless steel radiator distribution
manifold made of stainless-steel
rectangular hollow section 40 x 1.5 mm,
(grade 1.4301) in accordance with DIN EN
10088, G 1” union nut on primary side,
flat sealing, nickel-plated brass,
distance to heating circuit 50 mm.Fully
pre-assembled feed and return
with:Manifold bar with integrated
control valves and black protective
caps, in accordance with DIN EN 1264-4,
outgoing side with pipe connectors on G
3/4” male thread, inside cone in
accordance with DIN EN 16313,
nickel-plated brass2 blanking plugs G
3/4”, nickel-coated brassPackaged in a
sturdy carton including:2 dual wall
brackets 200 x 54.4 x 34.5 with
structure-borne sound insulation inserts
(DIN 4109) incl. mounting material (1
dual wall bracket for manifold with 2
heating circuits)2 flat seals 1”
Version: 4 heating circuits
Bestell-Nr.: 712542
TECE stainless steel heating circuit
manifold without flow rate indicator
Stainless steel radiator distribution
manifold made of stainless-steel
rectangular hollow section 40 x 1.5 mm,
(grade 1.4301) in accordance with DIN EN
10088, G 1” union nut on primary side,
flat sealing, nickel-plated brass,
distance to heating circuit 50 mm.Fully
pre-assembled feed and return
with:Manifold bar with integrated
control valves and black protective
caps, in accordance with DIN EN 1264-4,
outgoing side with pipe connectors on G
3/4” male thread, inside cone in
accordance with DIN EN 16313,
nickel-plated brass2 blanking plugs G
3/4”, nickel-coated brassPackaged in a
sturdy carton including:2 dual wall
brackets 200 x 54.4 x 34.5 with
structure-borne sound insulation inserts
(DIN 4109) incl. mounting material (1
dual wall bracket for manifold with 2
heating circuits)2 flat seals 1”
Version: 5 heating circuits
Bestell-Nr.: 712543
TECE stainless steel heating circuit
manifold without flow rate indicator
Stainless steel radiator distribution
manifold made of stainless-steel
rectangular hollow section 40 x 1.5 mm,
(grade 1.4301) in accordance with DIN EN
10088, G 1” union nut on primary side,
flat sealing, nickel-plated brass,
distance to heating circuit 50 mm.Fully
pre-assembled feed and return
with:Manifold bar with integrated
control valves and black protective
caps, in accordance with DIN EN 1264-4,
outgoing side with pipe connectors on G
3/4” male thread, inside cone in
accordance with DIN EN 16313,
nickel-plated brass2 blanking plugs G
3/4”, nickel-coated brassPackaged in a
sturdy carton including:2 dual wall
brackets 200 x 54.4 x 34.5 with
structure-borne sound insulation inserts
(DIN 4109) incl. mounting material (1
dual wall bracket for manifold with 2
heating circuits)2 flat seals 1”
Version: 6 heating circuits
Bestell-Nr.: 712544
TECE stainless steel heating circuit
manifold without flow rate indicator
Stainless steel radiator distribution
manifold made of stainless-steel
rectangular hollow section 40 x 1.5 mm,
(grade 1.4301) in accordance with DIN EN
10088, G 1” union nut on primary side,
flat sealing, nickel-plated brass,
distance to heating circuit 50 mm.Fully
pre-assembled feed and return
with:Manifold bar with integrated
control valves and black protective
caps, in accordance with DIN EN 1264-4,
outgoing side with pipe connectors on G
3/4” male thread, inside cone in
accordance with DIN EN 16313,
nickel-plated brass2 blanking plugs G
3/4”, nickel-coated brassPackaged in a
sturdy carton including:2 dual wall
brackets 200 x 54.4 x 34.5 with
structure-borne sound insulation inserts
(DIN 4109) incl. mounting material (1
dual wall bracket for manifold with 2
heating circuits)2 flat seals 1”
Version: 7 heating circuits
Bestell-Nr.: 712545
TECE stainless steel heating circuit
manifold without flow rate indicator
Stainless steel radiator distribution
manifold made of stainless-steel
rectangular hollow section 40 x 1.5 mm,
(grade 1.4301) in accordance with DIN EN
10088, G 1” union nut on primary side,
flat sealing, nickel-plated brass,
distance to heating circuit 50 mm.Fully
pre-assembled feed and return
with:Manifold bar with integrated
control valves and black protective
caps, in accordance with DIN EN 1264-4,
outgoing side with pipe connectors on G
3/4” male thread, inside cone in
accordance with DIN EN 16313,
nickel-plated brass2 blanking plugs G
3/4”, nickel-coated brassPackaged in a
sturdy carton including:2 dual wall
brackets 200 x 54.4 x 34.5 with
structure-borne sound insulation inserts
(DIN 4109) incl. mounting material (1
dual wall bracket for manifold with 2
heating circuits)2 flat seals 1”
Version: 8 heating circuits
Bestell-Nr.: 712546
TECE stainless steel heating circuit
manifold without flow rate indicator
Stainless steel radiator distribution
manifold made of stainless-steel
rectangular hollow section 40 x 1.5 mm,
(grade 1.4301) in accordance with DIN EN
10088, G 1” union nut on primary side,
flat sealing, nickel-plated brass,
distance to heating circuit 50 mm.Fully
pre-assembled feed and return
with:Manifold bar with integrated
control valves and black protective
caps, in accordance with DIN EN 1264-4,
outgoing side with pipe connectors on G
3/4” male thread, inside cone in
accordance with DIN EN 16313,
nickel-plated brass2 blanking plugs G
3/4”, nickel-coated brassPackaged in a
sturdy carton including:2 dual wall
brackets 200 x 54.4 x 34.5 with
structure-borne sound insulation inserts
(DIN 4109) incl. mounting material (1
dual wall bracket for manifold with 2
heating circuits)2 flat seals 1”
Version: 9 heating circuits
Bestell-Nr.: 712547
TECE stainless steel heating circuit
manifold without flow rate indicator
Stainless steel radiator distribution
manifold made of stainless-steel
rectangular hollow section 40 x 1.5 mm,
(grade 1.4301) in accordance with DIN EN
10088, G 1” union nut on primary side,
flat sealing, nickel-plated brass,
distance to heating circuit 50 mm.Fully
pre-assembled feed and return
with:Manifold bar with integrated
control valves and black protective
caps, in accordance with DIN EN 1264-4,
outgoing side with pipe connectors on G
3/4” male thread, inside cone in
accordance with DIN EN 16313,
nickel-plated brass2 blanking plugs G
3/4”, nickel-coated brassPackaged in a
sturdy carton including:2 dual wall
brackets 200 x 54.4 x 34.5 with
structure-borne sound insulation inserts
(DIN 4109) incl. mounting material (1
dual wall bracket for manifold with 2
heating circuits)2 flat seals 1”
Version: 10 heating circuits
Bestell-Nr.: 712548
TECE stainless steel heating circuit
manifold without flow rate indicator
Stainless steel radiator distribution
manifold made of stainless-steel
rectangular hollow section 40 x 1.5 mm,
(grade 1.4301) in accordance with DIN EN
10088, G 1” union nut on primary side,
flat sealing, nickel-plated brass,
distance to heating circuit 50 mm.Fully
pre-assembled feed and return
with:Manifold bar with integrated
control valves and black protective
caps, in accordance with DIN EN 1264-4,
outgoing side with pipe connectors on G
3/4” male thread, inside cone in
accordance with DIN EN 16313,
nickel-plated brass2 blanking plugs G
3/4”, nickel-coated brassPackaged in a
sturdy carton including:2 dual wall
brackets 200 x 54.4 x 34.5 with
structure-borne sound insulation inserts
(DIN 4109) incl. mounting material (1
dual wall bracket for manifold with 2
heating circuits)2 flat seals 1”
Version: 11 heating circuits
Bestell-Nr.: 712549
TECE stainless steel heating circuit
manifold without flow rate indicator
Stainless steel radiator distribution
manifold made of stainless-steel
rectangular hollow section 40 x 1.5 mm,
(grade 1.4301) in accordance with DIN EN
10088, G 1” union nut on primary side,
flat sealing, nickel-plated brass,
distance to heating circuit 50 mm.Fully
pre-assembled feed and return
with:Manifold bar with integrated
control valves and black protective
caps, in accordance with DIN EN 1264-4,
outgoing side with pipe connectors on G
3/4” male thread, inside cone in
accordance with DIN EN 16313,
nickel-plated brass2 blanking plugs G
3/4”, nickel-coated brassPackaged in a
sturdy carton including:2 dual wall
brackets 200 x 54.4 x 34.5 with
structure-borne sound insulation inserts
(DIN 4109) incl. mounting material (1
dual wall bracket for manifold with 2
heating circuits)2 flat seals 1”
Version: 12 heating circuits
Bestell-Nr.: 712550
TECE stainless steel heating circuit
manifold without flow rate indicator and
control valves Stainless steel radiator
distribution manifold made of
stainless-steel rectangular hollow
section 40 x 1.5 mm (grade 1.4301) to
DIN EN 10088, with G 1” union nut on
primary side, flat sealing, nickel
plated brass, distance to heating
circuit 50 mm.Fully pre-assembled feed
and return with:Manifold bar with pipe
connectors on G 3/4” male thread, inside
cone to DIN EN 16313, nickel-plated
brass2 blanking plugs G 3/4”,
nickel-plated brass4 blanking plugs G
1/2”, nickel-plated brassPackaged in a
sturdy carton including:2 dual wall
brackets 200 x 54.4 x 34.5 with
structure-borne sound insulation inserts
(DIN 4109) incl. mounting material (1
dual wall bracket for distributor with 2
heating circuits)2 flat seals 1”
Version: 2 heating circuits
Bestell-Nr.: 712551
TECE stainless steel heating circuit
manifold without flow rate indicator and
control valves Stainless steel radiator
distribution manifold made of
stainless-steel rectangular hollow
section 40 x 1.5 mm (grade 1.4301) to
DIN EN 10088, with G 1” union nut on
primary side, flat sealing, nickel
plated brass, distance to heating
circuit 50 mm.Fully pre-assembled feed
and return with:Manifold bar with pipe
connectors on G 3/4” male thread, inside
cone to DIN EN 16313, nickel-plated
brass2 blanking plugs G 3/4”,
nickel-plated brass4 blanking plugs G
1/2”, nickel-plated brassPackaged in a
sturdy carton including:2 dual wall
brackets 200 x 54.4 x 34.5 with
structure-borne sound insulation inserts
(DIN 4109) incl. mounting material (1
dual wall bracket for distributor with 2
heating circuits)2 flat seals 1”
Version: 3 heating circuits
Bestell-Nr.: 712552
TECE stainless steel heating circuit
manifold without flow rate indicator and
control valves Stainless steel radiator
distribution manifold made of
stainless-steel rectangular hollow
section 40 x 1.5 mm (grade 1.4301) to
DIN EN 10088, with G 1” union nut on
primary side, flat sealing, nickel
plated brass, distance to heating
circuit 50 mm.Fully pre-assembled feed
and return with:Manifold bar with pipe
connectors on G 3/4” male thread, inside
cone to DIN EN 16313, nickel-plated
brass2 blanking plugs G 3/4”,
nickel-plated brass4 blanking plugs G
1/2”, nickel-plated brassPackaged in a
sturdy carton including:2 dual wall
brackets 200 x 54.4 x 34.5 with
structure-borne sound insulation inserts
(DIN 4109) incl. mounting material (1
dual wall bracket for distributor with 2
heating circuits)2 flat seals 1”
Version: 4 heating circuits
Bestell-Nr.: 712553
TECE stainless steel heating circuit
manifold without flow rate indicator and
control valves Stainless steel radiator
distribution manifold made of
stainless-steel rectangular hollow
section 40 x 1.5 mm (grade 1.4301) to
DIN EN 10088, with G 1” union nut on
primary side, flat sealing, nickel
plated brass, distance to heating
circuit 50 mm.Fully pre-assembled feed
and return with:Manifold bar with pipe
connectors on G 3/4” male thread, inside
cone to DIN EN 16313, nickel-plated
brass2 blanking plugs G 3/4”,
nickel-plated brass4 blanking plugs G
1/2”, nickel-plated brassPackaged in a
sturdy carton including:2 dual wall
brackets 200 x 54.4 x 34.5 with
structure-borne sound insulation inserts
(DIN 4109) incl. mounting material (1
dual wall bracket for distributor with 2
heating circuits)2 flat seals 1”
Version: 5 heating circuits
Bestell-Nr.: 712554
TECE stainless steel heating circuit
manifold without flow rate indicator and
control valves Stainless steel radiator
distribution manifold made of
stainless-steel rectangular hollow
section 40 x 1.5 mm (grade 1.4301) to
DIN EN 10088, with G 1” union nut on
primary side, flat sealing, nickel
plated brass, distance to heating
circuit 50 mm.Fully pre-assembled feed
and return with:Manifold bar with pipe
connectors on G 3/4” male thread, inside
cone to DIN EN 16313, nickel-plated
brass2 blanking plugs G 3/4”,
nickel-plated brass4 blanking plugs G
1/2”, nickel-plated brassPackaged in a
sturdy carton including:2 dual wall
brackets 200 x 54.4 x 34.5 with
structure-borne sound insulation inserts
(DIN 4109) incl. mounting material (1
dual wall bracket for distributor with 2
heating circuits)2 flat seals 1”
Version: 6 heating circuits
Bestell-Nr.: 712555
TECE stainless steel heating circuit
manifold without flow rate indicator and
control valves Stainless steel radiator
distribution manifold made of
stainless-steel rectangular hollow
section 40 x 1.5 mm (grade 1.4301) to
DIN EN 10088, with G 1” union nut on
primary side, flat sealing, nickel
plated brass, distance to heating
circuit 50 mm.Fully pre-assembled feed
and return with:Manifold bar with pipe
connectors on G 3/4” male thread, inside
cone to DIN EN 16313, nickel-plated
brass2 blanking plugs G 3/4”,
nickel-plated brass4 blanking plugs G
1/2”, nickel-plated brassPackaged in a
sturdy carton including:2 dual wall
brackets 200 x 54.4 x 34.5 with
structure-borne sound insulation inserts
(DIN 4109) incl. mounting material (1
dual wall bracket for distributor with 2
heating circuits)2 flat seals 1”
Version: 7 heating circuits
Bestell-Nr.: 712556
TECE stainless steel heating circuit
manifold without flow rate indicator and
control valves Stainless steel radiator
distribution manifold made of
stainless-steel rectangular hollow
section 40 x 1.5 mm (grade 1.4301) to
DIN EN 10088, with G 1” union nut on
primary side, flat sealing, nickel
plated brass, distance to heating
circuit 50 mm.Fully pre-assembled feed
and return with:Manifold bar with pipe
connectors on G 3/4” male thread, inside
cone to DIN EN 16313, nickel-plated
brass2 blanking plugs G 3/4”,
nickel-plated brass4 blanking plugs G
1/2”, nickel-plated brassPackaged in a
sturdy carton including:2 dual wall
brackets 200 x 54.4 x 34.5 with
structure-borne sound insulation inserts
(DIN 4109) incl. mounting material (1
dual wall bracket for distributor with 2
heating circuits)2 flat seals 1”
Version: 8 heating circuits
Bestell-Nr.: 712557
TECE stainless steel heating circuit
manifold without flow rate indicator and
control valves Stainless steel radiator
distribution manifold made of
stainless-steel rectangular hollow
section 40 x 1.5 mm (grade 1.4301) to
DIN EN 10088, with G 1” union nut on
primary side, flat sealing, nickel
plated brass, distance to heating
circuit 50 mm.Fully pre-assembled feed
and return with:Manifold bar with pipe
connectors on G 3/4” male thread, inside
cone to DIN EN 16313, nickel-plated
brass2 blanking plugs G 3/4”,
nickel-plated brass4 blanking plugs G
1/2”, nickel-plated brassPackaged in a
sturdy carton including:2 dual wall
brackets 200 x 54.4 x 34.5 with
structure-borne sound insulation inserts
(DIN 4109) incl. mounting material (1
dual wall bracket for distributor with 2
heating circuits)2 flat seals 1”
Version: 9 heating circuits
Bestell-Nr.: 712558
TECE stainless steel heating circuit
manifold without flow rate indicator and
control valves Stainless steel radiator
distribution manifold made of
stainless-steel rectangular hollow
section 40 x 1.5 mm (grade 1.4301) to
DIN EN 10088, with G 1” union nut on
primary side, flat sealing, nickel
plated brass, distance to heating
circuit 50 mm.Fully pre-assembled feed
and return with:Manifold bar with pipe
connectors on G 3/4” male thread, inside
cone to DIN EN 16313, nickel-plated
brass2 blanking plugs G 3/4”,
nickel-plated brass4 blanking plugs G
1/2”, nickel-plated brassPackaged in a
sturdy carton including:2 dual wall
brackets 200 x 54.4 x 34.5 with
structure-borne sound insulation inserts
(DIN 4109) incl. mounting material (1
dual wall bracket for distributor with 2
heating circuits)2 flat seals 1”
Version: 10 heating circuits
Bestell-Nr.: 712559
TECE stainless steel heating circuit
manifold without flow rate indicator and
control valves Stainless steel radiator
distribution manifold made of
stainless-steel rectangular hollow
section 40 x 1.5 mm (grade 1.4301) to
DIN EN 10088, with G 1” union nut on
primary side, flat sealing, nickel
plated brass, distance to heating
circuit 50 mm.Fully pre-assembled feed
and return with:Manifold bar with pipe
connectors on G 3/4” male thread, inside
cone to DIN EN 16313, nickel-plated
brass2 blanking plugs G 3/4”,
nickel-plated brass4 blanking plugs G
1/2”, nickel-plated brassPackaged in a
sturdy carton including:2 dual wall
brackets 200 x 54.4 x 34.5 with
structure-borne sound insulation inserts
(DIN 4109) incl. mounting material (1
dual wall bracket for distributor with 2
heating circuits)2 flat seals 1”
Version: 11 heating circuits
Bestell-Nr.: 712560
TECE stainless steel heating circuit
manifold without flow rate indicator and
control valves Stainless steel radiator
distribution manifold made of
stainless-steel rectangular hollow
section 40 x 1.5 mm (grade 1.4301) to
DIN EN 10088, with G 1” union nut on
primary side, flat sealing, nickel
plated brass, distance to heating
circuit 50 mm.Fully pre-assembled feed
and return with:Manifold bar with pipe
connectors on G 3/4” male thread, inside
cone to DIN EN 16313, nickel-plated
brass2 blanking plugs G 3/4”,
nickel-plated brass4 blanking plugs G
1/2”, nickel-plated brassPackaged in a
sturdy carton including:2 dual wall
brackets 200 x 54.4 x 34.5 with
structure-borne sound insulation inserts
(DIN 4109) incl. mounting material (1
dual wall bracket for distributor with 2
heating circuits)2 flat seals 1”
Version: 12 heating circuits
Bestell-Nr.: 712561
TECE fill and drain set with ventilation
function 3/4” for TECE heating circuit
manifold
Bestell-Nr.: 712562
TECEflex clamped joint for all-plastic
pipes To connect TECEflex all-plastic
pipes to a 3/4” Eurocone with male
thread. Designed for use in heating
installations only.
Dimension: 14
Bestell-Nr.: 713014
TECEflex clamped joint for all-plastic
pipes To connect TECEflex all-plastic
pipes to a 3/4” Eurocone with male
thread. Designed for use in heating
installations only.
Dimension: 20
Bestell-Nr.: 713020
TECEflex clamped joint for TECEflex
multi-layer composite pipe To connect
TECEflex multi-layer composite pipes to
a 3/4” Eurocone with male thread.
Designed for use in heating
installations only.
Dimension: 14
Bestell-Nr.: 713314
TECEflex clamped joint for TECEflex
multi-layer composite pipe To connect
TECEflex multi-layer composite pipes to
a 3/4” Eurocone with male thread.
Designed for use in heating
installations only.
Dimension: 16
Bestell-Nr.: 713316
TECEflex clamped joint for TECEflex
multi-layer composite pipe To connect
TECEflex multi-layer composite pipes to
a 3/4” Eurocone with male thread.
Designed for use in heating
installations only.
Dimension: 20
Bestell-Nr.: 713320
TECEflex clamped joint for all-plastic
pipes To connect TECEflex all-plastic
pipes to a 3/4” Eurocone with male
thread. Designed for use in heating
installations only.
Dimension: 16
Bestell-Nr.: 713516
TECEflex 3/4” Eurocone screw connector
with TECEflex pressure connection made
of brass
Dimension: 14
Bestell-Nr.: 713614
TECEflex 3/4” Eurocone screw connector
with TECEflex pressure connection made
of brass
Dimension: 16
Bestell-Nr.: 713616
TECEflex 3/4” Eurocone screw connector
with TECEflex pressure connection made
of brass, nickel-plated Designed for use
in heating installations only.
Dimension: 16
Bestell-Nr.: 7136161
TECEflex 3/4” Eurocone screw connector
with TECEflex pressure connection made
of brass
Dimension: 20
Bestell-Nr.: 713620
TECEflex 3/4” Eurocone screw connector
with TECEflex pressure connection made
of brass, nickel-plated Designed for use
in heating installations only.
Dimension: 20
Bestell-Nr.: 7136201
TECEflex system adapter copper pipe
Permanent adapter from copper pipe to
TECEflex.
Dimension: 16
Cu pipe: Durchm. 15 mm
Bestell-Nr.: 713816
TECEflex system adapter copper pipe
Permanent adapter from copper pipe to
TECEflex.
Dimension: 20
Cu pipe: Durchm. 18 mm
Bestell-Nr.: 713820
TECEflex Cu soldered connection TECEflex
made of brass
Material: Brass
Dimension: 14
Cu sleeve: Durchm. 18 mm
Cu pipe: Durchm. 15 mm
Bestell-Nr.: 713914
TECEflex Cu soldered connection TECEflex
made of brass
Material: Brass
Dimension: 16
Cu sleeve: Durchm. 18 mm
Cu pipe: Durchm. 15 mm
Bestell-Nr.: 713916
TECEflex Cu soldered connection TECEflex
made of brass
Material: Brass
Dimension: 20
Cu sleeve: Durchm. 22 mm
Cu pipe: Durchm. 18 mm
Bestell-Nr.: 713920
TECEflex Cu soldered connection TECEflex
made of brass
Material: Brass
Dimension: 25
Cu sleeve: Durchm. 28 mm
Cu pipe: Durchm. 22 mm
Bestell-Nr.: 713925
TECEflex Cu soldered connection TECEflex
made of brass
Material: Brass
Dimension: 32
Cu sleeve: Durchm. 32 mm
Cu pipe: Durchm. 28 mm
Bestell-Nr.: 713932
TECEflex 15 mm radiator mounting elbow,
nickel-plated copper To connect compact
radiators with integrated valves.
Dimension: 14 x Durchm. 15 mm Cu/300 mm
Bestell-Nr.: 714014
TECEflex 15 mm radiator mounting elbow,
nickel-plated copper To connect compact
radiators with integrated valves.
Dimension: 16 x Durchm. 15 mm Cu/300 mm
Bestell-Nr.: 714016
TECEflex 15 mm radiator mounting elbow,
nickel-plated copper To connect compact
radiators with integrated valves.
Dimension: 20 x Durchm. 15 mm Cu/300 mm
Bestell-Nr.: 714020
TECEflex 15 mm radiator mounting elbow,
nickel-plated copper To connect compact
radiators with integrated valves.
Dimension: 16 x Durchm. 15 mm Cu/1100 mm
Bestell-Nr.: 714516
TECEflex radiator assembly set for
compactvalve heaters, floor-mounted,
nickel-plated To connect compact
radiators with integrated valves through
the floor.
1437127934742: 50 mm
Dimension: 16 x Durchm. 15 mm Cu
Bestell-Nr.: 714901
TECEflex radiator mounting set for
compact radiator with integrated valve,
wall-mounted, nickel-plated To connect
compact radiators with integrated valves
through the wall.
Dimension: 16 x Durchm. 15 mm Cu
Bestell-Nr.: 714905
TECEflex radiator mounting unit for
compact radiator with integrated valve,
wall-mounted For simplified connection
of compact radiators with integrated
valves through the wall, TECEflex
composite pipe dim. 16 in 9 mm PE
insulating tube, (Lambda)R 0.040 W/(mK),
with sturdy fixing option, radiator
valve spacing 50 mm. Installation height
210 mm.
Dimension: 16
Bestell-Nr.: 714907
TECEflex 15 mm radiator mounting tee,
nickel-plated copper To connect compact
radiators with integrated valves.
Dimension: 16 x Durchm. 15 mm Cu
Bestell-Nr.: 715016
TECEflex 15 mm radiator mounting tee,
nickel-plated copper To connect compact
radiators with integrated valves.
Dimension: 20 x Durchm. 15 mm Cu
Bestell-Nr.: 715020
TECEflex radiator installation box for
compact valve heaters, HKGS For
simplified connection of compact valve
radiators through the wall, pipe layout
in PUR insulating body, without plaster
base board, radiator valve spacing 50
mm, installation hight 230 mm, TECEflex
composite pipe dim. 16.
Dimension: 16
Bestell-Nr.: 716116
TECEflex radiator installation box for
compact radiators with integrated valve,
radiator installation box For simplified
connection of compact radiators with
integrated valves through the wall, pipe
layout in PUR insulating body with
fixing option, radiator valve spacing 50
mm TECEflex-composite pipe dim. 16.
Dimension: 16
Bestell-Nr.: 716216
TECEflex pressure-soldered connection
made of red brass As adapter from
stainless steel or copper pipe to
TECEflex. Suitable for V- or M-contour
pressed fittings. Also suitable for
soldering.
Material: Red brass
Dimension: 16
Cu sleeve: Durchm. 15 mm
Bestell-Nr.: 716316
TECEflex pressure-soldered connection
made of red brass As adapter from
stainless steel or copper pipe to
TECEflex. Suitable for V- or M-contour
pressed fittings. Also suitable for
soldering.
Material: Red brass
Dimension: 20
Cu sleeve: Durchm. 18 mm
Bestell-Nr.: 716320
TECEflex pressure-soldered connection
made of red brass As adapter from
stainless steel or copper pipe to
TECEflex. Suitable for V- or M-contour
pressed fittings. Also suitable for
soldering.
Material: Red brass
Dimension: 20
Cu sleeve: Durchm. 22 mm
Bestell-Nr.: 716321
TECEflex pressure-soldered connection
made of red brass As adapter from
stainless steel or copper pipe to
TECEflex. Suitable for V- or M-contour
pressed fittings. Also suitable for
soldering.
Material: Red brass
Dimension: 25
Cu sleeve: Durchm. 22 mm
Bestell-Nr.: 716325
TECEflex pressure-soldered connection
made of red brass As adapter from
stainless steel or copper pipe to
TECEflex. Suitable for V- or M-contour
pressed fittings. Also suitable for
soldering.
Material: Red brass
Dimension: 32
Cu sleeve: Durchm. 28 mm
Bestell-Nr.: 716332
TECE male pinch screw connection 1/2” 15
mm, nickel-plated pinch screw connection
to join TECEflex/TECElogo radiator
mounting elbow or radiator tees to
thermostat valves or to the radiator
screw connections.
Dimension: Durchm. 15 mm x R 1/2”
Bestell-Nr.: 717501
TECEflex screw connection, flat sealing
brass Flat sealing screw connection made
of DR brass for connecting pumps and
fittings. For O-ring free pressure
sleeve connection with TECEflex pipes.
(without TECEflex pressure sleeves,
incl. flat seal)
Material: Brass
Dimension: 16 x 3/4”
Bestell-Nr.: 717507
TECEflex screw connection, flat sealing
brass Flat sealing screw connection made
of DR brass for connecting pumps and
fittings. For O-ring free pressure
sleeve connection with TECEflex pipes.
(without TECEflex pressure sleeves,
incl. flat seal)
Material: Brass
Dimension: 20 x 3/4”
Bestell-Nr.: 717508
TECEflex screw connection, flat sealing
brass Flat sealing screw connection made
of DR brass for connecting pumps and
fittings. For O-ring free pressure
sleeve connection with TECEflex pipes.
(without TECEflex pressure sleeves,
incl. flat seal)
Material: Brass
Dimension: 25 x 1”
Bestell-Nr.: 717509
TECEflex screw connection, flat sealing
brass Flat sealing screw connection made
of DR brass for connecting pumps and
fittings. For O-ring free pressure
sleeve connection with TECEflex pipes.
(without TECEflex pressure sleeves,
incl. flat seal)
Material: Brass
Dimension: 32 x 1 1/4”
Bestell-Nr.: 717510
TECEflex screw connection, flat sealing
brass Flat sealing screw connection made
of DR brass for connecting pumps and
fittings. For O-ring free pressure
sleeve connection with TECEflex pipes.
(without TECEflex pressure sleeves,
incl. flat seal)
Material: Brass
Dimension: 16 x 1/2”
Bestell-Nr.: 717512
TECEflex screw connection, flat sealing
brass Flat sealing screw connection made
of DR brass for connecting pumps and
fittings. For O-ring free pressure
sleeve connection with TECEflex pipes.
(without TECEflex pressure sleeves,
incl. flat seal)
Material: Brass
Dimension: 20 x 1”
Bestell-Nr.: 717514
TECEflex screw connection, flat sealing
brass Flat sealing screw connection made
of DR brass for connecting pumps and
fittings. For O-ring free pressure
sleeve connection with TECEflex pipes.
(without TECEflex pressure sleeves,
incl. flat seal)
Material: Brass
Dimension: 25 x 1 1/4”
Bestell-Nr.: 717515
TECEflex screw connection, flat sealing
brass Flat sealing screw connection made
of DR brass for connecting pumps and
fittings. For O-ring free pressure
sleeve connection with TECEflex pipes.
(without TECEflex pressure sleeves,
incl. flat seal)
Material: Brass
Dimension: 32 x 1 1/2”
Bestell-Nr.: 717516
TECEflex screw connection, flat sealing
brass Flat sealing screw connection made
of DR brass for connecting pumps and
fittings. For O-ring free pressure
sleeve connection with TECEflex pipes.
(without TECEflex pressure sleeves,
incl. flat seal)
Material: Brass
Dimension: 40 x 1 1/2”
Bestell-Nr.: 717517
TECEflex screw connection, flat sealing
brass Flat sealing screw connection made
of DR brass for connecting pumps and
fittings. For O-ring free pressure
sleeve connection with TECEflex pipes.
(without TECEflex pressure sleeves,
incl. flat seal)
Material: Brass
Dimension: 40 x 1 3/4”
Bestell-Nr.: 717518
TECEflex screw connection, flat sealing
brass Flat sealing screw connection made
of DR brass for connecting pumps and
fittings. For O-ring free pressure
sleeve connection with TECEflex pipes.
(without TECEflex pressure sleeves,
incl. flat seal)
Material: Brass
Dimension: 50 x 1 3/4”
Bestell-Nr.: 717519
TECEflex screw connection, flat sealing
brass Flat sealing screw connection made
of DR brass for connecting pumps and
fittings. For O-ring free pressure
sleeve connection with TECEflex pipes.
(without TECEflex pressure sleeves,
incl. flat seal)
Material: Brass
Dimension: 63 x 2 3/8”
Bestell-Nr.: 717520
TECEflex screw connection, flat sealing
red brass Flat sealing screw connection
made of red brass for connecting pumps
and fittings. For O-ring free pressure
sleeve connection with TECEflex pipes.
Suitable for all potable water
qualities. (without TECEflex pressure
sleeves, incl. flat seal)
Material: Red brass
Dimension: 16 x 1/2”
Bestell-Nr.: 717601
TECEflex screw connection, flat sealing
red brass Flat sealing screw connection
made of red brass for connecting pumps
and fittings. For O-ring free pressure
sleeve connection with TECEflex pipes.
Suitable for all potable water
qualities. (without TECEflex pressure
sleeves, incl. flat seal)
Material: Red brass
Dimension: 16 x 3/4”
Bestell-Nr.: 717602
TECEflex screw connection, flat sealing
red brass Flat sealing screw connection
made of red brass for connecting pumps
and fittings. For O-ring free pressure
sleeve connection with TECEflex pipes.
Suitable for all potable water
qualities. (without TECEflex pressure
sleeves, incl. flat seal)
Material: Red brass
Dimension: 20 x 3/4”
Bestell-Nr.: 717603
TECEflex screw connection, flat sealing
red brass Flat sealing screw connection
made of red brass for connecting pumps
and fittings. For O-ring free pressure
sleeve connection with TECEflex pipes.
Suitable for all potable water
qualities. (without TECEflex pressure
sleeves, incl. flat seal)
Material: Red brass
Dimension: 20 x 1”
Bestell-Nr.: 717604
TECEflex screw connection, flat sealing
red brass Flat sealing screw connection
made of red brass for connecting pumps
and fittings. For O-ring free pressure
sleeve connection with TECEflex pipes.
Suitable for all potable water
qualities. (without TECEflex pressure
sleeves, incl. flat seal)
Material: Red brass
Dimension: 25 x 1”
Bestell-Nr.: 717605
TECEflex screw connection, flat sealing
red brass Flat sealing screw connection
made of red brass for connecting pumps
and fittings. For O-ring free pressure
sleeve connection with TECEflex pipes.
Suitable for all potable water
qualities. (without TECEflex pressure
sleeves, incl. flat seal)
Material: Red brass
Dimension: 25 x 1 1/4”
Bestell-Nr.: 717606
TECEflex screw connection, flat sealing
red brass Flat sealing screw connection
made of red brass for connecting pumps
and fittings. For O-ring free pressure
sleeve connection with TECEflex pipes.
Suitable for all potable water
qualities. (without TECEflex pressure
sleeves, incl. flat seal)
Material: Red brass
Dimension: 32 x 1 1/4”
Bestell-Nr.: 717607
TECEflex screw connection, flat sealing
red brass Flat sealing screw connection
made of red brass for connecting pumps
and fittings. For O-ring free pressure
sleeve connection with TECEflex pipes.
Suitable for all potable water
qualities. (without TECEflex pressure
sleeves, incl. flat seal)
Material: Red brass
Dimension: 32 x 1 1/2”
Bestell-Nr.: 717608
TECE sound-proofing element
Sound-proofing element for TECEflex and
TECElogo wall disks. To minimize
transmission of noise to the structure
consisting of sound insulation inserts
and sound-proofing cover.
Dimension: for 1/2” wall disks
Bestell-Nr.: 718017
TECEflex protection box made of PS for
cross-fittings To separate TECEflex
cross-fittings from the building
structure, made of cfc-free PS.
Dimension: 16-20
Bestell-Nr.: 718020
TECE sound-proofing element
Sound-proofing element for TECEflex and
TECElogo wall disks. To minimize
transmission of noise to the structure
consisting of sound insulation inserts
and sound-proofing cover.
Dimension: for 1/2” wall disks, long
Bestell-Nr.: 718022
TECE sound-proofing element
Sound-proofing element for TECEflex and
TECElogo wall disks. To minimize
transmission of noise to the structure
consisting of sound insulation inserts
and sound-proofing cover.
Dimension: for 1/2” double wall disks
Bestell-Nr.: 718024
TECEflex cross-fitting Made of
nickel-plated brass. For simplified
connection of radiator connection lines
in the floor construction.
Dimension: 16 x 16 x 16
Bestell-Nr.: 718501
TECEflex cross-fitting Made of
nickel-plated brass. For simplified
connection of radiator connection lines
in the floor construction.
Dimension: 20 x 16 x 16
Bestell-Nr.: 718502
TECEflex cross-fitting Made of
nickel-plated brass. For simplified
connection of radiator connection lines
in the floor construction.
Dimension: 20 x 16 x 20
Bestell-Nr.: 718503
TECEflex pipe scissors
Dimension: 14-25
Bestell-Nr.: 720005
TECEflex calibrating tool for TECEflex
multi-layer composite pipe For use with
TECEflex clamped joints.
Dimension: 14-20
Bestell-Nr.: 720040
TECEflex manual pressing tool for
pressure sleeve, type: HPW-L For sliding
on and pressing TECEflex pressure
sleeves.Consisting of:Manual pressing
toolFork heads dim. 14-32Robust tool
case
Dimension: 14-32
Bestell-Nr.: 720050
TECEflex manual pipe expanding tool,
type: RAZ-V To expand TECEflex PE-X and
composite pipes dim. 16-32.Consisting
of:Pipe expanding tool, manualExpanding
heads dim. 16-32Robust tool case
Dimension: 16-32
Bestell-Nr.: 720056
TECE corrugated sheath pipe cutter For
corrugated sheath pipe 14-25 mm.
Dimension: 14-25
Bestell-Nr.: 720090
TECEflex pipe scissors
Dimension: 14-40
Bestell-Nr.: 720093
TECEflex expanding head for AWS 40 63
For the expanding tool AWS 40 63 of the
PMA 40 63 set for TECEflex pipes dim. 25
and 32.
Dimension: 25 and 32
Bestell-Nr.: 720128
TECEflex PMA 40 63 pressing tool and
TECEflex expanding set in tool case
Pressing machine attachment for the
mechanical pressing of TECEflex
connections dim. 40-63. A standard
commercial press machine with 32 kN
pressure is required to use the
tool.Consisting of:Pressing machine
attachment PMA 40 63Pressing forks dim.
40-63Expanding tool AWS 40 63 for
pressing machinesExpanding heads dim.
40-63Robust tool case
Dimension: 40-63
Bestell-Nr.: 720170
TECEflex RazFaz cordless expanding tool
Light-weight and easy-to-handle tool for
electric expanding of TECEflex pipes
dim. 16-32.Consisting of:RazFaz cordless
expanding toolExpanding heads dim.
16-32Powerful NiMh rechargeable battery
packFast battery chargerRobust tool case
Dimension: 16-32
Bestell-Nr.: 720172
TECEflex RazFaz accumulator-operated
pressing tool Light-weight and
easy-to-handle pressing tool for
dimensions from 14-32 mm. Permits
rational working even in narrow mounting
situations or pressing directly on the
wall.Consisting of:RazFaz cordless
pressing toolDouble pressing forks dim.
14/16-20 and 25-32Powerful NiMh
rechargeable battery packFast battery
chargerRobust tool case
Dimension: 14-32
Bestell-Nr.: 720173
TECEflex RazFaz tool set Tool set
consisting of:RazFaz cordless expanding
toolRazFaz cordless pressing
toolExpanding heads dim. 16-32Double
pressing forks dim. 14/16-20 and 25-322
rechargeable batteriesFast battery
chargerRobust tool case
Dimension: 14-32
Bestell-Nr.: 720174
TECE laying winder Foldable, variably
adjustable for TECEflex and TECElogo
rolls up 600 m length.
Dimension: up to 600 m
Bestell-Nr.: 720193
TECE pipe straightener To be mounted on
the laying winder for straight removal
of 16 and 20 mm TECEflex and TECElogo
composite pipes.
Dimension: 16 and 20
Bestell-Nr.: 720194
TECEflex manual tool set Manual tool set
consisting of:TECEflex manual pipe
expanding toolExpanding heads dim.
16-32Manual pressing tool for TECEflex
pressure sleevesFork heads dim.
14-3Robust tool case
Dimension: 16-32
Bestell-Nr.: 720203
TECEflex manual tool set Manual tool set
consisting of:TECEflex manual pipe
expanding toolExpanding heads dim.
16-32Manual pressing tool for TECEflex
pressure sleevesFork heads dim.
14-3Robust tool case
Dimension: 16-20
Bestell-Nr.: 720204
TECEflex end plug brass End plugs made
of DR brass to close off open pipe ends
with TECEflex composite pipe or PE-X
pipe for example, for pressure testing
or as end piece. (without TECEflex
pressure sleeve)
Material: Brass
Dimension: 14
Bestell-Nr.: 720514
TECEflex end plug brass End plugs made
of DR brass to close off open pipe ends
with TECEflex composite pipe or PE-X
pipe for example, for pressure testing
or as end piece. (without TECEflex
pressure sleeve)
Material: Brass
Dimension: 16
Bestell-Nr.: 720516
TECEflex end plug brass End plugs made
of DR brass to close off open pipe ends
with TECEflex composite pipe or PE-X
pipe for example, for pressure testing
or as end piece. (without TECEflex
pressure sleeve)
Material: Brass
Dimension: 20
Bestell-Nr.: 720520
TECE screw To fasten TECEflex and
TECElogo wall disks to galvanized steel
fasteners.
Dimension: 3.5 x 16 mm
Bestell-Nr.: 720524
TECE fastener made of galvanized steel,
single To fasten TECEflex and TECElogo
wall disks, angled, made of galvanized
steel.
Bestell-Nr.: 720527
TECE fastener made of galvanized steel,
double To fasten TECEflex and TECElogo
wall disks, angled, made of galvanized
steel. Suitable for dimensions 150 and
80 mm.
Bestell-Nr.: 720528
TECEflex mounting unit with wall disks,
brass, and sound-proofing elements,
dimension: 150 mm Mounting unit with
wall disks made of DR brass for O-ring
free pressure sleeve connection of
TECEflex pipes with threaded fittings or
fittings with a thread to DIN EN 10226.
Wall disk with optimized flow resistance
coefficient (Zeta value). The wall disks
are pre-assembled on a stable fastener
made of galvanized steel. Alternative
hole pattern for 100 mm and 80 mm are
pre-drilled. Dimension: 150
mm.Pre-assembled fastener with:2
sound-insulation disks,2 wall disks,
brass2 sound-insulation domes(without
TECEflex pressure sleeves)
Dimension: 16 x Rp 1/2”
Bestell-Nr.: 720530
TECEflex mounting unit with wall disks
brass Pre-assembled fastener with two
wall disks brass.
Dimension: 16 x Rp 1/2”
Bestell-Nr.: 720534
TECEflex mounting unit with wall disks,
brass, sound-proofing elements and
fastener for high-temperature outlet
bend, dimension: 80 mm Pre-assembled
fastener with:2 sound-insulation disks2
wall disks, brass2 sound-insulation
domesFastener for a high-temperature
outlet bend(without TECEflex pressure
sleeves)
Material: Brass
Dimension: 16 x Rp 1/2”
Bestell-Nr.: 720536
TECEflex mounting unit with wall disks
red brass Pre-assembled fastener with
two red brass wall disks.
Dimension: 16 x Rp 1/2”
Bestell-Nr.: 720550
TECEflex mounting unit with wall disks,
red brass, and sound-proofing elements,
dimension: 150 mm Pre-assembled fastener
with:2 sound-insulation disks2 wall
disks, red brass2 sound-insulation
domes(without TECEflex pressure sleeves)
Dimension: 16 x Rp 1/2”
Bestell-Nr.: 720560
TECEflex mounting unit with wall disks,
red brass, and sound-proofing elements,
dimension: 150 mm Pre-assembled fastener
with:2 sound-insulation disks2 wall
disks, red brass2 sound-insulation
domes(without TECEflex pressure sleeves)
Dimension: 20 x Rp 1/2”
Bestell-Nr.: 720562
TECEflex mounting unit with wall disks,
red brass, sound-proofing elements and
fastener for high-temperature outlet
bend, dimension: 80 mm Pre-assembled
fastener with:2 sound-insulation disks2
wall disks, red brass2 sound-insulation
domesFastener for a high-temperature
outlet bend(without TECEflex pressure
sleeves)
Material: Red brass
Dimension: 16 x Rp 1/2”
Bestell-Nr.: 720565
TECEflex mounting unit with U-double
wall disks, red brass, and
sound-proofing elements, dimension: 150
mm Pre-assembled fastener with:2
sound-insulation disks2 U-double wall
disks, red brass2 sound-insulation
domes(without TECEflex pressure sleeves)
Dimension: 16 x Rp 1/2” x 16
Bestell-Nr.: 720566
TECEflex hygienic closure set in case
For closing pipe ends during the
construction phase. Set consists of
closures for female and male threads as
well as for open pipe ends and nozzles.
Packed in assortment case. Contents
consist of:1 x closures for female
thread Rp 1/2” to Rp 2”1 x closures for
male thread R 1/2” to R 2”1 x closures
for Flex nozzle dim. 16 to dim. 631 x
closures for Flex pipe ends dim. 16 to
dim. 63
Dimension: 16-63
Bestell-Nr.: 720580
TECEflex hygienic closure female thread
For female thread from Rp 1/2” to Rp 2”,
refill pack. Content consisting of:30 x
closures for female thread Rp 1/2”25 x
closures for female thread Rp 3/4”10 x
closures for female thread Rp 1”10 x
closures for female thread Rp 1 1/4”8 x
closures for female thread Rp 1 1/2”6 x
closures for female thread Rp 2”
Dimension: Rp 1/2”-Rp 2”
Bestell-Nr.: 720581
TECEflex hygienic closure male thread
For male thread from R 1/2” to R 2”,
refill pack. Content consisting of:30 x
closures for male thread R 1/2”25 x
closures for male thread R 3/4”10 x
closures for male thread R 1”10 x
closures for male thread R 1 1/4”8 x
closures for male thread R 1 1/2”6 x
closures for male thread R 2”
Dimension: R 1/2”-R 2”
Bestell-Nr.: 720582
TECEflex hygienic closure nozzle For
nozzles of dim. 16-63, refill pack.
Content consisting of:30 x closures for
nozzle dim. 1625 x closures for nozzle
dim. 2010 x closures for nozzle dim.
2510 x closures for nozzle dim. 3210 x
closures for nozzle dim. 408 x closures
for nozzle dim. 506 x closures for
nozzle dim. 63
Dimension: 16-63
Bestell-Nr.: 720583
TECEflex hygienic closure pipe For open
pipe ends of dim. 16-63, refill pack.
Content consisting of:30 x closures for
pipe end dim. 1625 x closures for pipe
end dim. 2010 x closures for pipe end
dim. 2510 x closures for pipe end dim.
3210 x closures for pipe end dim. 408 x
closures for pipe end dim. 506 x
closures for pipe end dim. 63
Dimension: 16-63
Bestell-Nr.: 720584
TECEflex wall disk red brass Wall disk
made of red brass for O-ring free
pressure sleeve connection of TECEflex
pipes with threaded fittings or fittings
with a thread to DIN EN 10226. Fitting
with optimized flow resistance
coefficient (Zeta value). Suitable for
all potable water qualities. (without
TECEflex pressure sleeves)
Material: Red brass
Dimension: 14 x Rp 1/2”
Bestell-Nr.: 720590
TECEflex tee red brass Tee made of red
brass. Fitting with optimized flow
resistance coefficient (zeta value) both
in the body and in the outlet. For
O-ring free pressure sleeve connection
of TECEflex pipes. Suitable for all
potable water qualities. (without
TECEflex pressure sleeves)
Material: Red brass
Dimension: 14 x 14 x 14
Bestell-Nr.: 720591
TECEflex tee reduced red brass Tee
reduced made of red brass. Fitting with
optimized flow resistance coefficient
(zeta value) both in the body and in the
outlet. For O-ring free pressure sleeve
connection of TECEflex pipes. Suitable
for all potable water qualities.
(without TECEflex pressure sleeves)
Material: Red brass
Dimension: 16 x 14 x 16
Bestell-Nr.: 720592
TECEflex 90Grad elbow, pressure-loss
optimized red brass 90Grad coupling
made of red brass, elbow with
pressure-loss optimized design and
favourable flow characteristics. Low
zeta value due to low-loss change of
direction via arcuate bends and the very
nearly identical inner cross-section of
the pipe and fitting. Suitable for all
potable water qualities.
Material: Red brass
Dimension: 14 x 14
Bestell-Nr.: 720593
TECEflex coupling red brass Coupling
made of red brass for O-ring free
pressure sleeve connection of TECEflex
pipes. Fitting with optimized flow
resistance coefficient (Zeta value).
Suitable for all potable water
qualities. (without TECEflex pressure
sleeves)
Material: Red brass
Dimension: 14 x 14
Bestell-Nr.: 720594
TECEflex coupling reduced red brass
Coupling reduced made of red brass.
Fitting with optimized flow resistance
coefficient (Zeta value). For O-ring
free pressure sleeve connection of
TECEflex pipes of different dimensions.
(without TECEflex pressure sleeves)
Material: Red brass
Dimension: 16 x 14
Bestell-Nr.: 720595
TECE skirting board radiator elbow
shut-offs Made of 15 mm nickel-plated Cu
pipe, adjustable and with shut-off, for
connection of radiator to TECEflex or
TECElogo skirting board radiator
connection set.
Dimension: 15 mm Cu
Bestell-Nr.: 730010
TECE skirting board radiator elbows Made
of nickel-plated Cu pipe 15 mm. To
connect radiator to TECEflex or TECElogo
skirting board radiator connection set.
Dimension: 15 mm Cu
Bestell-Nr.: 730025
TECEflex skirting board radiator
connection set For radiator connections
from the skirting board. Incl. clamping
ring connections 1/2” x 15 mm. Suitable
for mounting with TECEflex skirting
board radiator elbow or TECEflex
skirting board radiator elbow shut-off.
Dimension: 16 x 15 Cu x 16
Bestell-Nr.: 730110
TECEflex skirting board radiator
connection set For radiator connections
from the skirting board. Incl. clamping
ring connections 1/2” x 15 mm. Suitable
for mounting with TECEflex skirting
board radiator elbow or TECEflex
skirting board radiator elbow shut-off.
Dimension: 20 x 15 Cu x 20
Bestell-Nr.: 730115
TECEflex skirting board radiator
connection set For radiator connections
from the skirting board. Incl. clamping
ring connections 1/2” x 15 mm. Suitable
for mounting with TECEflex skirting
board radiator elbow or TECEflex
skirting board radiator elbow shut-off.
Dimension: 20 x 15 Cu x 16
Bestell-Nr.: 730120
TECEflex skirting board radiator
connection set For radiator connections
from the skirting board. Incl. clamping
ring connections 1/2” x 15 mm. Suitable
for mounting with TECEflex skirting
board radiator elbow or TECEflex
skirting board radiator elbow shut-off.
Dimension: 16 x 15 Cu x 20
Bestell-Nr.: 730125
TECEflex skirting board radiator
connection set For radiator connections
from the skirting board. Incl. clamping
ring connections 1/2” x 15 mm. Suitable
for mounting with TECEflex skirting
board radiator elbow or TECEflex
skirting board radiator elbow shut-off.
Dimension: 16 x 15 Cu x plug
Bestell-Nr.: 730130
TECEflex skirting board radiator
connection set For radiator connections
from the skirting board. Incl. clamping
ring connections 1/2” x 15 mm. Suitable
for mounting with TECEflex skirting
board radiator elbow or TECEflex
skirting board radiator elbow shut-off.
Dimension: Plug x 15 Cu x 16
Bestell-Nr.: 730135
TECEflex tee reduced, PPSU Tee reduced
made of high-performance plastic PPSU.
Fitting with optimized flow resistance
coefficient (zeta value) both in the
body and in the outlet. For O-ring free
pressure sleeve connection of TECEflex
pipes. (without TECEflex pressure
sleeves)
Material: PPSU
Dimension: 16 x 20 x 16
Bestell-Nr.: 730504
TECEflex tee reduced, PPSU Tee reduced
made of high-performance plastic PPSU.
Fitting with optimized flow resistance
coefficient (zeta value) both in the
body and in the outlet. For O-ring free
pressure sleeve connection of TECEflex
pipes. (without TECEflex pressure
sleeves)
Material: PPSU
Dimension: 20 x 16 x 16
Bestell-Nr.: 730508
TECEflex tee reduced, PPSU Tee reduced
made of high-performance plastic PPSU.
Fitting with optimized flow resistance
coefficient (zeta value) both in the
body and in the outlet. For O-ring free
pressure sleeve connection of TECEflex
pipes. (without TECEflex pressure
sleeves)
Material: PPSU
Dimension: 20 x 16 x 20
Bestell-Nr.: 730509
TECEflex tee reduced, PPSU Tee reduced
made of high-performance plastic PPSU.
Fitting with optimized flow resistance
coefficient (zeta value) both in the
body and in the outlet. For O-ring free
pressure sleeve connection of TECEflex
pipes. (without TECEflex pressure
sleeves)
Material: PPSU
Dimension: 20 x 20 x 16
Bestell-Nr.: 730511
TECEflex tee reduced, PPSU Tee reduced
made of high-performance plastic PPSU.
Fitting with optimized flow resistance
coefficient (zeta value) both in the
body and in the outlet. For O-ring free
pressure sleeve connection of TECEflex
pipes. (without TECEflex pressure
sleeves)
Material: PPSU
Dimension: 25 x 16 x 25
Bestell-Nr.: 730514
TECEflex tee reduced, PPSU Tee reduced
made of high-performance plastic PPSU.
Fitting with optimized flow resistance
coefficient (zeta value) both in the
body and in the outlet. For O-ring free
pressure sleeve connection of TECEflex
pipes. (without TECEflex pressure
sleeves)
Material: PPSU
Dimension: 25 x 20 x 25
Bestell-Nr.: 730515
TECEflex tee reduced, PPSU Tee reduced
made of high-performance plastic PPSU.
Fitting with optimized flow resistance
coefficient (zeta value) both in the
body and in the outlet. For O-ring free
pressure sleeve connection of TECEflex
pipes. (without TECEflex pressure
sleeves)
Material: PPSU
Dimension: 25 x 16 x 16
Bestell-Nr.: 730516
TECEflex tee reduced, PPSU Tee reduced
made of high-performance plastic PPSU.
Fitting with optimized flow resistance
coefficient (zeta value) both in the
body and in the outlet. For O-ring free
pressure sleeve connection of TECEflex
pipes. (without TECEflex pressure
sleeves)
Material: PPSU
Dimension: 32 x 20 x 32
Bestell-Nr.: 730519
TECEflex tee reduced, PPSU Tee reduced
made of high-performance plastic PPSU.
Fitting with optimized flow resistance
coefficient (zeta value) both in the
body and in the outlet. For O-ring free
pressure sleeve connection of TECEflex
pipes. (without TECEflex pressure
sleeves)
Material: PPSU
Dimension: 32 x 25 x 25
Bestell-Nr.: 730520
TECEflex tee reduced, PPSU Tee reduced
made of high-performance plastic PPSU.
Fitting with optimized flow resistance
coefficient (zeta value) both in the
body and in the outlet. For O-ring free
pressure sleeve connection of TECEflex
pipes. (without TECEflex pressure
sleeves)
Material: PPSU
Dimension: 20 x 25 x 20
Bestell-Nr.: 730521
TECEflex tee reduced, PPSU Tee reduced
made of high-performance plastic PPSU.
Fitting with optimized flow resistance
coefficient (zeta value) both in the
body and in the outlet. For O-ring free
pressure sleeve connection of TECEflex
pipes. (without TECEflex pressure
sleeves)
Material: PPSU
Dimension: 25 x 20 x 20
Bestell-Nr.: 730522
TECEflex tee reduced, PPSU Tee reduced
made of high-performance plastic PPSU.
Fitting with optimized flow resistance
coefficient (zeta value) both in the
body and in the outlet. For O-ring free
pressure sleeve connection of TECEflex
pipes. (without TECEflex pressure
sleeves)
Material: PPSU
Dimension: 32 x 25 x 32
Bestell-Nr.: 730523
TECEflex tee reduced, PPSU Tee reduced
made of high-performance plastic PPSU.
Fitting with optimized flow resistance
coefficient (zeta value) both in the
body and in the outlet. For O-ring free
pressure sleeve connection of TECEflex
pipes. (without TECEflex pressure
sleeves)
Material: PPSU
Dimension: 40 x 32 x 40
Bestell-Nr.: 730524
TECEflex tee reduced, PPSU Tee reduced
made of high-performance plastic PPSU.
Fitting with optimized flow resistance
coefficient (zeta value) both in the
body and in the outlet. For O-ring free
pressure sleeve connection of TECEflex
pipes. (without TECEflex pressure
sleeves)
Material: PPSU
Dimension: 40 x 32 x 32
Bestell-Nr.: 730525
TECEflex tee reduced, PPSU Tee reduced
made of high-performance plastic PPSU.
Fitting with optimized flow resistance
coefficient (zeta value) both in the
body and in the outlet. For O-ring free
pressure sleeve connection of TECEflex
pipes. (without TECEflex pressure
sleeves)
Material: PPSU
Dimension: 40 x 25 x 40
Bestell-Nr.: 730533
TECEflex tee reduced, PPSU Tee reduced
made of high-performance plastic PPSU.
Fitting with optimized flow resistance
coefficient (zeta value) both in the
body and in the outlet. For O-ring free
pressure sleeve connection of TECEflex
pipes. (without TECEflex pressure
sleeves)
Material: PPSU
Dimension: 40 x 20 x 40
Bestell-Nr.: 730536
TECEflex tee reduced, PPSU Tee reduced
made of high-performance plastic PPSU.
Fitting with optimized flow resistance
coefficient (zeta value) both in the
body and in the outlet. For O-ring free
pressure sleeve connection of TECEflex
pipes. (without TECEflex pressure
sleeves)
Material: PPSU
Dimension: 32 x 16 x 32
Bestell-Nr.: 730537
TECEflex tee reduced, PPSU Tee reduced
made of high-performance plastic PPSU.
Fitting with optimized flow resistance
coefficient (zeta value) both in the
body and in the outlet. For O-ring free
pressure sleeve connection of TECEflex
pipes. (without TECEflex pressure
sleeves)
Material: PPSU
Dimension: 25 x 16 x 20
Bestell-Nr.: 730544
TECEflex end plug PPSU End plugs made of
high-performance plastic PPSU to close
off open pipe ends with TECEflex
composite pipe or PE-X pipe for example,
for pressure testing or as end piece.
(without TECEflex pressure sleeve)
Material: PPSU
Dimension: 16
Bestell-Nr.: 730616
TECEflex end plug PPSU End plugs made of
high-performance plastic PPSU to close
off open pipe ends with TECEflex
composite pipe or PE-X pipe for example,
for pressure testing or as end piece.
(without TECEflex pressure sleeve)
Material: PPSU
Dimension: 20
Bestell-Nr.: 730620
TECEflex tee PPSU Tee made of
high-performance PPSU. Fitting with
optimized flow resistance coefficient
(zeta value) both in the body and in the
outlet. For O-ring free pressure sleeve
connection of TECEflex pipes. (without
TECEflex pressure sleeves)
Material: PPSU
Dimension: 16 x 16 x 16
Bestell-Nr.: 730916
TECEflex tee PPSU Tee made of
high-performance PPSU. Fitting with
optimized flow resistance coefficient
(zeta value) both in the body and in the
outlet. For O-ring free pressure sleeve
connection of TECEflex pipes. (without
TECEflex pressure sleeves)
Material: PPSU
Dimension: 20 x 20 x 20
Bestell-Nr.: 730920
TECEflex tee PPSU Tee made of
high-performance PPSU. Fitting with
optimized flow resistance coefficient
(zeta value) both in the body and in the
outlet. For O-ring free pressure sleeve
connection of TECEflex pipes. (without
TECEflex pressure sleeves)
Material: PPSU
Dimension: 25 x 25 x 25
Bestell-Nr.: 730925
TECEflex tee PPSU Tee made of
high-performance PPSU. Fitting with
optimized flow resistance coefficient
(zeta value) both in the body and in the
outlet. For O-ring free pressure sleeve
connection of TECEflex pipes. (without
TECEflex pressure sleeves)
Material: PPSU
Dimension: 32 x 32 x 32
Bestell-Nr.: 730932
TECEflex tee PPSU Tee made of
high-performance PPSU. Fitting with
optimized flow resistance coefficient
(zeta value) both in the body and in the
outlet. For O-ring free pressure sleeve
connection of TECEflex pipes. (without
TECEflex pressure sleeves)
Material: PPSU
Dimension: 40 x 40 x 40
Bestell-Nr.: 730940
TECEflex multi-layer composite pipe
PE-Xc/Al/PE-RT in corrugated protective
pipe, black To DIN EN ISO 21003.
Suitable for potable water, heating and
compressed air installations.
Dimension: 14 - Roll
Bestell-Nr.: 731014
TECEflex multi-layer composite pipe
PE-Xc/Al/PE-RT in corrugated protective
pipe, black To DIN EN ISO 21003.
Suitable for potable water, heating and
compressed air installations.
Dimension: 16 - Roll
Bestell-Nr.: 731016
TECEflex multi-layer composite pipe
PE-Xc/Al/PE-RT in corrugated protective
pipe, black To DIN EN ISO 21003.
Suitable for potable water, heating and
compressed air installations.
Dimension: 20 - Roll
Bestell-Nr.: 731020
TECEflex multi-layer composite pipe
PE-Xc/Al/PE-RT in corrugated protective
pipe, black To DIN EN ISO 21003.
Suitable for potable water, heating and
compressed air installations.
Dimension: 25 - Roll
Bestell-Nr.: 731025
TECEflex multi-layer composite pipe
PE-Xc/Al/PE-RT pre-insulated, 6 mm
insulation To DIN EN ISO 21003 for
potable water and heating installation,
pre-insulated with 6 mm PE insulation
((Lambda)R = 0.04 W/mK) and tear-proof
PE foil (colour: red). Can be used in
accordance with DIN 1988-200 (table 8,
no. 4/5 and table 9, no. 6).
Dimension: 16 - RS 6 mm
Bestell-Nr.: 731116
TECEflex multi-layer composite pipe
PE-Xc/Al/PE-RT pre-insulated, 6 mm
insulation To DIN EN ISO 21003 for
potable water and heating installation,
pre-insulated with 6 mm PE insulation
((Lambda)R = 0.04 W/mK) and tear-proof
PE foil (colour: red). Can be used in
accordance with DIN 1988-200 (table 8,
no. 4/5 and table 9, no. 6).
Dimension: 20 - RS 6 mm
Bestell-Nr.: 731120
TECEflex multi-layer composite pipe
PE-Xc/Al/PE-RT pre-insulated, 6 mm
insulation To DIN EN ISO 21003 for
potable water and heating installation,
pre-insulated with 6 mm PE insulation
((Lambda)R = 0.04 W/mK) and tear-proof
PE foil (colour: red). Can be used in
accordance with DIN 1988-200 (table 8,
no. 4/5 and table 9, no. 6).
Dimension: 25 - RS 6 mm
Bestell-Nr.: 731125
TECEflex multi-layer composite pipe
PE-Xc/Al/PE-RT pre-insulated, 9 mm
insulation To DIN EN ISO 21003 for
potable water and heating installations,
pre-insulated with 9 mm PE insulation
((Lambda)R = 0.04 W/mK) and tear-proof
PE foil (colour: red). Can be used in
accordance with EnEV 2009 (appendix 5,
table 1, line 7) and DIN 1988-200 (table
8, no. 1).
Dimension: 16 - 9 mm insulation
Bestell-Nr.: 731616
TECEflex multi-layer composite pipe
PE-Xc/Al/PE-RT pre-insulated, 9 mm
insulation To DIN EN ISO 21003 for
potable water and heating installations,
pre-insulated with 9 mm PE insulation
((Lambda)R = 0.04 W/mK) and tear-proof
PE foil (colour: red). Can be used in
accordance with EnEV 2009 (appendix 5,
table 1, line 7) and DIN 1988-200 (table
8, no. 1).
Dimension: 20 - 9 mm insulation
Bestell-Nr.: 731620
TECEflex multi-layer composite pipe
PE-Xc/Al/PE-RT pre-insulated, 9 mm
insulation To DIN EN ISO 21003 for
potable water and heating installations,
pre-insulated with 9 mm PE insulation
((Lambda)R = 0.04 W/mK) and tear-proof
PE foil (colour: red). Can be used in
accordance with EnEV 2009 (appendix 5,
table 1, line 7) and DIN 1988-200 (table
8, no. 1).
Dimension: 25 - 9 mm insulation
Bestell-Nr.: 731625
TECEflex multi-layer composite pipe
PE-Xc/Al/PE-RT pre-insulated, 13 mm
insulation To DIN EN ISO 21003 for
potable water and heating installations,
pre-insulated with 13 mm PE insulation
((Lambda)R = 0.04 W/mK) and tear-proof
PE foil (colour: red). Can be used in
accordance with EnEV 2009 (appendix 5,
table 1, lines 5 and 6) and DIN 1988-200
(table 8, nos. 2 and 6).
Dimension: 16 - 13 mm insulation
Bestell-Nr.: 731816
TECEflex multi-layer composite pipe
PE-Xc/Al/PE-RT pre-insulated, 13 mm
insulation To DIN EN ISO 21003 for
potable water and heating installations,
pre-insulated with 13 mm PE insulation
((Lambda)R = 0.04 W/mK) and tear-proof
PE foil (colour: red). Can be used in
accordance with EnEV 2009 (appendix 5,
table 1, lines 5 and 6) and DIN 1988-200
(table 8, nos. 2 and 6).
Dimension: 20 - 13 mm insulation
Bestell-Nr.: 731820
TECEflex multi-layer composite pipe
PE-Xc/Al/PE-RT pre-insulated, 13 mm
insulation To DIN EN ISO 21003 for
potable water and heating installations,
pre-insulated with 13 mm PE insulation
((Lambda)R = 0.04 W/mK) and tear-proof
PE foil (colour: red). Can be used in
accordance with EnEV 2009 (appendix 5,
table 1, lines 5 and 6) and DIN 1988-200
(table 8, nos. 2 and 6).
Dimension: 16 - 13 mm insulation
Bestell-Nr.: 731916
TECEflex multi-layer composite pipe
PE-Xc/Al/PE-RT pre-insulated, 13 mm
insulation To DIN EN ISO 21003 for
potable water and heating installations,
pre-insulated with 13 mm PE insulation
((Lambda)R = 0.04 W/mK) and tear-proof
PE foil (colour: red). Can be used in
accordance with EnEV 2009 (appendix 5,
table 1, lines 5 and 6) and DIN 1988-200
(table 8, nos. 2 and 6).
Dimension: 20 - 13 mm insulation
Bestell-Nr.: 731920
TECEflex multi-layer composite pipe
PE-Xc/Al/PE-RT pre-insulated, 13 mm
insulation To DIN EN ISO 21003 for
potable water and heating installations,
pre-insulated with 13 mm PE insulation
((Lambda)R = 0.04 W/mK) and tear-proof
PE foil (colour: red). Can be used in
accordance with EnEV 2009 (appendix 5,
table 1, lines 5 and 6) and DIN 1988-200
(table 8, nos. 2 and 6).
Dimension: 25 - 13 mm insulation
Bestell-Nr.: 731925
TECEflex multi-layer composite pipe
PE-Xc/Al/PE-RT To DIN EN ISO 21003.
Suitable for potable water, heating and
compressed air installations.
Dimension: 14 - Roll
Bestell-Nr.: 732014
TECEflex multi-layer composite pipe
PE-Xc/Al/PE-RT To DIN EN ISO 21003.
Suitable for potable water, heating and
compressed air installations.
Dimension: 16 - Roll
Bestell-Nr.: 732016
TECEflex multi-layer composite pipe
PE-Xc/Al/PE-RT To DIN EN ISO 21003.
Suitable for potable water, heating and
compressed air installations.
Dimension: 20 - Roll
Bestell-Nr.: 732020
TECEflex multi-layer composite pipe
PE-Xc/Al/PE-RT To DIN EN ISO 21003.
Suitable for potable water, heating and
compressed air installations.
Dimension: 25 - Roll
Bestell-Nr.: 732025
TECEflex multi-layer composite pipe
PE-Xc/Al/PE-RT To DIN EN ISO 21003.
Suitable for potable water, heating and
compressed air installations.
Dimension: 32 - Roll
Bestell-Nr.: 732032
TECEflex multi-layer composite pipe
PE-Xc/Al/PE-RT To DIN EN ISO 21003.
Suitable for potable water, heating and
compressed air installations.
Dimension: 16 - Rod
Bestell-Nr.: 732216
TECEflex multi-layer composite pipe
PE-Xc/Al/PE-RT To DIN EN ISO 21003.
Suitable for potable water, heating and
compressed air installations.
Dimension: 20 - Rod
Bestell-Nr.: 732220
TECEflex multi-layer composite pipe
PE-Xc/Al/PE-RT To DIN EN ISO 21003.
Suitable for potable water, heating and
compressed air installations.
Dimension: 25 - Rod
Bestell-Nr.: 732225
TECEflex multi-layer composite pipe
PE-Xc/Al/PE-RT To DIN EN ISO 21003.
Suitable for potable water, heating and
compressed air installations.
Dimension: 32 - Rod
Bestell-Nr.: 732232
TECEflex multi-layer composite pipe
PE-Xc/Al/PE-RT To DIN EN ISO 21003.
Suitable for potable water, heating and
compressed air installations.
Dimension: 40 - Rod
Bestell-Nr.: 732240
TECEflex multi-layer composite pipe
PE-Xc/Al/PE-RT To DIN EN ISO 21003.
Suitable for potable water, heating and
compressed air installations.
Dimension: 50 - Rod
Bestell-Nr.: 732250
TECEflex multi-layer composite pipe
PE-Xc/Al/PE-RT To DIN EN ISO 21003.
Suitable for potable water, heating and
compressed air installations.
Dimension: 63 - Rod
Bestell-Nr.: 732263
TECEflex multi-layer composite pipe
PE-Xc/Al/PE-RT, yellow Suitable for
indoor gas installations for gases of
the second family in keeping with DVGW
Work Sheet G 260 (natural gas, no
liquefied gas). The regulations in
accordance with DVGW Work Sheet G 600
and TRGI 2008 shall apply for the
installation.
Dimension: 16 - Roll
Bestell-Nr.: 732316
TECEflex multi-layer composite pipe
PE-Xc/Al/PE-RT, yellow Suitable for
indoor gas installations for gases of
the second family in keeping with DVGW
Work Sheet G 260 (natural gas, no
liquefied gas). The regulations in
accordance with DVGW Work Sheet G 600
and TRGI 2008 shall apply for the
installation.
Dimension: 20 - Roll
Bestell-Nr.: 732320
TECEflex multi-layer composite pipe
PE-Xc/Al/PE-RT, yellow Suitable for
indoor gas installations for gases of
the second family in keeping with DVGW
Work Sheet G 260 (natural gas, no
liquefied gas). The regulations in
accordance with DVGW Work Sheet G 600
and TRGI 2008 shall apply for the
installation.
Dimension: 25 - Roll
Bestell-Nr.: 732325
TECEflex multi-layer composite pipe
PE-Xc/Al/PE-RT, yellow Suitable for
indoor gas installations for gases of
the second family in keeping with DVGW
Work Sheet G 260 (natural gas, no
liquefied gas). The regulations in
accordance with DVGW Work Sheet G 600
and TRGI 2008 shall apply for the
installation.
Dimension: 16 - Roll
Bestell-Nr.: 732330
TECEflex multi-layer composite pipe
PE-Xc/Al/PE-RT, yellow Suitable for
indoor gas installations for gases of
the second family in keeping with DVGW
Work Sheet G 260 (natural gas, no
liquefied gas). The regulations in
accordance with DVGW Work Sheet G 600
and TRGI 2008 shall apply for the
installation.
Dimension: 20 - Roll
Bestell-Nr.: 732331
TECEflex multi-layer composite pipe
PE-Xc/Al/PE-RT, yellow Suitable for
indoor gas installations for gases of
the second family in keeping with DVGW
Work Sheet G 260 (natural gas, no
liquefied gas). The regulations in
accordance with DVGW Work Sheet G 600
and TRGI 2008 shall apply for the
installation.
Dimension: 25 - Roll
Bestell-Nr.: 732332
TECEflex multi-layer composite pipe
PE-Xc/Al/PE-RT, yellow Suitable for
indoor gas installations for gases of
the second family in keeping with DVGW
Work Sheet G 260 (natural gas, no
liquefied gas). The regulations in
accordance with DVGW Work Sheet G 600
and TRGI 2008 shall apply for the
installation.
Dimension: 16 - Rod
Bestell-Nr.: 732416
TECEflex multi-layer composite pipe
PE-Xc/Al/PE-RT, yellow Suitable for
indoor gas installations for gases of
the second family in keeping with DVGW
Work Sheet G 260 (natural gas, no
liquefied gas). The regulations in
accordance with DVGW Work Sheet G 600
and TRGI 2008 shall apply for the
installation.
Dimension: 20 - Rod
Bestell-Nr.: 732420
TECEflex multi-layer composite pipe
PE-Xc/Al/PE-RT, yellow Suitable for
indoor gas installations for gases of
the second family in keeping with DVGW
Work Sheet G 260 (natural gas, no
liquefied gas). The regulations in
accordance with DVGW Work Sheet G 600
and TRGI 2008 shall apply for the
installation.
Dimension: 25 - Rod
Bestell-Nr.: 732425
TECEflex multi-layer composite pipe
PE-Xc/Al/PE-RT, yellow Suitable for
indoor gas installations for gases of
the second family in keeping with DVGW
Work Sheet G 260 (natural gas, no
liquefied gas). The regulations in
accordance with DVGW Work Sheet G 600
and TRGI 2008 shall apply for the
installation.
Dimension: 32 - Rod
Bestell-Nr.: 732432
TECEflex multi-layer composite pipe
PE-Xc/Al/PE-RT, yellow Suitable for
indoor gas installations for gases of
the second family in keeping with DVGW
Work Sheet G 260 (natural gas, no
liquefied gas). The regulations in
accordance with DVGW Work Sheet G 600
and TRGI 2008 shall apply for the
installation.
Dimension: 40 - Rod
Bestell-Nr.: 732440
TECEflex multi-layer composite pipe
PE-Xc/Al/PE-RT, yellow Suitable for
indoor gas installations for gases of
the second family in keeping with DVGW
Work Sheet G 260 (natural gas, no
liquefied gas). The regulations in
accordance with DVGW Work Sheet G 600
and TRGI 2008 shall apply for the
installation.
Dimension: 50 - Rod
Bestell-Nr.: 732450
TECEflex multi-layer composite pipe
PE-Xc/Al/PE-RT, yellow Suitable for
indoor gas installations for gases of
the second family in keeping with DVGW
Work Sheet G 260 (natural gas, no
liquefied gas). The regulations in
accordance with DVGW Work Sheet G 600
and TRGI 2008 shall apply for the
installation.
Dimension: 63 - Rod
Bestell-Nr.: 732463
TECEflex pressure sleeve for multi-layer
composite pipe Gold-coloured pressure
sleeve for multi-layer composite pipe
for press-connections with TECEflex
PE-Xc/Al/PE-RT multi-layer composite
pipes.
Dimension: 14
Bestell-Nr.: 734514
TECEflex pressure sleeve for multi-layer
composite pipe Gold-coloured pressure
sleeve for multi-layer composite pipe
for press-connections with TECEflex
PE-Xc/Al/PE-RT multi-layer composite
pipes.
Dimension: 16
Bestell-Nr.: 734516
TECEflex pressure sleeve for multi-layer
composite pipe Gold-coloured pressure
sleeve for multi-layer composite pipe
for press-connections with TECEflex
PE-Xc/Al/PE-RT multi-layer composite
pipes.
Dimension: 20
Bestell-Nr.: 734520
TECEflex pressure sleeve for multi-layer
composite pipe Gold-coloured pressure
sleeve for multi-layer composite pipe
for press-connections with TECEflex
PE-Xc/Al/PE-RT multi-layer composite
pipes.
Dimension: 25
Bestell-Nr.: 734525
TECEflex pressure sleeve for multi-layer
composite pipe Gold-coloured pressure
sleeve for multi-layer composite pipe
for press-connections with TECEflex
PE-Xc/Al/PE-RT multi-layer composite
pipes.
Dimension: 32
Bestell-Nr.: 734532
TECEflex pressure sleeve for multi-layer
composite pipe Gold-coloured pressure
sleeve for multi-layer composite pipe
for press-connections with TECEflex
PE-Xc/Al/PE-RT multi-layer composite
pipes.
Dimension: 40
Bestell-Nr.: 734540
TECEflex pressure sleeve for multi-layer
composite pipe Gold-coloured pressure
sleeve for multi-layer composite pipe
for press-connections with TECEflex
PE-Xc/Al/PE-RT multi-layer composite
pipes.
Dimension: 50
Bestell-Nr.: 734550
TECEflex pressure sleeve for multi-layer
composite pipe Gold-coloured pressure
sleeve for multi-layer composite pipe
for press-connections with TECEflex
PE-Xc/Al/PE-RT multi-layer composite
pipes.
Dimension: 63
Bestell-Nr.: 734563
TECEflex male connector made of
stainless steel 1.4401
Dimension: 16 x R 1/2”
Bestell-Nr.: 735575
TECEflex male connector made of
stainless steel 1.4401
Dimension: 20 x R 3/4”
Bestell-Nr.: 735578
TECEflex male connector made of
stainless steel 1.4401
Dimension: 25 x R 1”
Bestell-Nr.: 735580
TECEflex coupling PPSU Coupling made of
high-performance plastic PPSU, for
O-ring free pressure sleeve connection
of TECEflex composite pipe or PE-X pipe
of the same dimension. (without TECEflex
pressure sleeves)
Material: PPSU
Dimension: 16 x 16
Bestell-Nr.: 736016
TECEflex coupling PPSU Coupling made of
high-performance plastic PPSU, for
O-ring free pressure sleeve connection
of TECEflex composite pipe or PE-X pipe
of the same dimension. (without TECEflex
pressure sleeves)
Material: PPSU
Dimension: 20 x 20
Bestell-Nr.: 736020
TECEflex coupling PPSU Coupling made of
high-performance plastic PPSU, for
O-ring free pressure sleeve connection
of TECEflex composite pipe or PE-X pipe
of the same dimension. (without TECEflex
pressure sleeves)
Material: PPSU
Dimension: 25 x 25
Bestell-Nr.: 736025
TECEflex coupling PPSU Coupling made of
high-performance plastic PPSU, for
O-ring free pressure sleeve connection
of TECEflex composite pipe or PE-X pipe
of the same dimension. (without TECEflex
pressure sleeves)
Material: PPSU
Dimension: 32 x 32
Bestell-Nr.: 736032
TECEflex coupling PPSU Coupling made of
high-performance plastic PPSU, for
O-ring free pressure sleeve connection
of TECEflex composite pipe or PE-X pipe
of the same dimension. (without TECEflex
pressure sleeves)
Material: PPSU
Dimension: 40 x 40
Bestell-Nr.: 736040
TECEflex coupling reduced PPSU Coupling
reduced made of high-performance plastic
PPSU for O-ring free pressure sleeve
connection of TECEflex composite pipe or
PE-X pipe of different dimensions.
(without TECEflex pressure sleeves)
Material: PPSU
Dimension: 20 x 16
Bestell-Nr.: 736503
TECEflex coupling reduced PPSU Coupling
reduced made of high-performance plastic
PPSU for O-ring free pressure sleeve
connection of TECEflex composite pipe or
PE-X pipe of different dimensions.
(without TECEflex pressure sleeves)
Material: PPSU
Dimension: 25 x 16
Bestell-Nr.: 736504
TECEflex coupling reduced PPSU Coupling
reduced made of high-performance plastic
PPSU for O-ring free pressure sleeve
connection of TECEflex composite pipe or
PE-X pipe of different dimensions.
(without TECEflex pressure sleeves)
Material: PPSU
Dimension: 25 x 20
Bestell-Nr.: 736505
TECEflex coupling reduced PPSU Coupling
reduced made of high-performance plastic
PPSU for O-ring free pressure sleeve
connection of TECEflex composite pipe or
PE-X pipe of different dimensions.
(without TECEflex pressure sleeves)
Material: PPSU
Dimension: 32 x 20
Bestell-Nr.: 736506
TECEflex coupling reduced PPSU Coupling
reduced made of high-performance plastic
PPSU for O-ring free pressure sleeve
connection of TECEflex composite pipe or
PE-X pipe of different dimensions.
(without TECEflex pressure sleeves)
Material: PPSU
Dimension: 32 x 25
Bestell-Nr.: 736507
TECEflex coupling reduced PPSU Coupling
reduced made of high-performance plastic
PPSU for O-ring free pressure sleeve
connection of TECEflex composite pipe or
PE-X pipe of different dimensions.
(without TECEflex pressure sleeves)
Material: PPSU
Dimension: 40 x 32
Bestell-Nr.: 736508
TECEflex 90Grad elbow PPSU 90Grad 
elbow made of high-performance plastic
PPSU for O-ring free pressure sleeve
connection of TECEflex composite pipe or
PE-X pipe of the same dimension.
(without TECEflex pressure sleeves)
Material: PPSU
Dimension: 16 x 16
Bestell-Nr.: 737016
TECEflex 90Grad elbow PPSU 90Grad 
elbow made of high-performance plastic
PPSU for O-ring free pressure sleeve
connection of TECEflex composite pipe or
PE-X pipe of the same dimension.
(without TECEflex pressure sleeves)
Material: PPSU
Dimension: 20 x 20
Bestell-Nr.: 737020
TECEflex 90Grad elbow PPSU 90Grad 
elbow made of high-performance plastic
PPSU for O-ring free pressure sleeve
connection of TECEflex composite pipe or
PE-X pipe of the same dimension.
(without TECEflex pressure sleeves)
Material: PPSU
Dimension: 25 x 25
Bestell-Nr.: 737025
TECEflex 90Grad elbow PPSU 90Grad 
elbow made of high-performance plastic
PPSU for O-ring free pressure sleeve
connection of TECEflex composite pipe or
PE-X pipe of the same dimension.
(without TECEflex pressure sleeves)
Material: PPSU
Dimension: 32 x 32
Bestell-Nr.: 737032
TECEflex 90Grad elbow PPSU 90Grad 
elbow made of high-performance plastic
PPSU for O-ring free pressure sleeve
connection of TECEflex composite pipe or
PE-X pipe of the same dimension.
(without TECEflex pressure sleeves)
Material: PPSU
Dimension: 40 x 40
Bestell-Nr.: 737040
TECEflex gas safety fitting, can be
installed vertically upward or
horizontally Gas safety fitting,
combines a thermal shut-off unit (TAE)
with a type K gas flow detector in a
metal housing. The fitting can be
installed horizontally and vertically
upright. Installation facing downward is
not permitted. The safety has been
tested in keeping with DVGW VP 305-1.
One side with a parallel male thread to
DIN EN 10226-1 and on the other side
with a TECEflex connection.
Dimension: GFG 2.5 / TAE /20 x R 1”
Bestell-Nr.: 750202
TECEflex gas safety fitting, can be
installed vertically upward or
horizontally Gas safety fitting,
combines a thermal shut-off unit (TAE)
with a type K gas flow detector in a
metal housing. The fitting can be
installed horizontally and vertically
upright. Installation facing downward is
not permitted. The safety has been
tested in keeping with DVGW VP 305-1.
One side with a parallel male thread to
DIN EN 10226-1 and on the other side
with a TECEflex connection.
Dimension: GFG 2.5 / TAE /25 x R 1”
Bestell-Nr.: 750204
TECEflex gas safety fitting, can be
installed vertically upward or
horizontally Gas safety fitting,
combines a thermal shut-off unit (TAE)
with a type K gas flow detector in a
metal housing. The fitting can be
installed horizontally and vertically
upright. Installation facing downward is
not permitted. The safety has been
tested in keeping with DVGW VP 305-1.
One side with a parallel male thread to
DIN EN 10226-1 and on the other side
with a TECEflex connection.
Dimension: GFG 4 / TAE /25 x R 1”
Bestell-Nr.: 750206
TECEflex gas safety fitting, can be
installed vertically upward or
horizontally Gas safety fitting,
combines a thermal shut-off unit (TAE)
with a type K gas flow detector in a
metal housing. The fitting can be
installed horizontally and vertically
upright. Installation facing downward is
not permitted. The safety has been
tested in keeping with DVGW VP 305-1.
One side with a parallel male thread to
DIN EN 10226-1 and on the other side
with a TECEflex connection.
Dimension: GFG 4 / TAE /32 x R 1”
Bestell-Nr.: 750208
TECEflex gas safety fitting, can be
installed vertically upward or
horizontally Gas safety fitting,
combines a thermal shut-off unit (TAE)
with a type K gas flow detector in a
metal housing. The fitting can be
installed horizontally and vertically
upright. Installation facing downward is
not permitted. The safety has been
tested in keeping with DVGW VP 305-1.
One side with a parallel male thread to
DIN EN 10226-1 and on the other side
with a TECEflex connection.
Dimension: GFG 6 / TAE /32 x R 1”
Bestell-Nr.: 750210
TECEflex UP ball valve with handwheel
Concealed ball valve for shutting off
TECEflex pipes. Body and screw-in part
made of brass in accordance with DIN EN
12164. Spindle with 2 O-rings, providing
better guiding of the spindle and double
safety. Ball made of chrome-plated
brass. Ball seal made of PTFE. Full
penetration, therefore minimum loss of
pressure.Max. Permanent operating
pressure: 90 Grad C. Pressure rating: 10
barDesign:„„TECEflex connection on both
sidesWith covering anchor plate and
handle (chrome-plated)With colour coding
(red/blue)
Dimension: 16 x 16
Bestell-Nr.: 751016
TECEflex UP ball valve with handwheel
Concealed ball valve for shutting off
TECEflex pipes. Body and screw-in part
made of brass in accordance with DIN EN
12164. Spindle with 2 O-rings, providing
better guiding of the spindle and double
safety. Ball made of chrome-plated
brass. Ball seal made of PTFE. Full
penetration, therefore minimum loss of
pressure.Max. Permanent operating
pressure: 90 Grad C. Pressure rating: 10
barDesign:„„TECEflex connection on both
sidesWith covering anchor plate and
handle (chrome-plated)With colour coding
(red/blue)
Dimension: 20 x 20
Bestell-Nr.: 751020
TECEflex UP ball valve with dummy cap
Concealed ball valve for shutting off
TECEflex pipes. Body and screw-in part
made of brass in accordance with DIN EN
12164. Spindle with 2 O-rings, providing
better guiding of the spindle and double
safety. Ball made of chrome-plated brass
Ball seal made of PTFE. Full
penetration, therefore minimum loss of
pressure.Max. Permanent operating
pressure: 90 Grad C. Pressure rating: 10
barDesign:„„TECEflex connection on both
sidesCovering anchor plate and dummy cap
(chrome-plated)Key for shut-offColour
coding (red/blue)
Dimension: 16 x 16
Bestell-Nr.: 751116
TECEflex UP ball valve with dummy cap
Concealed ball valve for shutting off
TECEflex pipes. Body and screw-in part
made of brass in accordance with DIN EN
12164. Spindle with 2 O-rings, providing
better guiding of the spindle and double
safety. Ball made of chrome-plated brass
Ball seal made of PTFE. Full
penetration, therefore minimum loss of
pressure.Max. Permanent operating
pressure: 90 Grad C. Pressure rating: 10
barDesign:„„TECEflex connection on both
sidesCovering anchor plate and dummy cap
(chrome-plated)Key for shut-offColour
coding (red/blue)
Dimension: 20 x 20
Bestell-Nr.: 751120
TECEflex multi-layer composite pipe
PE-Xc/AI/PE-RT, yellow, in yellow
corrugated sheath pipe Suitable for
indoor gas installations for gases of
the second family (natural gas) in
keeping with DVGW Work Sheet G 260
(natural gas, no liquefied gas). The
regulations in accordance with DVGW Work
Sheet G 600 and TRGI 2008 shall apply
for the installation.
Dimension: 16 - Roll
Bestell-Nr.: 782016
TECEflex multi-layer composite pipe
PE-Xc/AI/PE-RT, yellow, in yellow
corrugated sheath pipe Suitable for
indoor gas installations for gases of
the second family (natural gas) in
keeping with DVGW Work Sheet G 260
(natural gas, no liquefied gas). The
regulations in accordance with DVGW Work
Sheet G 600 and TRGI 2008 shall apply
for the installation.
Dimension: 20 - Roll
Bestell-Nr.: 782020
TECEflex multi-layer composite pipe
PE-Xc/AI/PE-RT, yellow, in yellow
corrugated sheath pipe Suitable for
indoor gas installations for gases of
the second family (natural gas) in
keeping with DVGW Work Sheet G 260
(natural gas, no liquefied gas). The
regulations in accordance with DVGW Work
Sheet G 600 and TRGI 2008 shall apply
for the installation.
Dimension: 25 - Roll
Bestell-Nr.: 782025
TECEflex multi-layer composite pipe
PE-Xc/Al/PE-RT, yellow Suitable for
indoor gas installations for gases of
the second family in keeping with DVGW
Work Sheet G 260 (natural gas, no
liquefied gas). The regulations in
accordance with DVGW Work Sheet G 600
and TRGI 2008 shall apply for the
installation.
Dimension: 32 - Roll
Bestell-Nr.: 782032
TECEflex corrugated sheath pipe, yellow
for 32 mm TECEflex multi-layer composite
pipe Yellow corrugated sheath pipe 32 mm
for yellow TECEflex multi-layer
composite pipe.
Dimension: 32 - Roll
Bestell-Nr.: 782033
TECEflex multi-layer composite pipe
PE-Xc/Al/PE-RT in corrugated protective
pipe, red To DIN EN ISO 21003. Suitable
for potable water, heating and
compressed air installations.
Dimension: 16 - Roll
Bestell-Nr.: 782103
TECEflex multi-layer composite pipe
PE-Xc/Al/PE-RT in corrugated protective
pipe, blue To DIN EN ISO 21003. Suitable
for potable water, heating and
compressed air installations.
Dimension: 16 - Roll
Bestell-Nr.: 782104
TECEflex multi-layer composite pipe
PE-Xc/Al/PE-RT in corrugated protective
pipe, red To DIN EN ISO 21003. Suitable
for potable water, heating and
compressed air installations.
Dimension: 20 - Roll
Bestell-Nr.: 782105
TECEflex multi-layer composite pipe
PE-Xc/Al/PE-RT in corrugated protective
pipe, blue To DIN EN ISO 21003. Suitable
for potable water, heating and
compressed air installations.
Dimension: 20 - Roll
Bestell-Nr.: 782106
TECEflex pipe clip made of polyamide,
white One-piece pipe clip made of white
polyamide. Pipe clip closes when pipe is
pressed in. Thanks to patented lateral
guides, two or more clips can be joined
together.
Dimension: 14
Bestell-Nr.: 785036
TECEflex pipe clip made of polyamide,
white One-piece pipe clip made of white
polyamide. Pipe clip closes when pipe is
pressed in. Thanks to patented lateral
guides, two or more clips can be joined
together.
Dimension: 16
Bestell-Nr.: 785037
TECEflex pipe clip made of polyamide,
white One-piece pipe clip made of white
polyamide. Pipe clip closes when pipe is
pressed in. Thanks to patented lateral
guides, two or more clips can be joined
together.
Dimension: 20
Bestell-Nr.: 785038
TECEflex pipe clip made of polyamide,
white One-piece pipe clip made of white
polyamide. Pipe clip closes when pipe is
pressed in. Thanks to patented lateral
guides, two or more clips can be joined
together.
Dimension: 25
Bestell-Nr.: 785039
TECEflex pipe clip made of polyamide,
white One-piece pipe clip made of white
polyamide. Pipe clip closes when pipe is
pressed in. Thanks to patented lateral
guides, two or more clips can be joined
together.
Dimension: 32
Bestell-Nr.: 785040
TECEflex pipe clip made of polyamide,
white One-piece pipe clip made of white
polyamide. Pipe clip closes when pipe is
pressed in. Thanks to patented lateral
guides, two or more clips can be joined
together.
Dimension: 40
Bestell-Nr.: 785041
TECE universal mainfold, with shut-off
TECE manifold, valve with shut-off 3/4”
FT/MT, outlet 3/4” Eurocone
Material: Brass
Dimension: 3/4” x 3/4” EC Two-way
Bestell-Nr.: 8730006
TECE universal mainfold, with shut-off
TECE manifold, valve with shut-off 3/4”
FT/MT, outlet 3/4” Eurocone
Material: Brass
Dimension: 3/4” x 3/4” EC Three-way
Bestell-Nr.: 8730007
TECE thermostat head Thermostat head M
30 x 1.5, setting range 1-5 (equivalent
to 7-28 Grad C).
Bestell-Nr.: 8740430
TECE thermostat valve body, through type
Thermostat valve body, through type,
preconfigurable.
Dimension: R 1/2” x Rp 1/2”
Bestell-Nr.: 8740431
TECE thermostat valve body, corner type
Thermostat valve body, corner type,
preconfigurable.
Dimension: R 1/2” x Rp 1/2”
Bestell-Nr.: 8740432
TECE radiator return screw connection,
through type Radiator return screw
connection, through version.
Dimension: R 1/2” x Rp 1/2”
Bestell-Nr.: 8740433
TECE radiator return screw connection,
corner type Radiator return screw
connection, corner version.
Dimension: R 1/2” x Rp 1/2”
Bestell-Nr.: 8740434
TECE two-pipe valve block for HC,
through type Two-pipe valve block for
radiator, through type witlh 3/4”
Eurocone.
Dimension: 3/4” x 3/4”
Bestell-Nr.: 8740435
TECE two-pipe valve block for HC, corner
type Two-pipe valve block for radiator,
corner type with 3/4” Eurocone.
Dimension: 3/4” x 3/4”
Bestell-Nr.: 8740436
TECE two-pipe valve block for HC 1/2”
FT, through type Two-pipe valve block
for radiator, through type with 1/2”
female thread and 3/4” Eurocone.
Dimension: 3/4” EC x 1/2” AG
Bestell-Nr.: 8740437
TECE two-pipe valve block for HC 1/2”
FT, corner type Two-pipe valve block for
radiator, corner type with 1/2” female
thread and 3/4” Eurocone.
Dimension: 3/4” EC x 1/2” AG
Bestell-Nr.: 8740438
TECE EK Eurocone clamped joint for
copper pipes EC clamped joint for copper
pipes 15 x 1 mm, with nickel-plated 3/4”
union nut and Eurocone.
Dimension: 3/4” for copper pipe 15 x 1
Bestell-Nr.: 8740439
TECE pipe cutter
Dimension: 14-63
Bestell-Nr.: 8760008
TECE UP extension Concealed extension 23
mm for concealed ball valves 1/2”.
Dimension: 1/2”
Bestell-Nr.: 8780200
TECElogo
TECE stainless steel heating circuit
manifold without flow rate indicator
Stainless steel radiator distribution
manifold made of stainless-steel
rectangular hollow section 40 x 1.5 mm,
(grade 1.4301) in accordance with DIN EN
10088, G 1” union nut on primary side,
flat sealing, nickel-plated brass,
distance to heating circuit 50 mm.Fully
pre-assembled feed and return
with:Manifold bar with integrated
control valves and black protective
caps, in accordance with DIN EN 1264-4,
outgoing side with pipe connectors on G
3/4” male thread, inside cone in
accordance with DIN EN 16313,
nickel-plated brass2 blanking plugs G
3/4”, nickel-coated brassPackaged in a
sturdy carton including:2 dual wall
brackets 200 x 54.4 x 34.5 with
structure-borne sound insulation inserts
(DIN 4109) incl. mounting material (1
dual wall bracket for manifold with 2
heating circuits)2 flat seals 1”
Version: 2 heating circuits
Bestell-Nr.: 712540
TECE stainless steel heating circuit
manifold without flow rate indicator
Stainless steel radiator distribution
manifold made of stainless-steel
rectangular hollow section 40 x 1.5 mm,
(grade 1.4301) in accordance with DIN EN
10088, G 1” union nut on primary side,
flat sealing, nickel-plated brass,
distance to heating circuit 50 mm.Fully
pre-assembled feed and return
with:Manifold bar with integrated
control valves and black protective
caps, in accordance with DIN EN 1264-4,
outgoing side with pipe connectors on G
3/4” male thread, inside cone in
accordance with DIN EN 16313,
nickel-plated brass2 blanking plugs G
3/4”, nickel-coated brassPackaged in a
sturdy carton including:2 dual wall
brackets 200 x 54.4 x 34.5 with
structure-borne sound insulation inserts
(DIN 4109) incl. mounting material (1
dual wall bracket for manifold with 2
heating circuits)2 flat seals 1”
Version: 3 heating circuits
Bestell-Nr.: 712541
TECE stainless steel heating circuit
manifold without flow rate indicator
Stainless steel radiator distribution
manifold made of stainless-steel
rectangular hollow section 40 x 1.5 mm,
(grade 1.4301) in accordance with DIN EN
10088, G 1” union nut on primary side,
flat sealing, nickel-plated brass,
distance to heating circuit 50 mm.Fully
pre-assembled feed and return
with:Manifold bar with integrated
control valves and black protective
caps, in accordance with DIN EN 1264-4,
outgoing side with pipe connectors on G
3/4” male thread, inside cone in
accordance with DIN EN 16313,
nickel-plated brass2 blanking plugs G
3/4”, nickel-coated brassPackaged in a
sturdy carton including:2 dual wall
brackets 200 x 54.4 x 34.5 with
structure-borne sound insulation inserts
(DIN 4109) incl. mounting material (1
dual wall bracket for manifold with 2
heating circuits)2 flat seals 1”
Version: 4 heating circuits
Bestell-Nr.: 712542
TECE stainless steel heating circuit
manifold without flow rate indicator
Stainless steel radiator distribution
manifold made of stainless-steel
rectangular hollow section 40 x 1.5 mm,
(grade 1.4301) in accordance with DIN EN
10088, G 1” union nut on primary side,
flat sealing, nickel-plated brass,
distance to heating circuit 50 mm.Fully
pre-assembled feed and return
with:Manifold bar with integrated
control valves and black protective
caps, in accordance with DIN EN 1264-4,
outgoing side with pipe connectors on G
3/4” male thread, inside cone in
accordance with DIN EN 16313,
nickel-plated brass2 blanking plugs G
3/4”, nickel-coated brassPackaged in a
sturdy carton including:2 dual wall
brackets 200 x 54.4 x 34.5 with
structure-borne sound insulation inserts
(DIN 4109) incl. mounting material (1
dual wall bracket for manifold with 2
heating circuits)2 flat seals 1”
Version: 5 heating circuits
Bestell-Nr.: 712543
TECE stainless steel heating circuit
manifold without flow rate indicator
Stainless steel radiator distribution
manifold made of stainless-steel
rectangular hollow section 40 x 1.5 mm,
(grade 1.4301) in accordance with DIN EN
10088, G 1” union nut on primary side,
flat sealing, nickel-plated brass,
distance to heating circuit 50 mm.Fully
pre-assembled feed and return
with:Manifold bar with integrated
control valves and black protective
caps, in accordance with DIN EN 1264-4,
outgoing side with pipe connectors on G
3/4” male thread, inside cone in
accordance with DIN EN 16313,
nickel-plated brass2 blanking plugs G
3/4”, nickel-coated brassPackaged in a
sturdy carton including:2 dual wall
brackets 200 x 54.4 x 34.5 with
structure-borne sound insulation inserts
(DIN 4109) incl. mounting material (1
dual wall bracket for manifold with 2
heating circuits)2 flat seals 1”
Version: 6 heating circuits
Bestell-Nr.: 712544
TECE stainless steel heating circuit
manifold without flow rate indicator
Stainless steel radiator distribution
manifold made of stainless-steel
rectangular hollow section 40 x 1.5 mm,
(grade 1.4301) in accordance with DIN EN
10088, G 1” union nut on primary side,
flat sealing, nickel-plated brass,
distance to heating circuit 50 mm.Fully
pre-assembled feed and return
with:Manifold bar with integrated
control valves and black protective
caps, in accordance with DIN EN 1264-4,
outgoing side with pipe connectors on G
3/4” male thread, inside cone in
accordance with DIN EN 16313,
nickel-plated brass2 blanking plugs G
3/4”, nickel-coated brassPackaged in a
sturdy carton including:2 dual wall
brackets 200 x 54.4 x 34.5 with
structure-borne sound insulation inserts
(DIN 4109) incl. mounting material (1
dual wall bracket for manifold with 2
heating circuits)2 flat seals 1”
Version: 7 heating circuits
Bestell-Nr.: 712545
TECE stainless steel heating circuit
manifold without flow rate indicator
Stainless steel radiator distribution
manifold made of stainless-steel
rectangular hollow section 40 x 1.5 mm,
(grade 1.4301) in accordance with DIN EN
10088, G 1” union nut on primary side,
flat sealing, nickel-plated brass,
distance to heating circuit 50 mm.Fully
pre-assembled feed and return
with:Manifold bar with integrated
control valves and black protective
caps, in accordance with DIN EN 1264-4,
outgoing side with pipe connectors on G
3/4” male thread, inside cone in
accordance with DIN EN 16313,
nickel-plated brass2 blanking plugs G
3/4”, nickel-coated brassPackaged in a
sturdy carton including:2 dual wall
brackets 200 x 54.4 x 34.5 with
structure-borne sound insulation inserts
(DIN 4109) incl. mounting material (1
dual wall bracket for manifold with 2
heating circuits)2 flat seals 1”
Version: 8 heating circuits
Bestell-Nr.: 712546
TECE stainless steel heating circuit
manifold without flow rate indicator
Stainless steel radiator distribution
manifold made of stainless-steel
rectangular hollow section 40 x 1.5 mm,
(grade 1.4301) in accordance with DIN EN
10088, G 1” union nut on primary side,
flat sealing, nickel-plated brass,
distance to heating circuit 50 mm.Fully
pre-assembled feed and return
with:Manifold bar with integrated
control valves and black protective
caps, in accordance with DIN EN 1264-4,
outgoing side with pipe connectors on G
3/4” male thread, inside cone in
accordance with DIN EN 16313,
nickel-plated brass2 blanking plugs G
3/4”, nickel-coated brassPackaged in a
sturdy carton including:2 dual wall
brackets 200 x 54.4 x 34.5 with
structure-borne sound insulation inserts
(DIN 4109) incl. mounting material (1
dual wall bracket for manifold with 2
heating circuits)2 flat seals 1”
Version: 9 heating circuits
Bestell-Nr.: 712547
TECE stainless steel heating circuit
manifold without flow rate indicator
Stainless steel radiator distribution
manifold made of stainless-steel
rectangular hollow section 40 x 1.5 mm,
(grade 1.4301) in accordance with DIN EN
10088, G 1” union nut on primary side,
flat sealing, nickel-plated brass,
distance to heating circuit 50 mm.Fully
pre-assembled feed and return
with:Manifold bar with integrated
control valves and black protective
caps, in accordance with DIN EN 1264-4,
outgoing side with pipe connectors on G
3/4” male thread, inside cone in
accordance with DIN EN 16313,
nickel-plated brass2 blanking plugs G
3/4”, nickel-coated brassPackaged in a
sturdy carton including:2 dual wall
brackets 200 x 54.4 x 34.5 with
structure-borne sound insulation inserts
(DIN 4109) incl. mounting material (1
dual wall bracket for manifold with 2
heating circuits)2 flat seals 1”
Version: 10 heating circuits
Bestell-Nr.: 712548
TECE stainless steel heating circuit
manifold without flow rate indicator
Stainless steel radiator distribution
manifold made of stainless-steel
rectangular hollow section 40 x 1.5 mm,
(grade 1.4301) in accordance with DIN EN
10088, G 1” union nut on primary side,
flat sealing, nickel-plated brass,
distance to heating circuit 50 mm.Fully
pre-assembled feed and return
with:Manifold bar with integrated
control valves and black protective
caps, in accordance with DIN EN 1264-4,
outgoing side with pipe connectors on G
3/4” male thread, inside cone in
accordance with DIN EN 16313,
nickel-plated brass2 blanking plugs G
3/4”, nickel-coated brassPackaged in a
sturdy carton including:2 dual wall
brackets 200 x 54.4 x 34.5 with
structure-borne sound insulation inserts
(DIN 4109) incl. mounting material (1
dual wall bracket for manifold with 2
heating circuits)2 flat seals 1”
Version: 11 heating circuits
Bestell-Nr.: 712549
TECE stainless steel heating circuit
manifold without flow rate indicator
Stainless steel radiator distribution
manifold made of stainless-steel
rectangular hollow section 40 x 1.5 mm,
(grade 1.4301) in accordance with DIN EN
10088, G 1” union nut on primary side,
flat sealing, nickel-plated brass,
distance to heating circuit 50 mm.Fully
pre-assembled feed and return
with:Manifold bar with integrated
control valves and black protective
caps, in accordance with DIN EN 1264-4,
outgoing side with pipe connectors on G
3/4” male thread, inside cone in
accordance with DIN EN 16313,
nickel-plated brass2 blanking plugs G
3/4”, nickel-coated brassPackaged in a
sturdy carton including:2 dual wall
brackets 200 x 54.4 x 34.5 with
structure-borne sound insulation inserts
(DIN 4109) incl. mounting material (1
dual wall bracket for manifold with 2
heating circuits)2 flat seals 1”
Version: 12 heating circuits
Bestell-Nr.: 712550
TECE stainless steel heating circuit
manifold without flow rate indicator and
control valves Stainless steel radiator
distribution manifold made of
stainless-steel rectangular hollow
section 40 x 1.5 mm (grade 1.4301) to
DIN EN 10088, with G 1” union nut on
primary side, flat sealing, nickel
plated brass, distance to heating
circuit 50 mm.Fully pre-assembled feed
and return with:Manifold bar with pipe
connectors on G 3/4” male thread, inside
cone to DIN EN 16313, nickel-plated
brass2 blanking plugs G 3/4”,
nickel-plated brass4 blanking plugs G
1/2”, nickel-plated brassPackaged in a
sturdy carton including:2 dual wall
brackets 200 x 54.4 x 34.5 with
structure-borne sound insulation inserts
(DIN 4109) incl. mounting material (1
dual wall bracket for distributor with 2
heating circuits)2 flat seals 1”
Version: 2 heating circuits
Bestell-Nr.: 712551
TECE stainless steel heating circuit
manifold without flow rate indicator and
control valves Stainless steel radiator
distribution manifold made of
stainless-steel rectangular hollow
section 40 x 1.5 mm (grade 1.4301) to
DIN EN 10088, with G 1” union nut on
primary side, flat sealing, nickel
plated brass, distance to heating
circuit 50 mm.Fully pre-assembled feed
and return with:Manifold bar with pipe
connectors on G 3/4” male thread, inside
cone to DIN EN 16313, nickel-plated
brass2 blanking plugs G 3/4”,
nickel-plated brass4 blanking plugs G
1/2”, nickel-plated brassPackaged in a
sturdy carton including:2 dual wall
brackets 200 x 54.4 x 34.5 with
structure-borne sound insulation inserts
(DIN 4109) incl. mounting material (1
dual wall bracket for distributor with 2
heating circuits)2 flat seals 1”
Version: 3 heating circuits
Bestell-Nr.: 712552
TECE stainless steel heating circuit
manifold without flow rate indicator and
control valves Stainless steel radiator
distribution manifold made of
stainless-steel rectangular hollow
section 40 x 1.5 mm (grade 1.4301) to
DIN EN 10088, with G 1” union nut on
primary side, flat sealing, nickel
plated brass, distance to heating
circuit 50 mm.Fully pre-assembled feed
and return with:Manifold bar with pipe
connectors on G 3/4” male thread, inside
cone to DIN EN 16313, nickel-plated
brass2 blanking plugs G 3/4”,
nickel-plated brass4 blanking plugs G
1/2”, nickel-plated brassPackaged in a
sturdy carton including:2 dual wall
brackets 200 x 54.4 x 34.5 with
structure-borne sound insulation inserts
(DIN 4109) incl. mounting material (1
dual wall bracket for distributor with 2
heating circuits)2 flat seals 1”
Version: 4 heating circuits
Bestell-Nr.: 712553
TECE stainless steel heating circuit
manifold without flow rate indicator and
control valves Stainless steel radiator
distribution manifold made of
stainless-steel rectangular hollow
section 40 x 1.5 mm (grade 1.4301) to
DIN EN 10088, with G 1” union nut on
primary side, flat sealing, nickel
plated brass, distance to heating
circuit 50 mm.Fully pre-assembled feed
and return with:Manifold bar with pipe
connectors on G 3/4” male thread, inside
cone to DIN EN 16313, nickel-plated
brass2 blanking plugs G 3/4”,
nickel-plated brass4 blanking plugs G
1/2”, nickel-plated brassPackaged in a
sturdy carton including:2 dual wall
brackets 200 x 54.4 x 34.5 with
structure-borne sound insulation inserts
(DIN 4109) incl. mounting material (1
dual wall bracket for distributor with 2
heating circuits)2 flat seals 1”
Version: 5 heating circuits
Bestell-Nr.: 712554
TECE stainless steel heating circuit
manifold without flow rate indicator and
control valves Stainless steel radiator
distribution manifold made of
stainless-steel rectangular hollow
section 40 x 1.5 mm (grade 1.4301) to
DIN EN 10088, with G 1” union nut on
primary side, flat sealing, nickel
plated brass, distance to heating
circuit 50 mm.Fully pre-assembled feed
and return with:Manifold bar with pipe
connectors on G 3/4” male thread, inside
cone to DIN EN 16313, nickel-plated
brass2 blanking plugs G 3/4”,
nickel-plated brass4 blanking plugs G
1/2”, nickel-plated brassPackaged in a
sturdy carton including:2 dual wall
brackets 200 x 54.4 x 34.5 with
structure-borne sound insulation inserts
(DIN 4109) incl. mounting material (1
dual wall bracket for distributor with 2
heating circuits)2 flat seals 1”
Version: 6 heating circuits
Bestell-Nr.: 712555
TECE stainless steel heating circuit
manifold without flow rate indicator and
control valves Stainless steel radiator
distribution manifold made of
stainless-steel rectangular hollow
section 40 x 1.5 mm (grade 1.4301) to
DIN EN 10088, with G 1” union nut on
primary side, flat sealing, nickel
plated brass, distance to heating
circuit 50 mm.Fully pre-assembled feed
and return with:Manifold bar with pipe
connectors on G 3/4” male thread, inside
cone to DIN EN 16313, nickel-plated
brass2 blanking plugs G 3/4”,
nickel-plated brass4 blanking plugs G
1/2”, nickel-plated brassPackaged in a
sturdy carton including:2 dual wall
brackets 200 x 54.4 x 34.5 with
structure-borne sound insulation inserts
(DIN 4109) incl. mounting material (1
dual wall bracket for distributor with 2
heating circuits)2 flat seals 1”
Version: 7 heating circuits
Bestell-Nr.: 712556
TECE stainless steel heating circuit
manifold without flow rate indicator and
control valves Stainless steel radiator
distribution manifold made of
stainless-steel rectangular hollow
section 40 x 1.5 mm (grade 1.4301) to
DIN EN 10088, with G 1” union nut on
primary side, flat sealing, nickel
plated brass, distance to heating
circuit 50 mm.Fully pre-assembled feed
and return with:Manifold bar with pipe
connectors on G 3/4” male thread, inside
cone to DIN EN 16313, nickel-plated
brass2 blanking plugs G 3/4”,
nickel-plated brass4 blanking plugs G
1/2”, nickel-plated brassPackaged in a
sturdy carton including:2 dual wall
brackets 200 x 54.4 x 34.5 with
structure-borne sound insulation inserts
(DIN 4109) incl. mounting material (1
dual wall bracket for distributor with 2
heating circuits)2 flat seals 1”
Version: 8 heating circuits
Bestell-Nr.: 712557
TECE stainless steel heating circuit
manifold without flow rate indicator and
control valves Stainless steel radiator
distribution manifold made of
stainless-steel rectangular hollow
section 40 x 1.5 mm (grade 1.4301) to
DIN EN 10088, with G 1” union nut on
primary side, flat sealing, nickel
plated brass, distance to heating
circuit 50 mm.Fully pre-assembled feed
and return with:Manifold bar with pipe
connectors on G 3/4” male thread, inside
cone to DIN EN 16313, nickel-plated
brass2 blanking plugs G 3/4”,
nickel-plated brass4 blanking plugs G
1/2”, nickel-plated brassPackaged in a
sturdy carton including:2 dual wall
brackets 200 x 54.4 x 34.5 with
structure-borne sound insulation inserts
(DIN 4109) incl. mounting material (1
dual wall bracket for distributor with 2
heating circuits)2 flat seals 1”
Version: 9 heating circuits
Bestell-Nr.: 712558
TECE stainless steel heating circuit
manifold without flow rate indicator and
control valves Stainless steel radiator
distribution manifold made of
stainless-steel rectangular hollow
section 40 x 1.5 mm (grade 1.4301) to
DIN EN 10088, with G 1” union nut on
primary side, flat sealing, nickel
plated brass, distance to heating
circuit 50 mm.Fully pre-assembled feed
and return with:Manifold bar with pipe
connectors on G 3/4” male thread, inside
cone to DIN EN 16313, nickel-plated
brass2 blanking plugs G 3/4”,
nickel-plated brass4 blanking plugs G
1/2”, nickel-plated brassPackaged in a
sturdy carton including:2 dual wall
brackets 200 x 54.4 x 34.5 with
structure-borne sound insulation inserts
(DIN 4109) incl. mounting material (1
dual wall bracket for distributor with 2
heating circuits)2 flat seals 1”
Version: 10 heating circuits
Bestell-Nr.: 712559
TECE stainless steel heating circuit
manifold without flow rate indicator and
control valves Stainless steel radiator
distribution manifold made of
stainless-steel rectangular hollow
section 40 x 1.5 mm (grade 1.4301) to
DIN EN 10088, with G 1” union nut on
primary side, flat sealing, nickel
plated brass, distance to heating
circuit 50 mm.Fully pre-assembled feed
and return with:Manifold bar with pipe
connectors on G 3/4” male thread, inside
cone to DIN EN 16313, nickel-plated
brass2 blanking plugs G 3/4”,
nickel-plated brass4 blanking plugs G
1/2”, nickel-plated brassPackaged in a
sturdy carton including:2 dual wall
brackets 200 x 54.4 x 34.5 with
structure-borne sound insulation inserts
(DIN 4109) incl. mounting material (1
dual wall bracket for distributor with 2
heating circuits)2 flat seals 1”
Version: 11 heating circuits
Bestell-Nr.: 712560
TECE stainless steel heating circuit
manifold without flow rate indicator and
control valves Stainless steel radiator
distribution manifold made of
stainless-steel rectangular hollow
section 40 x 1.5 mm (grade 1.4301) to
DIN EN 10088, with G 1” union nut on
primary side, flat sealing, nickel
plated brass, distance to heating
circuit 50 mm.Fully pre-assembled feed
and return with:Manifold bar with pipe
connectors on G 3/4” male thread, inside
cone to DIN EN 16313, nickel-plated
brass2 blanking plugs G 3/4”,
nickel-plated brass4 blanking plugs G
1/2”, nickel-plated brassPackaged in a
sturdy carton including:2 dual wall
brackets 200 x 54.4 x 34.5 with
structure-borne sound insulation inserts
(DIN 4109) incl. mounting material (1
dual wall bracket for distributor with 2
heating circuits)2 flat seals 1”
Version: 12 heating circuits
Bestell-Nr.: 712561
TECE fill and drain set with ventilation
function 3/4” for TECE heating circuit
manifold
Bestell-Nr.: 712562
TECE male pinch screw connection 1/2” 15
mm, nickel-plated pinch screw connection
to join TECEflex/TECElogo radiator
mounting elbow or radiator tees to
thermostat valves or to the radiator
screw connections.
Dimension: Durchm. 15 mm x R 1/2”
Bestell-Nr.: 717501
TECE sound-proofing element
Sound-proofing element for TECEflex and
TECElogo wall disks. To minimize
transmission of noise to the structure
consisting of sound insulation inserts
and sound-proofing cover.
Dimension: for 1/2” wall disks
Bestell-Nr.: 718017
TECE sound-proofing element
Sound-proofing element for TECEflex and
TECElogo wall disks. To minimize
transmission of noise to the structure
consisting of sound insulation inserts
and sound-proofing cover.
Dimension: for 1/2” wall disks, long
Bestell-Nr.: 718022
TECE sound-proofing element
Sound-proofing element for TECEflex and
TECElogo wall disks. To minimize
transmission of noise to the structure
consisting of sound insulation inserts
and sound-proofing cover.
Dimension: for 1/2” double wall disks
Bestell-Nr.: 718024
TECE laying winder Foldable, variably
adjustable for TECEflex and TECElogo
rolls up 600 m length.
Dimension: up to 600 m
Bestell-Nr.: 720193
TECE pipe straightener To be mounted on
the laying winder for straight removal
of 16 and 20 mm TECEflex and TECElogo
composite pipes.
Dimension: 16 and 20
Bestell-Nr.: 720194
TECE screw To fasten TECEflex and
TECElogo wall disks to galvanized steel
fasteners.
Dimension: 3.5 x 16 mm
Bestell-Nr.: 720524
TECE fastener made of galvanized steel,
single To fasten TECEflex and TECElogo
wall disks, angled, made of galvanized
steel.
Bestell-Nr.: 720527
TECE fastener made of galvanized steel,
double To fasten TECEflex and TECElogo
wall disks, angled, made of galvanized
steel. Suitable for dimensions 150 and
80 mm.
Bestell-Nr.: 720528
TECE skirting board radiator elbow
shut-offs Made of 15 mm nickel-plated Cu
pipe, adjustable and with shut-off, for
connection of radiator to TECEflex or
TECElogo skirting board radiator
connection set.
Dimension: 15 mm Cu
Bestell-Nr.: 730010
TECE skirting board radiator elbows Made
of nickel-plated Cu pipe 15 mm. To
connect radiator to TECEflex or TECElogo
skirting board radiator connection set.
Dimension: 15 mm Cu
Bestell-Nr.: 730025
TECEflex pipe clip made of polyamide,
white One-piece pipe clip made of white
polyamide. Pipe clip closes when pipe is
pressed in. Thanks to patented lateral
guides, two or more clips can be joined
together.
Dimension: 14
Bestell-Nr.: 785036
TECEflex pipe clip made of polyamide,
white One-piece pipe clip made of white
polyamide. Pipe clip closes when pipe is
pressed in. Thanks to patented lateral
guides, two or more clips can be joined
together.
Dimension: 16
Bestell-Nr.: 785037
TECEflex pipe clip made of polyamide,
white One-piece pipe clip made of white
polyamide. Pipe clip closes when pipe is
pressed in. Thanks to patented lateral
guides, two or more clips can be joined
together.
Dimension: 20
Bestell-Nr.: 785038
TECEflex pipe clip made of polyamide,
white One-piece pipe clip made of white
polyamide. Pipe clip closes when pipe is
pressed in. Thanks to patented lateral
guides, two or more clips can be joined
together.
Dimension: 25
Bestell-Nr.: 785039
TECEflex pipe clip made of polyamide,
white One-piece pipe clip made of white
polyamide. Pipe clip closes when pipe is
pressed in. Thanks to patented lateral
guides, two or more clips can be joined
together.
Dimension: 32
Bestell-Nr.: 785040
TECEflex pipe clip made of polyamide,
white One-piece pipe clip made of white
polyamide. Pipe clip closes when pipe is
pressed in. Thanks to patented lateral
guides, two or more clips can be joined
together.
Dimension: 40
Bestell-Nr.: 785041
TECElogo multi-layer composite pipe
PE-Xc/Al/PE-RT Multi-layer composite
pipe to DIN EN 21003 for potable water
and heating installations. 100 %
diffusion tight.
Dimension: 16 - Roll
Bestell-Nr.: 8700016
TECElogo multi-layer composite pipe
PE-Xc/Al/PE-RT Multi-layer composite
pipe to DIN EN 21003 for potable water
and heating installations. 100 %
diffusion tight.
Dimension: 20 - Roll
Bestell-Nr.: 8700020
TECElogo multi-layer composite pipe
PE-Xc/Al/PE-RT Multi-layer composite
pipe to DIN EN 21003 for potable water
and heating installations. 100 %
diffusion tight.
Dimension: 25 - Roll
Bestell-Nr.: 8700025
TECElogo multi-layer composite pipe
PE-Xc/Al/PE-RT Multi-layer composite
pipe to DIN EN 21003 for potable water
and heating installations. 100 %
diffusion tight.
Dimension: 16 - Rod
Bestell-Nr.: 8700116
TECElogo multi-layer composite pipe
PE-Xc/Al/PE-RT Multi-layer composite
pipe to DIN EN 21003 for potable water
and heating installations. 100 %
diffusion tight.
Dimension: 20 - Rod
Bestell-Nr.: 8700120
TECElogo multi-layer composite pipe
PE-Xc/Al/PE-RT Multi-layer composite
pipe to DIN EN 21003 for potable water
and heating installations. 100 %
diffusion tight.
Dimension: 25 - Rod
Bestell-Nr.: 8700125
TECElogo multi-layer composite pipe
PE-Xc/Al/PE-RT Multi-layer composite
pipe to DIN EN 21003 for potable water
and heating installations. 100 %
diffusion tight.
Dimension: 32 - Rod
Bestell-Nr.: 8700132
TECElogo multi-layer composite pipe
PE-Xc/Al/PE-RT Multi-layer composite
pipe to DIN EN 21003 for potable water
and heating installations. 100 %
diffusion tight.
Dimension: 40 - Rod
Bestell-Nr.: 8700140
TECElogo multi-layer composite pipe
PE-Xc/Al/PE-RT Multi-layer composite
pipe to DIN EN 21003 for potable water
and heating installations. 100 %
diffusion tight.
Dimension: 50 - Rod
Bestell-Nr.: 8700150
TECElogo multi-layer composite pipe
PE-Xc/Al/PE-RT Multi-layer composite
pipe to DIN EN 21003 for potable water
and heating installations. 100 %
diffusion tight.
Dimension: 63 - Rod
Bestell-Nr.: 8700163
TECElogo multi-layer composite pipe
PE-Xc/Al/PE-RT in corrugated sheath
pipe, black Multi-layer composite pipe
to DIN EN ISO 21003 for potable water
and heating installation in black
corrugated sheath pipe. 100 %
diffusion-tight.
Dimension: 16 - Roll
Bestell-Nr.: 8700216
TECElogo multi-layer composite pipe
PE-Xc/Al/PE-RT in corrugated sheath
pipe, black Multi-layer composite pipe
to DIN EN ISO 21003 for potable water
and heating installation in black
corrugated sheath pipe. 100 %
diffusion-tight.
Dimension: 20 - Roll
Bestell-Nr.: 8700220
TECElogo multi-layer composite pipe
PE-Xc/Al/PE-RT in corrugated sheath
pipe, black Multi-layer composite pipe
to DIN EN ISO 21003 for potable water
and heating installation in black
corrugated sheath pipe. 100 %
diffusion-tight.
Dimension: 25 - Roll
Bestell-Nr.: 8700225
TECElogo multi-layer composite pipe
PE-Xc/Al/PE-RT pre-insulated, 9 mm
insulation Multi-layer composite pipe to
DIN EN ISO 21003 for potable water and
heating installations, pre-insulated
with 9 mm PE insulation ((Lambda)R =
0.04 W/mK) and tear-proof PE foil
(colour: red). Can be used in accordance
with EnEV 2009 (appendix 5, table 1,
line 7) and DIN 1988-200 (table 8, no.
1).
Dimension: 16 - 9 mm insulation
Bestell-Nr.: 8700316
TECElogo multi-layer composite pipe
PE-Xc/Al/PE-RT pre-insulated, 9 mm
insulation Multi-layer composite pipe to
DIN EN ISO 21003 for potable water and
heating installations, pre-insulated
with 9 mm PE insulation ((Lambda)R =
0.04 W/mK) and tear-proof PE foil
(colour: red). Can be used in accordance
with EnEV 2009 (appendix 5, table 1,
line 7) and DIN 1988-200 (table 8, no.
1).
Dimension: 20 - 9 mm insulation
Bestell-Nr.: 8700320
TECElogo multi-layer composite pipe
PE-Xc/Al/PE-RT pre-insulated, 9 mm
insulation Multi-layer composite pipe to
DIN EN ISO 21003 for potable water and
heating installations, pre-insulated
with 9 mm PE insulation ((Lambda)R =
0.04 W/mK) and tear-proof PE foil
(colour: red). Can be used in accordance
with EnEV 2009 (appendix 5, table 1,
line 7) and DIN 1988-200 (table 8, no.
1).
Dimension: 25 - 9 mm insulation
Bestell-Nr.: 8700325
TECElogo multi-layer composite pipe
PE-Xc/Al/PE-RT in corrugated sheath
pipe, red Multi-layer composite pipe to
DIN EN ISO 21003 for potable water and
heating installation in red corrugated
sheath pipe. 100 % diffusion-tight.
Dimension: 16 - Roll
Bestell-Nr.: 8700616
TECElogo multi-layer composite pipe
PE-Xc/Al/PE-RT in corrugated sheath
pipe, red Multi-layer composite pipe to
DIN EN ISO 21003 for potable water and
heating installation in red corrugated
sheath pipe. 100 % diffusion-tight.
Dimension: 20 - Roll
Bestell-Nr.: 8700620
TECElogo multi-layer composite pipe
PE-Xc/Al/PE-RT in corrugated sheath
pipe, red Multi-layer composite pipe to
DIN EN ISO 21003 for potable water and
heating installation in red corrugated
sheath pipe. 100 % diffusion-tight.
Dimension: 25 - Roll
Bestell-Nr.: 8700625
TECElogo multi-layer composite pipe
PE-Xc/Al/PE-RT in corrugated sheath
pipe, blue Multi-layer composite pipe to
DIN EN ISO 21003 for potable water and
heating installation in blue corrugated
sheath pipe. 100 % diffusion-tight.
Dimension: 16 - Roll
Bestell-Nr.: 8700716
TECElogo multi-layer composite pipe
PE-Xc/Al/PE-RT in corrugated sheath
pipe, blue Multi-layer composite pipe to
DIN EN ISO 21003 for potable water and
heating installation in blue corrugated
sheath pipe. 100 % diffusion-tight.
Dimension: 20 - Roll
Bestell-Nr.: 8700720
TECElogo multi-layer composite pipe
PE-Xc/Al/PE-RT in corrugated sheath
pipe, blue Multi-layer composite pipe to
DIN EN ISO 21003 for potable water and
heating installation in blue corrugated
sheath pipe. 100 % diffusion-tight.
Dimension: 25 - Roll
Bestell-Nr.: 8700725
TECElogo multi-layer composite pipe
PE-Xc/Al/PE-RT pre-insulated, 13 mm
insulation Multi-layer composite pipe to
DIN EN ISO 21003 for potable water and
heating installations, pre-insulated
with 13 mm PE insulation ((Lambda)R =
0.04 W/mK) and tear-proof PE foil
(colour: red). Can be used in accordance
with EnEV 2009 (appendix 5, table 1,
lines 5 and 6) and DIN 1988-200 (table
8, nos. 2 and 6).
Dimension: 16 - 13 mm insulation
Bestell-Nr.: 8700816
TECElogo multi-layer composite pipe
PE-Xc/Al/PE-RT pre-insulated, 13 mm
insulation Multi-layer composite pipe to
DIN EN ISO 21003 for potable water and
heating installations, pre-insulated
with 13 mm PE insulation ((Lambda)R =
0.04 W/mK) and tear-proof PE foil
(colour: red). Can be used in accordance
with EnEV 2009 (appendix 5, table 1,
lines 5 and 6) and DIN 1988-200 (table
8, nos. 2 and 6).
Dimension: 20 - 13 mm insulation
Bestell-Nr.: 8700820
TECElogo multi-layer composite pipe
PE-Xc/Al/PE-RT pre-insulated, 13 mm
insulation Multi-layer composite pipe to
DIN EN ISO 21003 for potable water and
heating installations, pre-insulated
with 13 mm PE insulation ((Lambda)R =
0.04 W/mK) and tear-proof PE foil
(colour: red). Can be used in accordance
with EnEV 2009 (appendix 5, table 1,
lines 5 and 6) and DIN 1988-200 (table
8, nos. 2 and 6).
Dimension: 16 - 13 mm insulation
Bestell-Nr.: 8701416
TECElogo multi-layer composite pipe
PE-Xc/Al/PE-RT pre-insulated, 13 mm
insulation Multi-layer composite pipe to
DIN EN ISO 21003 for potable water and
heating installations, pre-insulated
with 13 mm PE insulation ((Lambda)R =
0.04 W/mK) and tear-proof PE foil
(colour: red). Can be used in accordance
with EnEV 2009 (appendix 5, table 1,
lines 5 and 6) and DIN 1988-200 (table
8, nos. 2 and 6).
Dimension: 20 - 13 mm insulation
Bestell-Nr.: 8701420
TECElogo multi-layer composite pipe
PE-Xc/Al/PE-RT pre-insulated, 13 mm
insulation Multi-layer composite pipe to
DIN EN ISO 21003 for potable water and
heating installations, pre-insulated
with 13 mm PE insulation ((Lambda)R =
0.04 W/mK) and tear-proof PE foil
(colour: red). Can be used in accordance
with EnEV 2009 (appendix 5, table 1,
lines 5 and 6) and DIN 1988-200 (table
8, nos. 2 and 6).
Dimension: 25 - 13 mm insulation
Bestell-Nr.: 8701425
TECElogo multi-layer composite pipe
PE-Xc/AL/PE-RT pre-insulated, 6 mm
insulation Multi-layer composite pipe to
DIN EN ISO 21003 for potable water and
heating installations, pre-insulated
with 6 mm PE insulation ((Lambda)R =
0.04 W/mK) and tear-proof PE foil
(colour: red). Can be used in accordance
with DIN 1988-200 (table 8, no. 4/5 and
table 9, no. 6).
Dimension: 16 - RS 6 mm
Bestell-Nr.: 8701616
TECElogo multi-layer composite pipe
PE-Xc/AL/PE-RT pre-insulated, 6 mm
insulation Multi-layer composite pipe to
DIN EN ISO 21003 for potable water and
heating installations, pre-insulated
with 6 mm PE insulation ((Lambda)R =
0.04 W/mK) and tear-proof PE foil
(colour: red). Can be used in accordance
with DIN 1988-200 (table 8, no. 4/5 and
table 9, no. 6).
Dimension: 20 - RS 6 mm
Bestell-Nr.: 8701620
TECElogo multi-layer composite pipe
PE-Xc/AL/PE-RT pre-insulated, 6 mm
insulation Multi-layer composite pipe to
DIN EN ISO 21003 for potable water and
heating installations, pre-insulated
with 6 mm PE insulation ((Lambda)R =
0.04 W/mK) and tear-proof PE foil
(colour: red). Can be used in accordance
with DIN 1988-200 (table 8, no. 4/5 and
table 9, no. 6).
Dimension: 25 - RS 6 mm
Bestell-Nr.: 8701625
TECElogo multi-layer composite pipe
PE-RT/Al/PE-RT Multi-layer composite
pipe to DIN EN 21003 for potable water
and heating installations. 100 %
diffusion tight.
Dimension: 16 - Roll
Bestell-Nr.: 8705016
TECElogo multi-layer composite pipe
PE-RT/Al/PE-RT Multi-layer composite
pipe to DIN EN 21003 for potable water
and heating installations. 100 %
diffusion tight.
Dimension: 20 - Roll
Bestell-Nr.: 8705020
TECElogo multi-layer composite pipe
PE-RT/Al/PE-RT Multi-layer composite
pipe to DIN EN 21003 for potable water
and heating installations. 100 %
diffusion tight.
Dimension: 25 - Roll
Bestell-Nr.: 8705025
TECElogo multi-layer composite pipe
PE-RT/Al/PE-RT Multi-layer composite
pipe to DIN EN 21003 for potable water
and heating installations. 100 %
diffusion tight.
Dimension: 16 - Rod
Bestell-Nr.: 8705116
TECElogo multi-layer composite pipe
PE-RT/Al/PE-RT Multi-layer composite
pipe to DIN EN 21003 for potable water
and heating installations. 100 %
diffusion tight.
Dimension: 20 - Rod
Bestell-Nr.: 8705120
TECElogo multi-layer composite pipe
PE-RT/Al/PE-RT Multi-layer composite
pipe to DIN EN 21003 for potable water
and heating installations. 100 %
diffusion tight.
Dimension: 25 - Rod
Bestell-Nr.: 8705125
TECElogo multi-layer composite pipe
PE-RT/Al/PE-RT in corrugated sheath pipe
Multi-layer composite pipe to DIN EN
21003 for potable water and heating
installations, in corrugated sheath
pipe, colour black. 100 % diffusion
tight.
Dimension: 16 - Roll
Bestell-Nr.: 8705216
TECElogo multi-layer composite pipe
PE-RT/Al/PE-RT in corrugated sheath pipe
Multi-layer composite pipe to DIN EN
21003 for potable water and heating
installations, in corrugated sheath
pipe, colour black. 100 % diffusion
tight.
Dimension: 20 - Roll
Bestell-Nr.: 8705220
TECElogo multi-layer composite pipe
PE-RT/Al/PE-RT in corrugated sheath pipe
Multi-layer composite pipe to DIN EN
21003 for potable water and heating
installations, in corrugated sheath
pipe, colour black. 100 % diffusion
tight.
Dimension: 25 - Roll
Bestell-Nr.: 8705225
TECElogo female connector brass
Push-fitting with integrated grip
function.
Material: Brass
Dimension: 16 x Rp 1/2”
Bestell-Nr.: 8710002
TECElogo female connector brass
Push-fitting with integrated grip
function.
Material: Brass
Dimension: 20 x Rp 1/2”
Bestell-Nr.: 8710003
TECElogo female connector brass
Push-fitting with integrated grip
function.
Material: Brass
Dimension: 20 x Rp 3/4”
Bestell-Nr.: 8710004
TECElogo female connector brass
Push-fitting with integrated grip
function.
Material: Brass
Dimension: 25 x Rp 3/4”
Bestell-Nr.: 8710005
TECElogo female connector brass
Push-fitting with integrated grip
function.
Material: Brass
Dimension: 25 x Rp 1”
Bestell-Nr.: 8710006
TECElogo female connector brass
Push-fitting with integrated grip
function.
Material: Brass
Dimension: 32 x Rp 1”
Bestell-Nr.: 8710007
TECElogo female connector brass
Push-fitting with integrated grip
function.
Material: Brass
Dimension: 40 x Rp 1 1/2”
Bestell-Nr.: 8710008
TECElogo female connector brass
Push-fitting with integrated grip
function.
Material: Brass
Dimension: 50 x Rp 2”
Bestell-Nr.: 8710009
TECElogo male connector brass
Push-fitting with integrated grip
function.
Material: Brass
Dimension: 16 x R 3/8”
Bestell-Nr.: 8710100
TECElogo male connector brass
Push-fitting with integrated grip
function.
Material: Brass
Dimension: 16 x R 1/2”
Bestell-Nr.: 8710102
TECElogo male connector brass
Push-fitting with integrated grip
function.
Material: Brass
Dimension: 16 x R 3/4”
Bestell-Nr.: 8710103
TECElogo male connector brass
Push-fitting with integrated grip
function.
Material: Brass
Dimension: 20 x R 1/2”
Bestell-Nr.: 8710104
TECElogo male connector brass
Push-fitting with integrated grip
function.
Material: Brass
Dimension: 20 x R 3/4”
Bestell-Nr.: 8710105
TECElogo male connector brass
Push-fitting with integrated grip
function.
Material: Brass
Dimension: 25 x R 3/4”
Bestell-Nr.: 8710106
TECElogo male connector brass
Push-fitting with integrated grip
function.
Material: Brass
Dimension: 25 x R 1”
Bestell-Nr.: 8710107
TECElogo male connector brass
Push-fitting with integrated grip
function.
Material: Brass
Dimension: 32 x R 1”
Bestell-Nr.: 8710116
TECElogo male connector brass
Push-fitting with integrated grip
function.
Material: Brass
Dimension: 40 x R 1 1/4”
Bestell-Nr.: 8710117
TECElogo male connector brass
Push-fitting with integrated grip
function.
Material: Brass
Dimension: 50 x R 1 1/2”
Bestell-Nr.: 8710118
TECElogo male connector stainless steel
1.4401 Push-fitting with integrated grip
function. For potable water and heating
installations.
Dimension: 16 x R 1/2”
Bestell-Nr.: 8710120
TECElogo male connector stainless steel
1.4401 Push-fitting with integrated grip
function. For potable water and heating
installations.
Dimension: 20 x R 3/4”
Bestell-Nr.: 8710122
TECElogo male connector stainless steel
1.4401 Push-fitting with integrated grip
function. For potable water and heating
installations.
Dimension: 25 x R 1”
Bestell-Nr.: 8710124
TECElogo female elbow brass Push-fitting
with integrated grip function.
Material: Brass
Dimension: 16 x Rp 1/2”
Bestell-Nr.: 8710202
TECElogo female elbow brass Push-fitting
with integrated grip function.
Material: Brass
Dimension: 20 x Rp 1/2”
Bestell-Nr.: 8710203
TECElogo female elbow brass Push-fitting
with integrated grip function.
Material: Brass
Dimension: 20 x Rp 3/4”
Bestell-Nr.: 8710204
TECElogo female elbow brass Push-fitting
with integrated grip function.
Material: Brass
Dimension: 25 x Rp 3/4”
Bestell-Nr.: 8710205
TECElogo female elbow brass Push-fitting
with integrated grip function.
Material: Brass
Dimension: 32 x Rp 1”
Bestell-Nr.: 8710206
TECElogo male elbow brass Push-fitting
with integrated grip function.
Material: Brass
Dimension: 16 x R 1/2”
Bestell-Nr.: 8710302
TECElogo male elbow brass Push-fitting
with integrated grip function.
Material: Brass
Dimension: 20 x R 1/2”
Bestell-Nr.: 8710303
TECElogo male elbow brass Push-fitting
with integrated grip function.
Material: Brass
Dimension: 20 x R 3/4”
Bestell-Nr.: 8710304
TECElogo male elbow brass Push-fitting
with integrated grip function.
Material: Brass
Dimension: 25 x R 3/4”
Bestell-Nr.: 8710305
TECElogo male elbow brass Push-fitting
with integrated grip function.
Material: Brass
Dimension: 25 x R 1”
Bestell-Nr.: 8710306
TECElogo male elbow brass Push-fitting
with integrated grip function.
Material: Brass
Dimension: 32 x R 1”
Bestell-Nr.: 8710312
TECElogo tee female thread brass
Push-fitting with integrated grip
function.
Material: Brass
Dimension: 16 x Rp 1/2” x 16
Bestell-Nr.: 8710402
TECElogo tee female thread brass
Push-fitting with integrated grip
function.
Material: Brass
Dimension: 20 x Rp 1/2” x 20
Bestell-Nr.: 8710403
TECElogo tee female thread brass
Push-fitting with integrated grip
function.
Material: Brass
Dimension: 25 x Rp 3/4” x 25
Bestell-Nr.: 8710404
TECElogo tee female thread brass
Push-fitting with integrated grip
function.
Material: Brass
Dimension: 32 x Rp 1” x 32
Bestell-Nr.: 8710406
TECElogo tee female thread brass
Push-fitting with integrated grip
function.
Material: Brass
Dimension: 40 x Rp 1” x 40
Bestell-Nr.: 8710408
TECElogo tee female thread brass
Push-fitting with integrated grip
function.
Material: Brass
Dimension: 50 x Rp 1 1/4” x 50
Bestell-Nr.: 8710410
TECElogo coupling PPSU Push-fitting with
integrated grip function. For potable
water and heating installations.
Material: PPSU
Dimension: 16 x 16
Bestell-Nr.: 8710516
TECElogo coupling PPSU Push-fitting with
integrated grip function. For potable
water and heating installations.
Material: PPSU
Dimension: 20 x 20
Bestell-Nr.: 8710520
TECElogo coupling PPSU Push-fitting with
integrated grip function. For potable
water and heating installations.
Material: PPSU
Dimension: 25 x 25
Bestell-Nr.: 8710525
TECElogo coupling PPSU Push-fitting with
integrated grip function. For potable
water and heating installations.
Material: PPSU
Dimension: 32 x 32
Bestell-Nr.: 8710532
TECElogo coupling PPSU Push-fitting with
integrated grip function. For potable
water and heating installations.
Material: PPSU
Dimension: 40 x 40
Bestell-Nr.: 8710540
TECElogo coupling PPSU Push-fitting with
integrated grip function. For potable
water and heating installations.
Material: PPSU
Dimension: 50 x 50
Bestell-Nr.: 8710550
TECElogo coupling PPSU Push-fitting with
integrated grip function. For potable
water and heating installations.
Material: PPSU
Dimension: 63 x 63
Bestell-Nr.: 8710563
TECElogo coupling reduced PPSU
Push-fitting with integrated grip
function. For potable water and heating
installations.
Material: PPSU
Dimension: 20 x 16
Bestell-Nr.: 8710616
TECElogo coupling reduced PPSU
Push-fitting with integrated grip
function. For potable water and heating
installations.
Material: PPSU
Dimension: 25 x 16
Bestell-Nr.: 8710620
TECElogo coupling reduced PPSU
Push-fitting with integrated grip
function. For potable water and heating
installations.
Material: PPSU
Dimension: 25 x 20
Bestell-Nr.: 8710625
TECElogo coupling reduced PPSU
Push-fitting with integrated grip
function. For potable water and heating
installations.
Material: PPSU
Dimension: 32 x 20
Bestell-Nr.: 8710632
TECElogo coupling reduced PPSU
Push-fitting with integrated grip
function. For potable water and heating
installations.
Material: PPSU
Dimension: 32 x 25
Bestell-Nr.: 8710633
TECElogo coupling reduced PPSU
Push-fitting with integrated grip
function. For potable water and heating
installations.
Material: PPSU
Dimension: 40 x 32
Bestell-Nr.: 8710640
TECElogo coupling reduced PPSU
Push-fitting with integrated grip
function. For potable water and heating
installations.
Material: PPSU
Dimension: 50 x 40
Bestell-Nr.: 8710650
TECElogo coupling reduced PPSU
Push-fitting with integrated grip
function. For potable water and heating
installations.
Material: PPSU
Dimension: 63 x 50
Bestell-Nr.: 8710663
TECElogo 90Grad elbow PPSU Push-fitting
with integrated grip function. For
potable water and heating installations.
Material: PPSU
Dimension: 16 x 16
Bestell-Nr.: 8710716
TECElogo 90Grad elbow PPSU Push-fitting
with integrated grip function. For
potable water and heating installations.
Material: PPSU
Dimension: 20 x 20
Bestell-Nr.: 8710720
TECElogo 90Grad elbow PPSU Push-fitting
with integrated grip function. For
potable water and heating installations.
Material: PPSU
Dimension: 25 x 25
Bestell-Nr.: 8710725
TECElogo 90Grad elbow PPSU Push-fitting
with integrated grip function. For
potable water and heating installations.
Material: PPSU
Dimension: 32 x 32
Bestell-Nr.: 8710732
TECElogo 90Grad elbow PPSU Push-fitting
with integrated grip function. For
potable water and heating installations.
Material: PPSU
Dimension: 40 x 40
Bestell-Nr.: 8710740
TECElogo 90Grad elbow PPSU Push-fitting
with integrated grip function. For
potable water and heating installations.
Material: PPSU
Dimension: 50 x 50
Bestell-Nr.: 8710750
TECElogo 90Grad elbow PPSU Push-fitting
with integrated grip function. For
potable water and heating installations.
Material: PPSU
Dimension: 63 x 63
Bestell-Nr.: 8710763
TECElogo end plug PPSU Push-fitting with
integrated grip function. For potable
water and heating installations.
Material: PPSU
Dimension: 16
Bestell-Nr.: 8710817
TECElogo end plug PPSU Push-fitting with
integrated grip function. For potable
water and heating installations.
Material: PPSU
Dimension: 20
Bestell-Nr.: 8710821
TECElogo tee PPSU Push-fitting with
integrated grip function. For potable
water and heating installations.
Dimension: 16 x 16 x 16
Bestell-Nr.: 8710916
TECElogo tee PPSU Push-fitting with
integrated grip function. For potable
water and heating installations.
Dimension: 20 x 20 x 20
Bestell-Nr.: 8710920
TECElogo tee PPSU Push-fitting with
integrated grip function. For potable
water and heating installations.
Dimension: 25 x 25 x 25
Bestell-Nr.: 8710925
TECElogo tee PPSU Push-fitting with
integrated grip function. For potable
water and heating installations.
Dimension: 32 x 32 x 32
Bestell-Nr.: 8710932
TECElogo tee PPSU Push-fitting with
integrated grip function. For potable
water and heating installations.
Dimension: 40 x 40 x 40
Bestell-Nr.: 8710940
TECElogo tee PPSU Push-fitting with
integrated grip function. For potable
water and heating installations.
Dimension: 50 x 50 x 50
Bestell-Nr.: 8710950
TECElogo tee PPSU Push-fitting with
integrated grip function. For potable
water and heating installations.
Dimension: 63 x 63 x 63
Bestell-Nr.: 8710963
TECElogo tee reduced PPSU Push-fitting
with integrated grip function. For
potable water and heating installations.
Dimension: 20 x 16 x 16
Bestell-Nr.: 8711004
TECElogo tee reduced PPSU Push-fitting
with integrated grip function. For
potable water and heating installations.
Dimension: 20 x 16 x 20
Bestell-Nr.: 8711005
TECElogo tee reduced PPSU Push-fitting
with integrated grip function. For
potable water and heating installations.
Dimension: 20 x 20 x 16
Bestell-Nr.: 8711006
TECElogo tee reduced PPSU Push-fitting
with integrated grip function. For
potable water and heating installations.
Dimension: 25 x 16 x 16
Bestell-Nr.: 8711007
TECElogo tee reduced PPSU Push-fitting
with integrated grip function. For
potable water and heating installations.
Dimension: 25 x 16 x 25
Bestell-Nr.: 8711008
TECElogo tee reduced PPSU Push-fitting
with integrated grip function. For
potable water and heating installations.
Dimension: 25 x 20 x 20
Bestell-Nr.: 8711009
TECElogo tee reduced PPSU Push-fitting
with integrated grip function. For
potable water and heating installations.
Dimension: 25 x 20 x 25
Bestell-Nr.: 8711010
TECElogo tee reduced PPSU Push-fitting
with integrated grip function. For
potable water and heating installations.
Dimension: 20 x 25 x 20
Bestell-Nr.: 8711011
TECElogo tee reduced PPSU Push-fitting
with integrated grip function. For
potable water and heating installations.
Dimension: 32 x 16 x 32
Bestell-Nr.: 8711012
TECElogo tee reduced PPSU Push-fitting
with integrated grip function. For
potable water and heating installations.
Dimension: 32 x 20 x 32
Bestell-Nr.: 8711013
TECElogo tee reduced PPSU Push-fitting
with integrated grip function. For
potable water and heating installations.
Dimension: 32 x 25 x 32
Bestell-Nr.: 8711014
TECElogo tee reduced PPSU Push-fitting
with integrated grip function. For
potable water and heating installations.
Dimension: 32 x 25 x 25
Bestell-Nr.: 8711015
TECElogo tee reduced PPSU Push-fitting
with integrated grip function. For
potable water and heating installations.
Dimension: 40 x 25 x 40
Bestell-Nr.: 8711017
TECElogo tee reduced PPSU Push-fitting
with integrated grip function. For
potable water and heating installations.
Dimension: 40 x 32 x 40
Bestell-Nr.: 8711018
TECElogo tee reduced PPSU Push-fitting
with integrated grip function. For
potable water and heating installations.
Dimension: 40 x 32 x 32
Bestell-Nr.: 8711019
TECElogo tee reduced PPSU Push-fitting
with integrated grip function. For
potable water and heating installations.
Dimension: 50 x 25 x 50
Bestell-Nr.: 8711020
TECElogo tee reduced PPSU Push-fitting
with integrated grip function. For
potable water and heating installations.
Dimension: 50 x 32 x 50
Bestell-Nr.: 8711021
TECElogo tee reduced PPSU Push-fitting
with integrated grip function. For
potable water and heating installations.
Dimension: 63 x 32 x 63
Bestell-Nr.: 8711022
TECElogo tee reduced PPSU Push-fitting
with integrated grip function. For
potable water and heating installations.
Dimension: 63 x 50 x 63
Bestell-Nr.: 8711023
TECElogo push-fitting 90Grad elbow PPSU
Push-fitting with integrated grip
function. For potable water and heating
installations.
Dimension: 16 x 16
Bestell-Nr.: 8711116
TECElogo push-fitting 90Grad elbow PPSU
Push-fitting with integrated grip
function. For potable water and heating
installations.
Dimension: 20 x 20
Bestell-Nr.: 8711120
TECElogo push-fitting 90Grad elbow PPSU
Push-fitting with integrated grip
function. For potable water and heating
installations.
Dimension: 25 x 25
Bestell-Nr.: 8711125
TECElogo adapter screw connection brass
Adapter screw connection onto copper,
mild steel and stainless steel pipes.
With TECElogo push-fitting with
integrated grip function. For heating
installations.
Dimension: 16 x 15 mm
Bestell-Nr.: 8711202
TECElogo adapter screw connection brass
Adapter screw connection onto copper,
mild steel and stainless steel pipes.
With TECElogo push-fitting with
integrated grip function. For heating
installations.
Dimension: 16 x 18 mm
Bestell-Nr.: 8711203
TECElogo adapter screw connection brass
Adapter screw connection onto copper,
mild steel and stainless steel pipes.
With TECElogo push-fitting with
integrated grip function. For heating
installations.
Dimension: 20 x 15 mm
Bestell-Nr.: 8711204
TECElogo adapter screw connection brass
Adapter screw connection onto copper,
mild steel and stainless steel pipes.
With TECElogo push-fitting with
integrated grip function. For heating
installations.
Dimension: 20 x 18 mm
Bestell-Nr.: 8711205
TECElogo elbow 45Grad red brass
Push-fitting with integrated grip
function. For potable water and heating
installations.
Material: Red brass
Dimension: 25 x 25
Bestell-Nr.: 8711225
TECElogo elbow 45Grad red brass
Push-fitting with integrated grip
function. For potable water and heating
installations.
Material: Red brass
Dimension: 32 x 32
Bestell-Nr.: 8711232
TECElogo elbow 45Grad red brass
Push-fitting with integrated grip
function. For potable water and heating
installations.
Material: Red brass
Dimension: 40 x 40
Bestell-Nr.: 8711240
TECElogo elbow 45Grad red brass
Push-fitting with integrated grip
function. For potable water and heating
installations.
Material: Red brass
Dimension: 50 x 50
Bestell-Nr.: 8711250
TECElogo elbow 45Grad red brass
Push-fitting with integrated grip
function. For potable water and heating
installations.
Material: Red brass
Dimension: 63 x 63
Bestell-Nr.: 8711263
TECElogo female connector red brass
Push-fitting with integrated grip
function. For potable water and heating
installations.
Material: Red brass
Dimension: 16 x Rp 1/2”
Bestell-Nr.: 8713002
TECElogo female connector red brass
Push-fitting with integrated grip
function. For potable water and heating
installations.
Material: Red brass
Dimension: 20 x Rp 1/2”
Bestell-Nr.: 8713003
TECElogo female connector red brass
Push-fitting with integrated grip
function. For potable water and heating
installations.
Material: Red brass
Dimension: 20 x Rp 3/4”
Bestell-Nr.: 8713004
TECElogo female connector red brass
Push-fitting with integrated grip
function. For potable water and heating
installations.
Material: Red brass
Dimension: 25 x Rp 3/4”
Bestell-Nr.: 8713005
TECElogo female connector red brass
Push-fitting with integrated grip
function. For potable water and heating
installations.
Material: Red brass
Dimension: 25 x Rp 1”
Bestell-Nr.: 8713006
TECElogo female connector red brass
Push-fitting with integrated grip
function. For potable water and heating
installations.
Material: Red brass
Dimension: 32 x Rp 1”
Bestell-Nr.: 8713007
TECElogo female connector red brass
Push-fitting with integrated grip
function. For potable water and heating
installations.
Material: Red brass
Dimension: 40 x Rp 1 1/2”
Bestell-Nr.: 8713008
TECElogo female connector red brass
Push-fitting with integrated grip
function. For potable water and heating
installations.
Material: Red brass
Dimension: 50 x Rp 2”
Bestell-Nr.: 8713009
TECElogo female connector red brass
Push-fitting with integrated grip
function. For potable water and heating
installations.
Material: Red brass
Dimension: 63 x Rp 2”
Bestell-Nr.: 8713010
TECElogo male connector red brass
Push-fitting with integrated grip
function. For potable water and heating
installations.
Material: Red brass
Dimension: 16 x R 1/2”
Bestell-Nr.: 8713102
TECElogo male connector red brass
Push-fitting with integrated grip
function. For potable water and heating
installations.
Material: Red brass
Dimension: 16 x R 3/4”
Bestell-Nr.: 8713103
TECElogo male connector red brass
Push-fitting with integrated grip
function. For potable water and heating
installations.
Material: Red brass
Dimension: 20 x R 1/2”
Bestell-Nr.: 8713104
TECElogo male connector red brass
Push-fitting with integrated grip
function. For potable water and heating
installations.
Material: Red brass
Dimension: 20 x R 3/4”
Bestell-Nr.: 8713105
TECElogo male connector red brass
Push-fitting with integrated grip
function. For potable water and heating
installations.
Material: Red brass
Dimension: 25 x R 3/4”
Bestell-Nr.: 8713106
TECElogo male connector red brass
Push-fitting with integrated grip
function. For potable water and heating
installations.
Material: Red brass
Dimension: 25 x R 1”
Bestell-Nr.: 8713107
TECElogo male connector red brass
Push-fitting with integrated grip
function. For potable water and heating
installations.
Material: Red brass
Dimension: 32 x R 1”
Bestell-Nr.: 8713108
TECElogo male connector red brass
Push-fitting with integrated grip
function. For potable water and heating
installations.
Material: Red brass
Dimension: 40 x R 1 1/4”
Bestell-Nr.: 8713109
TECElogo male connector red brass
Push-fitting with integrated grip
function. For potable water and heating
installations.
Material: Red brass
Dimension: 50 x R 1 1/2”
Bestell-Nr.: 8713110
TECElogo male connector red brass
Push-fitting with integrated grip
function. For potable water and heating
installations.
Material: Red brass
Dimension: 63 x R 2”
Bestell-Nr.: 8713111
TECElogo female elbow red brass
Push-fitting with integrated grip
function. For potable water and heating
installations.
Material: Red brass
Dimension: 16 x Rp 1/2”
Bestell-Nr.: 8713202
TECElogo female elbow red brass
Push-fitting with integrated grip
function. For potable water and heating
installations.
Material: Red brass
Dimension: 20 x Rp 1/2”
Bestell-Nr.: 8713203
TECElogo female elbow red brass
Push-fitting with integrated grip
function. For potable water and heating
installations.
Material: Red brass
Dimension: 20 x Rp 3/4”
Bestell-Nr.: 8713204
TECElogo female elbow red brass
Push-fitting with integrated grip
function. For potable water and heating
installations.
Material: Red brass
Dimension: 25 x Rp 3/4”
Bestell-Nr.: 8713205
TECElogo female elbow red brass
Push-fitting with integrated grip
function. For potable water and heating
installations.
Material: Red brass
Dimension: 32 x Rp 1”
Bestell-Nr.: 8713206
TECElogo male elbow red brass
Push-fitting with integrated grip
function. For potable water and heating
installations.
Material: Red brass
Dimension: 16 x R 1/2”
Bestell-Nr.: 8713302
TECElogo male elbow red brass
Push-fitting with integrated grip
function. For potable water and heating
installations.
Material: Red brass
Dimension: 20 x R 1/2”
Bestell-Nr.: 8713303
TECElogo male elbow red brass
Push-fitting with integrated grip
function. For potable water and heating
installations.
Material: Red brass
Dimension: 20 x R 3/4”
Bestell-Nr.: 8713304
TECElogo male elbow red brass
Push-fitting with integrated grip
function. For potable water and heating
installations.
Material: Red brass
Dimension: 25 x R 3/4”
Bestell-Nr.: 8713305
TECElogo male elbow red brass
Push-fitting with integrated grip
function. For potable water and heating
installations.
Material: Red brass
Dimension: 25 x R 1”
Bestell-Nr.: 8713306
TECElogo male elbow red brass
Push-fitting with integrated grip
function. For potable water and heating
installations.
Material: Red brass
Dimension: 32 x R 1”
Bestell-Nr.: 8713307
TECElogo tee female thread red brass
Push-fitting with integrated grip
function. For potable water and heating
installations.
Material: Red brass
Dimension: 16 x Rp 1/2” x 16
Bestell-Nr.: 8713402
TECElogo tee female thread red brass
Push-fitting with integrated grip
function. For potable water and heating
installations.
Material: Red brass
Dimension: 20 x Rp 1/2” x 20
Bestell-Nr.: 8713403
TECElogo tee female thread red brass
Push-fitting with integrated grip
function. For potable water and heating
installations.
Material: Red brass
Dimension: 25 x Rp 3/4” x 25
Bestell-Nr.: 8713404
TECElogo tee female thread red brass
Push-fitting with integrated grip
function. For potable water and heating
installations.
Material: Red brass
Dimension: 32 x Rp 1” x 32
Bestell-Nr.: 8713405
TECElogo tee female thread red brass
Push-fitting with integrated grip
function. For potable water and heating
installations.
Material: Red brass
Dimension: 40 x Rp 1” x 40
Bestell-Nr.: 8713406
TECElogo tee female thread red brass
Push-fitting with integrated grip
function. For potable water and heating
installations.
Material: Red brass
Dimension: 50 x Rp 1 1/4” x 50
Bestell-Nr.: 8713407
TECElogo tee female thread red brass
Push-fitting with integrated grip
function. For potable water and heating
installations.
Material: Red brass
Dimension: 63 x Rp 1 1/2” x 63
Bestell-Nr.: 8713408
TECElogo wall disk brass Wall disk with
push-fitting with integrated grip
function.
Material: Brass
Dimension: 16 x Rp 1/2”
Bestell-Nr.: 8720002
TECElogo wall disk brass Wall disk with
push-fitting with integrated grip
function.
Material: Brass
Dimension: 20 x Rp 1/2”
Bestell-Nr.: 8720003
TECElogo double wall disk brass Double
wall disk with push-fitting with
integrated grip function.
Dimension: 16 x Rp 1/2” x 16
Bestell-Nr.: 8720007
TECElogo wall disk, long, brass Wall
disk, long, with push-fitting with
integrated grip function.
Dimension: 16 x Rp 1/2”
Bestell-Nr.: 8720008
TECElogo wall bushing brass Double wall
disk with push-fitting with integrated
grip function.
Dimension: 16 x Rp 1/2”
Bestell-Nr.: 8720009
TECElogo mounting unit 150 mm brass
Prefabricated mounting unit, dimension
150 mm. Consisting of two TECElogo wall
disks, mounted twist-proof on TECE wall
mount. Includes sound-proofing elements
and fastener for drain bend. For potable
water installations.
Dimension: 16 x Rp 1/2”
Bestell-Nr.: 8720100
TECElogo wall disk red brass Wall disk
with push-fitting with integrated grip
function. For potable water and heating
installations.
Material: Red brass
Dimension: 16 x Rp 1/2”
Bestell-Nr.: 8723002
TECElogo universal wall disk red brass
Universal wall disk with 20 mm plug-in
male thread for TECElogo push-fittings
with integrated grip function. For
potable water and heating installations.
Dimension: 20 x Rp 1/2”
Bestell-Nr.: 8723003
TECElogo universal wall disk, long, red
brass Universal wall disk, long, with 20
mm plug-in male thread for TECElogo
push-fittings with integrated grip
function. For potable water and heating
installations.
Dimension: 20 x Rp 1/2”
Bestell-Nr.: 8723008
TECElogo universal wall bushing red
brass Universal wall bushing with 16 mm
plug-in male thread for TECElogo
push-fittings with integrated grip
function. For potable water and heating
installations. With pressure ring,
screws and sound-insulation inserts, can
be adjusted for wall thicknesses of 18
to 25 mm.
Dimension: 16 x Rp 1/2”
Bestell-Nr.: 8723009
TECElogo universal double wall disk red
brass Universal double wall disk with 20
mm plug-in male thread for TECElogo
push-fittings with integrated grip
function. For potable water and heating
installations.
Dimension: 20 x Rp 1/2” x 20
Bestell-Nr.: 8723011
TECElogo mounting unit 150 mm red brass
Prefabricated mounting unit, dimension
150 mm. Consisting of two TECElogo wall
disks, mounted twist-proof on TECE wall
mount. Includes sound-proofing elements
and fastener for drain bend. For potable
water installations.
Dimension: 16 x Rp 1/2”
Bestell-Nr.: 8723100
TECElogo mounting unit 80 mm red brass
Prefabricated mounting unit, dimension
80 mm. Consisting of two TECElogo wall
disks, mounted twistproof on TECE wall
mount. Includes sound-proofing elements
and fastener for drain bend. For potable
water installations.
Dimension: 16 x Rp 1/2”
Bestell-Nr.: 8723101
TECElogo universal mounting unit 150 mm
red brass Prefabricated mounting unit,
dimension 150 mm. Consisting of two
TECElogo universal wall disks, mounted
twist-proof on TECE wall mount. Includes
sound-proofing elements and fastener for
drain bend. For potable water
installations.
Dimension: 20 x Rp 1/2”
Bestell-Nr.: 8723102
TECElogo manifold brass Manifold, 3/4”
without cap and stopper, with 3/8” fan
and stopper, with TECElogo push-fitting
with integrated grip function.
Dimension: 3/4” x 16 Two-way
Bestell-Nr.: 8730002
TECElogo manifold brass Manifold, 3/4”
without cap and stopper, with 3/8” fan
and stopper, with TECElogo push-fitting
with integrated grip function.
Dimension: 3/4” x 16 Three-way
Bestell-Nr.: 8730003
TECE universal mainfold, with shut-off
TECE manifold, valve with shut-off 3/4”
FT/MT, outlet 3/4” Eurocone
Material: Brass
Dimension: 3/4” x 3/4” EC Two-way
Bestell-Nr.: 8730006
TECE universal mainfold, with shut-off
TECE manifold, valve with shut-off 3/4”
FT/MT, outlet 3/4” Eurocone
Material: Brass
Dimension: 3/4” x 3/4” EC Three-way
Bestell-Nr.: 8730007
TECElogo manifold, shut-off TECElogo
manifold dimension 16 with shut-offs, 16
mm x 3/4”
Material: Brass
Dimension: 3/4” x 16 Two-way
Bestell-Nr.: 8730008
TECElogo manifold, shut-off TECElogo
manifold dimension 16 with shut-offs, 16
mm x 3/4”
Material: Brass
Dimension: 3/4” x 16 Three-way
Bestell-Nr.: 8730009
TECElogo push-in coupling
Material: Brass
Dimension: 25 x 20
Bestell-Nr.: 8730028
TECElogo push-in stopper
Material: Brass
Dimension: 16
Bestell-Nr.: 8730032
TECElogo pressing adapter red brass
Pressing adapter on stainless-steel or
copper pipes with TECElogo push-fitting
with integrated grip function.
Dimension: 16 x 15 mm
Bestell-Nr.: 8730100
TECElogo pressing adapter red brass
Pressing adapter on stainless-steel or
copper pipes with TECElogo push-fitting
with integrated grip function.
Dimension: 20 x 18 mm
Bestell-Nr.: 8730101
TECElogo pressing adapter red brass
Pressing adapter on stainless-steel or
copper pipes with TECElogo push-fitting
with integrated grip function.
Dimension: 25 x 22 mm
Bestell-Nr.: 8730102
TECElogo screw connection, flat sealing
brass
Material: Brass
Dimension: 16 x 3/8”
Bestell-Nr.: 8730200
TECElogo screw connection, flat sealing
brass
Material: Brass
Dimension: 16 x 1/2”
Bestell-Nr.: 8730201
TECElogo screw connection, flat sealing
brass
Material: Brass
Dimension: 16 x 3/4”
Bestell-Nr.: 8730202
TECElogo screw connection, flat sealing
brass
Material: Brass
Dimension: 20 x 3/4”
Bestell-Nr.: 8730203
TECElogo screw connection, flat sealing
brass
Material: Brass
Dimension: 25 x 1”
Bestell-Nr.: 8730204
TECElogo screw connection, flat sealing
brass
Material: Brass
Dimension: 32 x 1 1/4”
Bestell-Nr.: 8730205
TECElogo screw connection, flat sealing
brass
Material: Brass
Dimension: 32 x 1 1/2”
Bestell-Nr.: 8730206
TECElogo screw connection, flat sealing
brass
Material: Brass
Dimension: 40 x 1 1/2”
Bestell-Nr.: 8730207
TECElogo screw connection, flat sealing
brass
Material: Brass
Dimension: 50 x 1 1/2”
Bestell-Nr.: 8730210
TECElogo elbow coupling flat sealing
brass
Material: Brass
Dimension: 16 x 3/8”
Bestell-Nr.: 8730215
TECElogo elbow coupling flat sealing
brass
Material: Brass
Dimension: 16 x 1/2”
Bestell-Nr.: 8730216
TECElogo system adapter onto TECEflex
brass System adapter TECElogo/TECEflex.
Dimension: 16 x 16
Bestell-Nr.: 8730300
TECElogo system adapter onto TECEflex
brass System adapter TECElogo/TECEflex.
Dimension: 20 x 20
Bestell-Nr.: 8730301
TECElogo system adapter onto TECEflex
brass System adapter TECElogo/TECEflex.
Dimension: 25 x 25
Bestell-Nr.: 8730302
TECElogo universal manifold red brass
Universal manifold, 3/4” without cap and
plug with 20 mm plug-in male thread for
TECElogo push-fitting with integrated
grip function. For potable water and
heating installations.
Dimension: 3/4” x 20 Two-way
Bestell-Nr.: 8733002
TECElogo universal manifold red brass
Universal manifold, 3/4” without cap and
plug with 20 mm plug-in male thread for
TECElogo push-fitting with integrated
grip function. For potable water and
heating installations.
Dimension: 3/4” x 20 Three-way
Bestell-Nr.: 8733003
TECElogo screw connection, flat sealing
red brass Push-fitting with integrated
grip function. For potable water and
heating installations.
Material: Red brass
Dimension: 16 x 1/2”
Bestell-Nr.: 8733201
TECElogo screw connection, flat sealing
red brass Push-fitting with integrated
grip function. For potable water and
heating installations.
Material: Red brass
Dimension: 16 x 3/4”
Bestell-Nr.: 8733202
TECElogo screw connection, flat sealing
red brass Push-fitting with integrated
grip function. For potable water and
heating installations.
Material: Red brass
Dimension: 20 x 3/4”
Bestell-Nr.: 8733203
TECElogo screw connection, flat sealing
red brass Push-fitting with integrated
grip function. For potable water and
heating installations.
Material: Red brass
Dimension: 25 x 1”
Bestell-Nr.: 8733204
TECElogo screw connection, flat sealing
red brass Push-fitting with integrated
grip function. For potable water and
heating installations.
Material: Red brass
Dimension: 32 x 1 1/4”
Bestell-Nr.: 8733205
TECElogo pressure-testing plug with
ventilation brass Pressure-testing plug
with ventilation option. For heating
installations.
Dimension: 16
Bestell-Nr.: 8740001
TECElogo protection box for
cross-fittings Protection box for
TECElogo cross-fittings.
Dimension: 16-20
Bestell-Nr.: 8740100
TECElogo cross-fitting brass,
nickel-plated Cross-fitting with
push-fitting with integrated grip
function. For heating installations.
Dimension: 16 x 16 x 16
Bestell-Nr.: 8740101
TECElogo cross-fitting brass,
nickel-plated Cross-fitting with
push-fitting with integrated grip
function. For heating installations.
Dimension: 20 x 16 x 16
Bestell-Nr.: 8740102
TECElogo cross-fitting brass,
nickel-plated Cross-fitting with
push-fitting with integrated grip
function. For heating installations.
Dimension: 20 x 16 x 20
Bestell-Nr.: 8740103
TECElogo Eurocone clamped joint brass
Clamped joint for TECElogo multi-layer
composite pipe. For heating
installations.
Dimension: 16 x 3/4”
Bestell-Nr.: 8740216
TECElogo Eurocone clamped joint brass
Clamped joint for TECElogo multi-layer
composite pipe. For heating
installations.
Dimension: 20 x 3/4”
Bestell-Nr.: 8740220
TECElogo radiator mounting elbow
Radiator mounting elbow with
push-fitting with integrated grip
function. For heating installations. 15
mm copper pipe, nickel-plated.
Dimension: 16 x 15 mm Cu
Bestell-Nr.: 8740401
TECElogo radiator mounting elbow
Radiator mounting elbow with
push-fitting with integrated grip
function. For heating installations. 15
mm copper pipe, nickel-plated.
Dimension: 20 x 15 mm Cu
Bestell-Nr.: 8740402
TECElogo radiator mounting tee Radiator
mounting tee with push-fitting with
integrated grip function. For heating
installations. 15 mm copper pipe,
nickel-plated.
Dimension: 16 x 15 mm Cu
Bestell-Nr.: 8740403
TECElogo radiator mounting tee Radiator
mounting tee with push-fitting with
integrated grip function. For heating
installations. 15 mm copper pipe,
nickel-plated.
Dimension: 20 x 15 mm Cu
Bestell-Nr.: 8740404
TECElogo radiator mounting set Radiator
mounting set with push-fitting with
integrated grip function. For compact
radiator with integrated valve,
floor-mounted. For heating
installations. 15 mm copper pipe,
nickel-plated.
Dimension: 16 x 15 mm Cu
Bestell-Nr.: 8740405
TECElogo radiator mounting set Radiator
mounting set with push-fitting with
integrated grip function. For compact
radiator with integrated valve,
wall-mounted. For heating installations.
15 mm copper pipe, nickel-plated.
Dimension: 16
Bestell-Nr.: 8740406
TECElogo skirting board radiator
connection set Skirting board radiator
connection set, nickel-plated brass, for
flow and return pipes incl. 2 clamping
ring connections 1/2” x 15 Cu, with
TECElogo push-fitting with integrated
grip function.
Dimension: 16 x 15 Cu x 16
Bestell-Nr.: 8740421
TECElogo skirting board radiator
connection set Skirting board radiator
connection set, nickel-plated brass, for
flow and return pipes incl. 2 clamping
ring connections 1/2” x 15 Cu, with
TECElogo push-fitting with integrated
grip function.
Dimension: 20 x 15 Cu x 20
Bestell-Nr.: 8740422
TECElogo skirting board radiator
connection set Skirting board radiator
connection set, nickel-plated brass, for
flow and return pipes incl. 2 clamping
ring connections 1/2” x 15 Cu, with
TECElogo push-fitting with integrated
grip function.
Dimension: 16 x 15 Cu x plug
Bestell-Nr.: 8740423
TECElogo skirting board radiator
connection set Skirting board radiator
connection set, nickel-plated brass, for
flow and return pipes incl. 2 clamping
ring connections 1/2” x 15 Cu, with
TECElogo push-fitting with integrated
grip function.
Dimension: Plug x 15 Cu x 16
Bestell-Nr.: 8740424
TECE thermostat head Thermostat head M
30 x 1.5, setting range 1-5 (equivalent
to 7-28 Grad C).
Bestell-Nr.: 8740430
TECE thermostat valve body, through type
Thermostat valve body, through type,
preconfigurable.
Dimension: R 1/2” x Rp 1/2”
Bestell-Nr.: 8740431
TECE thermostat valve body, corner type
Thermostat valve body, corner type,
preconfigurable.
Dimension: R 1/2” x Rp 1/2”
Bestell-Nr.: 8740432
TECE radiator return screw connection,
through type Radiator return screw
connection, through version.
Dimension: R 1/2” x Rp 1/2”
Bestell-Nr.: 8740433
TECE radiator return screw connection,
corner type Radiator return screw
connection, corner version.
Dimension: R 1/2” x Rp 1/2”
Bestell-Nr.: 8740434
TECE two-pipe valve block for HC,
through type Two-pipe valve block for
radiator, through type witlh 3/4”
Eurocone.
Dimension: 3/4” x 3/4”
Bestell-Nr.: 8740435
TECE two-pipe valve block for HC, corner
type Two-pipe valve block for radiator,
corner type with 3/4” Eurocone.
Dimension: 3/4” x 3/4”
Bestell-Nr.: 8740436
TECE two-pipe valve block for HC 1/2”
FT, through type Two-pipe valve block
for radiator, through type with 1/2”
female thread and 3/4” Eurocone.
Dimension: 3/4” EC x 1/2” AG
Bestell-Nr.: 8740437
TECE two-pipe valve block for HC 1/2”
FT, corner type Two-pipe valve block for
radiator, corner type with 1/2” female
thread and 3/4” Eurocone.
Dimension: 3/4” EC x 1/2” AG
Bestell-Nr.: 8740438
TECE EK Eurocone clamped joint for
copper pipes EC clamped joint for copper
pipes 15 x 1 mm, with nickel-plated 3/4”
union nut and Eurocone.
Dimension: 3/4” for copper pipe 15 x 1
Bestell-Nr.: 8740439
TECElogo radiator mounting unit Radiator
mounting unit for compact radiator with
integrated valve, with pre-insulated
multi-layer composite pipe, 9 mm
insulation, (Lambda)R 0.040 W/(mK).
Dimension: 16
Bestell-Nr.: 8740550
TECElogo handle for calibration and
chamfering tool
Dimension: 16-63
Bestell-Nr.: 8760000
TECElogo tool case Tool case with pipe
scissors, calibrating and chamfering
tools, handle and disassembly tools.
Dimension: 16-25
Bestell-Nr.: 8760001
TECE pipe scissor
Dimension: 14-25
Bestell-Nr.: 8760002
TECElogo quick change tool holder for
calibration and chamfering tool Quick
change tool holder for use in cordless
screwdrivers and drills. Facilitates
rapid exchange of calibration tools.
Dimension: 16-63
Bestell-Nr.: 8760005
TECElogo pipe holding pliers Pipe
holding pliers with grip-lock to
securely hold 16-25 mm TECElogo pipes
during calibration process.
Dimension: 16-25
Bestell-Nr.: 8760006
TECElogo tool case Tool case with pipe
scissors, calibrating and chamfering
tools, handle and disassembly tools.
Dimension: 32-50
Bestell-Nr.: 8760007
TECE pipe cutter
Dimension: 14-63
Bestell-Nr.: 8760008
TECElogo tool case Tool case with pipe
scissors, calibrating and chamfering
tools, handle and disassembly tools.
Dimension: 32-40
Bestell-Nr.: 8760010
TECElogo calibration and chamfering tool
Dimension: 16
Bestell-Nr.: 8760016
TECElogo calibration and chamfering tool
Dimension: 20
Bestell-Nr.: 8760020
TECElogo calibration and chamfering tool
Dimension: 25
Bestell-Nr.: 8760025
TECElogo calibration and chamfering tool
Dimension: 32
Bestell-Nr.: 8760032
TECElogo calibration and chamfering tool
Dimension: 40
Bestell-Nr.: 8760040
TECElogo calibration and chamfering tool
Dimension: 50
Bestell-Nr.: 8760050
TECElogo calibration and chamfering tool
Dimension: 63
Bestell-Nr.: 8760063
TECElogo disassembly key 16/20
Dimension: 16/20
Bestell-Nr.: 8760103
TECElogo disassembly key
Dimension: 25
Bestell-Nr.: 8760125
TECElogo disassembly key
Dimension: 32
Bestell-Nr.: 8760132
TECElogo disassembly key
Dimension: 40
Bestell-Nr.: 8760140
TECElogo disassembly key
Dimension: 50
Bestell-Nr.: 8760150
TECElogo disassembly key
Dimension: 63
Bestell-Nr.: 8760163
TECElogo inner bending spring Inner
bending spring for ISO composite pipe.
Dimension: 16
Bestell-Nr.: 8760216
TECElogo inner bending spring Inner
bending spring for ISO composite pipe.
Dimension: 20
Bestell-Nr.: 8760220
TECElogo inner bending spring Inner
bending spring for ISO composite pipe.
Dimension: 25
Bestell-Nr.: 8760225
TECElogo outer bending spring Outer
bending spring for ISO composite pipe.
Dimension: 16
Bestell-Nr.: 8760316
TECElogo outer bending spring Outer
bending spring for ISO composite pipe.
Dimension: 20
Bestell-Nr.: 8760320
TECElogo outer bending spring Outer
bending spring for ISO composite pipe.
Dimension: 25
Bestell-Nr.: 8760325
TECElogo disassembly open-end wrench
Dimension: 16
Bestell-Nr.: 8760416
TECElogo disassembly open-end wrench
Dimension: 20
Bestell-Nr.: 8760420
TECElogo disassembly open-end wrench
Dimension: 25
Bestell-Nr.: 8760425
TECElogo disassembly open-end wrench
Dimension: 32
Bestell-Nr.: 8760432
TECElogo disassembly open-end wrench
Dimension: 40
Bestell-Nr.: 8760440
TECElogo disassembly open-end wrench
Dimension: 50
Bestell-Nr.: 8760450
TECElogo disassembly open-end wrench
Dimension: 63
Bestell-Nr.: 8760463
TECElogo UP with ball valve with
handwheel Concealed ball valve for
shutting off TECElogo pipes. Body and
screw-in part made of brass in
accordance with DIN EN 12164. Spindle
with 2 O-rings, providing better guiding
of the spindle and double safety. Ball
made of chrome-plated brass. Ball sleeve
made of PTFE. Full penetration,
therefore minimum loss of pressure.Max.
permanent operating pressure: 90 Grad C.
Pressure rating: 10
bar.Design:„„TECElogo connection on both
sidesWith covering anchor plate and
handle (chrome-plated)With colour coding
(red/blue)
Material: Brass
Dimension: 16
Bestell-Nr.: 8780016
TECElogo UP with ball valve with
handwheel Concealed ball valve for
shutting off TECElogo pipes. Body and
screw-in part made of brass in
accordance with DIN EN 12164. Spindle
with 2 O-rings, providing better guiding
of the spindle and double safety. Ball
made of chrome-plated brass. Ball sleeve
made of PTFE. Full penetration,
therefore minimum loss of pressure.Max.
permanent operating pressure: 90 Grad C.
Pressure rating: 10
bar.Design:„„TECElogo connection on both
sidesWith covering anchor plate and
handle (chrome-plated)With colour coding
(red/blue)
Material: Brass
Dimension: 20
Bestell-Nr.: 8780020
TECElogo UP with ball valve with dummy
cap Concealed ball valve for shutting
off TECElogo pipes. Body and screw-in
part made of brass in accordance with
DIN EN 12164. Spindle with 2 O-rings,
providing better guiding of the spindle
and double safety. Ball made of
chrome-plated brass. Ball sleeve made of
PTFE. Full penetration, therefore
minimum loss of pressure.Max. Permanent
operating pressure: 90 Grad C. Pressure
rating: 10 bar.Design:„„TECElogo
connection on both sidesCovering anchor
plate and dummy cap (chrome-plated)Key
for shut-offColour coding (red/blue)
Material: Brass
Dimension: 16
Bestell-Nr.: 8780116
TECElogo UP with ball valve with dummy
cap Concealed ball valve for shutting
off TECElogo pipes. Body and screw-in
part made of brass in accordance with
DIN EN 12164. Spindle with 2 O-rings,
providing better guiding of the spindle
and double safety. Ball made of
chrome-plated brass. Ball sleeve made of
PTFE. Full penetration, therefore
minimum loss of pressure.Max. Permanent
operating pressure: 90 Grad C. Pressure
rating: 10 bar.Design:„„TECElogo
connection on both sidesCovering anchor
plate and dummy cap (chrome-plated)Key
for shut-offColour coding (red/blue)
Material: Brass
Dimension: 20
Bestell-Nr.: 8780120
TECE UP extension Concealed extension 23
mm for concealed ball valves 1/2”.
Dimension: 1/2”
Bestell-Nr.: 8780200
TECElogo starter set (brass/PPSU)
Starter set with the standard components
of the TECElogo range made of brass and
PPSU (dimension 16), incl. tool.
Bestell-Nr.: 8790001
TECElogo initial equipment package incl.
tool (brass/PPSU) Initial equipment
package with standard components from
the TECElogo range (dimension 16-25) and
tool.
Bestell-Nr.: 8790002
TECElogo starter set (red brass/PPSU)
Assortment case with common components
of the TECElogo assortment (dimension
16) and tools. Threaded components made
of red brass.
Bestell-Nr.: 8790003
TECElogo O-rings
Dimension: 16
Bestell-Nr.: 8790116
TECElogo O-rings
Dimension: 20
Bestell-Nr.: 8790120
TECElogo O-rings
Dimension: 25
Bestell-Nr.: 8790125
TECElogo O-rings
Dimension: 32
Bestell-Nr.: 8790132
TECElogo O-rings
Dimension: 40
Bestell-Nr.: 8790140
TECElogo O-rings
Dimension: 50
Bestell-Nr.: 8790150
TECElogo O-rings
Dimension: 63
Bestell-Nr.: 8790163
TECEfloor
TECE laying winder Foldable, variably
adjustable for TECEflex and TECElogo
rolls up 600 m length.
Dimension: up to 600 m
Bestell-Nr.: 720193
TECEfloor SLQ PE-RT type 2 underfloor
heating pipe Radiant heating pipe to DIN
16833/16834 made of PE-RT type 2 (higher
density and improved resistance to
internal pressure).SLQ quality-monitored
and tested for compatibility,
oxygen-tight to DIN 4726.DIN CERTCO
3V353 PE-RT
Dimension: 14 x 2 mm
Bestell-Nr.: 77121430
TECEfloor SLQ PE-RT type 2 underfloor
heating pipe Radiant heating pipe to DIN
16833/16834 made of PE-RT type 2 (higher
density and improved resistance to
internal pressure).SLQ quality-monitored
and tested for compatibility,
oxygen-tight to DIN 4726.DIN CERTCO
3V353 PE-RT
Dimension: 14 x 2 mm
Bestell-Nr.: 77121460
TECEfloor SLQ PE-RT type 2 underfloor
heating pipe Radiant heating pipe to DIN
16833/16834 made of PE-RT type 2 (higher
density and improved resistance to
internal pressure).SLQ quality-monitored
and tested for compatibility,
oxygen-tight to DIN 4726.DIN CERTCO
3V353 PE-RT
Dimension: 16 x 2 mm
Bestell-Nr.: 77121612
TECEfloor SLQ PE-RT type 2 underfloor
heating pipe Radiant heating pipe to DIN
16833/16834 made of PE-RT type 2 (higher
density and improved resistance to
internal pressure).SLQ quality-monitored
and tested for compatibility,
oxygen-tight to DIN 4726.DIN CERTCO
3V353 PE-RT
Dimension: 16 x 2 mm
Bestell-Nr.: 77121630
TECEfloor SLQ PE-RT type 2 underfloor
heating pipe Radiant heating pipe to DIN
16833/16834 made of PE-RT type 2 (higher
density and improved resistance to
internal pressure).SLQ quality-monitored
and tested for compatibility,
oxygen-tight to DIN 4726.DIN CERTCO
3V353 PE-RT
Dimension: 16 x 2 mm
Bestell-Nr.: 77121660
TECEfloor SLQ PE-RT type 2 underfloor
heating pipe Radiant heating pipe to DIN
16833/16834 made of PE-RT type 2 (higher
density and improved resistance to
internal pressure).SLQ quality-monitored
and tested for compatibility,
oxygen-tight to DIN 4726.DIN CERTCO
3V353 PE-RT
Dimension: 17 x 2 mm
Bestell-Nr.: 77121712
TECEfloor SLQ PE-RT type 2 underfloor
heating pipe Radiant heating pipe to DIN
16833/16834 made of PE-RT type 2 (higher
density and improved resistance to
internal pressure).SLQ quality-monitored
and tested for compatibility,
oxygen-tight to DIN 4726.DIN CERTCO
3V353 PE-RT
Dimension: 17 x 2 mm
Bestell-Nr.: 77121730
TECEfloor SLQ PE-RT type 2 underfloor
heating pipe Radiant heating pipe to DIN
16833/16834 made of PE-RT type 2 (higher
density and improved resistance to
internal pressure).SLQ quality-monitored
and tested for compatibility,
oxygen-tight to DIN 4726.DIN CERTCO
3V353 PE-RT
Dimension: 17 x 2 mm
Bestell-Nr.: 77121756
TECEfloor SLQ PE-RT type 2 underfloor
heating pipe Radiant heating pipe to DIN
16833/16834 made of PE-RT type 2 (higher
density and improved resistance to
internal pressure).SLQ quality-monitored
and tested for compatibility,
oxygen-tight to DIN 4726.DIN CERTCO
3V353 PE-RT
Dimension: 20 x 2 mm
Bestell-Nr.: 77122030
TECEfloor SLQ PE-RT type 2 underfloor
heating pipe Radiant heating pipe to DIN
16833/16834 made of PE-RT type 2 (higher
density and improved resistance to
internal pressure).SLQ quality-monitored
and tested for compatibility,
oxygen-tight to DIN 4726.DIN CERTCO
3V353 PE-RT
Dimension: 20 x 2 mm
Bestell-Nr.: 77122060
TECEfloor SLQ PE-Xc underfloor heating
pipe Underfloor heating pipe to DIN
16892/16893 made of electron beam
cross-linked, high-density polyethylene.
The special process of physically
cross-linking the chains of molecules
reliably prevents cracks propagating
form notches and grooves.SLQ
quality-monitored and tested for
compatibility, oxygen-tight to DIN
4726.DIN CERTCO 3V355 PE-Xc
Dimension: 14 x 2 mm
Bestell-Nr.: 77131430
TECEfloor SLQ PE-Xc underfloor heating
pipe Underfloor heating pipe to DIN
16892/16893 made of electron beam
cross-linked, high-density polyethylene.
The special process of physically
cross-linking the chains of molecules
reliably prevents cracks propagating
form notches and grooves.SLQ
quality-monitored and tested for
compatibility, oxygen-tight to DIN
4726.DIN CERTCO 3V355 PE-Xc
Dimension: 14 x 2 mm
Bestell-Nr.: 77131460
TECEfloor SLQ PE-Xc underfloor heating
pipe Underfloor heating pipe to DIN
16892/16893 made of electron beam
cross-linked, high-density polyethylene.
The special process of physically
cross-linking the chains of molecules
reliably prevents cracks propagating
form notches and grooves.SLQ
quality-monitored and tested for
compatibility, oxygen-tight to DIN
4726.DIN CERTCO 3V355 PE-Xc
Dimension: 16 x 2 mm
Bestell-Nr.: 77131612
TECEfloor SLQ PE-Xc underfloor heating
pipe Underfloor heating pipe to DIN
16892/16893 made of electron beam
cross-linked, high-density polyethylene.
The special process of physically
cross-linking the chains of molecules
reliably prevents cracks propagating
form notches and grooves.SLQ
quality-monitored and tested for
compatibility, oxygen-tight to DIN
4726.DIN CERTCO 3V355 PE-Xc
Dimension: 16 x 2 mm
Bestell-Nr.: 77131630
TECEfloor SLQ PE-Xc underfloor heating
pipe Underfloor heating pipe to DIN
16892/16893 made of electron beam
cross-linked, high-density polyethylene.
The special process of physically
cross-linking the chains of molecules
reliably prevents cracks propagating
form notches and grooves.SLQ
quality-monitored and tested for
compatibility, oxygen-tight to DIN
4726.DIN CERTCO 3V355 PE-Xc
Dimension: 16 x 2 mm
Bestell-Nr.: 77131660
TECEfloor SLQ PE-Xc underfloor heating
pipe Underfloor heating pipe to DIN
16892/16893 made of electron beam
cross-linked, high-density polyethylene.
The special process of physically
cross-linking the chains of molecules
reliably prevents cracks propagating
form notches and grooves.SLQ
quality-monitored and tested for
compatibility, oxygen-tight to DIN
4726.DIN CERTCO 3V355 PE-Xc
Dimension: 17 x 2 mm
Bestell-Nr.: 77131712
TECEfloor SLQ PE-Xc underfloor heating
pipe Underfloor heating pipe to DIN
16892/16893 made of electron beam
cross-linked, high-density polyethylene.
The special process of physically
cross-linking the chains of molecules
reliably prevents cracks propagating
form notches and grooves.SLQ
quality-monitored and tested for
compatibility, oxygen-tight to DIN
4726.DIN CERTCO 3V355 PE-Xc
Dimension: 17 x 2 mm
Bestell-Nr.: 77131730
TECEfloor SLQ PE-Xc underfloor heating
pipe Underfloor heating pipe to DIN
16892/16893 made of electron beam
cross-linked, high-density polyethylene.
The special process of physically
cross-linking the chains of molecules
reliably prevents cracks propagating
form notches and grooves.SLQ
quality-monitored and tested for
compatibility, oxygen-tight to DIN
4726.DIN CERTCO 3V355 PE-Xc
Dimension: 17 x 2 mm
Bestell-Nr.: 77131756
TECEfloor SLQ PE-Xc underfloor heating
pipe Underfloor heating pipe to DIN
16892/16893 made of electron beam
cross-linked, high-density polyethylene.
The special process of physically
cross-linking the chains of molecules
reliably prevents cracks propagating
form notches and grooves.SLQ
quality-monitored and tested for
compatibility, oxygen-tight to DIN
4726.DIN CERTCO 3V355 PE-Xc
Dimension: 20 x 2 mm
Bestell-Nr.: 77132030
TECEfloor SLQ PE-Xc underfloor heating
pipe Underfloor heating pipe to DIN
16892/16893 made of electron beam
cross-linked, high-density polyethylene.
The special process of physically
cross-linking the chains of molecules
reliably prevents cracks propagating
form notches and grooves.SLQ
quality-monitored and tested for
compatibility, oxygen-tight to DIN
4726.DIN CERTCO 3V355 PE-Xc
Dimension: 20 x 2 mm
Bestell-Nr.: 77132061
TECEfloor SLQ PE-MDXc 5S underfloor
heating pipe Five-layer radiant heating
pipe to DIN 16894/16895 made of
cross-linked medium density
polyethylene.SLQ quality-monitored and
tested for compatibility, oxygen-tight
to DIN EN ISO 21003-2 and DIN 4726.DIN
CERTCO 3V373 MVR
Dimension: 16 x 2 mm
Bestell-Nr.: 77141612
TECEfloor SLQ PE-MDXc 5S underfloor
heating pipe Five-layer radiant heating
pipe to DIN 16894/16895 made of
cross-linked medium density
polyethylene.SLQ quality-monitored and
tested for compatibility, oxygen-tight
to DIN EN ISO 21003-2 and DIN 4726.DIN
CERTCO 3V373 MVR
Dimension: 16 x 2 mm
Bestell-Nr.: 77141630
TECEfloor SLQ PE-MDXc 5S underfloor
heating pipe Five-layer radiant heating
pipe to DIN 16894/16895 made of
cross-linked medium density
polyethylene.SLQ quality-monitored and
tested for compatibility, oxygen-tight
to DIN EN ISO 21003-2 and DIN 4726.DIN
CERTCO 3V373 MVR
Dimension: 16 x 2 mm
Bestell-Nr.: 77141660
TECEfloor SLQ AI/PE-RT underfloor
heating pipe Aluminium-plastic composite
pipe for underfloor heating,
manufactured in accordance with DIN
16836. Specially developed for radiant
heating systems with soft aluminium
casing. Particularly flexible to lay as
a consequence, but nevertheless
sufficiently dimensionally stable. Ideal
for dry-wall construction, dimpled
sheets, lattice mats, clip rails and
wall heating.100 % impervious to oxygen
diffusion thanks to butt-welded
aluminium casing.DIN CERTCO 3V377 MVR
(M)
Dimension: 16 x 2 mm
Bestell-Nr.: 77151612
TECEfloor SLQ AI/PE-RT underfloor
heating pipe Aluminium-plastic composite
pipe for underfloor heating,
manufactured in accordance with DIN
16836. Specially developed for radiant
heating systems with soft aluminium
casing. Particularly flexible to lay as
a consequence, but nevertheless
sufficiently dimensionally stable. Ideal
for dry-wall construction, dimpled
sheets, lattice mats, clip rails and
wall heating.100 % impervious to oxygen
diffusion thanks to butt-welded
aluminium casing.DIN CERTCO 3V377 MVR
(M)
Dimension: 16 x 2 mm
Bestell-Nr.: 77151630
TECEfloor SLQ AI/PE-RT underfloor
heating pipe Aluminium-plastic composite
pipe for underfloor heating,
manufactured in accordance with DIN
16836. Specially developed for radiant
heating systems with soft aluminium
casing. Particularly flexible to lay as
a consequence, but nevertheless
sufficiently dimensionally stable. Ideal
for dry-wall construction, dimpled
sheets, lattice mats, clip rails and
wall heating.100 % impervious to oxygen
diffusion thanks to butt-welded
aluminium casing.DIN CERTCO 3V377 MVR
(M)
Dimension: 16 x 2 mm
Bestell-Nr.: 77151660
TECEfloor SLQ Eurocone clamping ring
connection Clamping ring connection with
defined limit stop to prevent
overtightening, with plastic clamping
ring to protect the pipe surface from
scratches and score marks, Eurocone
compatible with SLQ heating circuit
manifold, O-ring and clamping ring keyed
to SLQ radiant heating pipes, with
nickel-plated union nut Rp 3/4” and
Eurocone, marked with system ID and
dimensions. SLQ quality-monitored,
tested for compatibility and component
of the DIN CERTCO certified TECEfloor
pipe systems:3V353 PE-RT / 3V355 PE-Xc /
3V373 MVR / 3V377 MVR (M)
Dimension: 14
Bestell-Nr.: 77211400
TECEfloor SLQ Eurocone clamping ring
connection Clamping ring connection with
defined limit stop to prevent
overtightening, with plastic clamping
ring to protect the pipe surface from
scratches and score marks, Eurocone
compatible with SLQ heating circuit
manifold, O-ring and clamping ring keyed
to SLQ radiant heating pipes, with
nickel-plated union nut Rp 3/4” and
Eurocone, marked with system ID and
dimensions. SLQ quality-monitored,
tested for compatibility and component
of the DIN CERTCO certified TECEfloor
pipe systems:3V353 PE-RT / 3V355 PE-Xc /
3V373 MVR / 3V377 MVR (M)
Dimension: 16
Bestell-Nr.: 77211600
TECEfloor SLQ Eurocone clamping ring
connection Clamping ring connection with
defined limit stop to prevent
overtightening, with plastic clamping
ring to protect the pipe surface from
scratches and score marks, Eurocone
compatible with SLQ heating circuit
manifold, O-ring and clamping ring keyed
to SLQ radiant heating pipes, with
nickel-plated union nut Rp 3/4” and
Eurocone, marked with system ID and
dimensions. SLQ quality-monitored,
tested for compatibility and component
of the DIN CERTCO certified TECEfloor
pipe systems:3V353 PE-RT / 3V355 PE-Xc /
3V373 MVR / 3V377 MVR (M)
Dimension: 17
Bestell-Nr.: 77211700
TECEfloor SLQ Eurocone clamping ring
connection Clamping ring connection with
defined limit stop to prevent
overtightening, with plastic clamping
ring to protect the pipe surface from
scratches and score marks, Eurocone
compatible with SLQ heating circuit
manifold, O-ring and clamping ring keyed
to SLQ radiant heating pipes, with
nickel-plated union nut Rp 3/4” and
Eurocone, marked with system ID and
dimensions. SLQ quality-monitored,
tested for compatibility and component
of the DIN CERTCO certified TECEfloor
pipe systems:3V353 PE-RT / 3V355 PE-Xc /
3V373 MVR / 3V377 MVR (M)
Dimension: 20
Bestell-Nr.: 77212000
TECEfloor SLQ coupling with pressure
sleeves for all-plastic pipes Pressure
sleeve coupling for PE-Xc-, PE-RT and
MDXc all-plastic pipes, for permanent
and O-ring-free connection, not suitable
for AL composite pipes (AL/PE-RT), low
pressure loss thanks to expansion
technology.SLQ quality-monitored, tested
for compatibility and component of the
DIN CERTCO certified TECEfloor pipe
systems:3V353 PE-RT / 3V355 PE-Xc /
3V373 MVR
Dimension: 14 x 14
Bestell-Nr.: 77220014
TECEfloor pressure sleeve coupling for
SLQ Al/PE-RT radiant heating pipe PPSU
pressure sleeve coupling specially
designed for SLQ Al/PE-RT underfloor
heating pipes, for permanent and
O-ring-free connection, low pressure
loss thanks to expansion technology.SLQ
quality-monitored and tested for
compatibility.Use the TECEflex push
sleeve tool DIM 16 to process the set
consisting of a PPSU coupling and
specially adapted pressure sleeve.
Dimension: 16 x 16
Bestell-Nr.: 77220015
TECEfloor SLQ coupling with pressure
sleeves for all-plastic pipes Pressure
sleeve coupling for PE-Xc-, PE-RT and
MDXc all-plastic pipes, for permanent
and O-ring-free connection, not suitable
for AL composite pipes (AL/PE-RT), low
pressure loss thanks to expansion
technology.SLQ quality-monitored, tested
for compatibility and component of the
DIN CERTCO certified TECEfloor pipe
systems:3V353 PE-RT / 3V355 PE-Xc /
3V373 MVR
Dimension: 16 x 16
Bestell-Nr.: 77220016
TECEfloor SLQ coupling with pressure
sleeves for all-plastic pipes Pressure
sleeve coupling for PE-Xc-, PE-RT and
MDXc all-plastic pipes, for permanent
and O-ring-free connection, not suitable
for AL composite pipes (AL/PE-RT), low
pressure loss thanks to expansion
technology.SLQ quality-monitored, tested
for compatibility and component of the
DIN CERTCO certified TECEfloor pipe
systems:3V353 PE-RT / 3V355 PE-Xc /
3V373 MVR
Dimension: 17 x 17
Bestell-Nr.: 77220017
TECEfloor SLQ coupling with pressure
sleeves for all-plastic pipes Pressure
sleeve coupling for PE-Xc-, PE-RT and
MDXc all-plastic pipes, for permanent
and O-ring-free connection, not suitable
for AL composite pipes (AL/PE-RT), low
pressure loss thanks to expansion
technology.SLQ quality-monitored, tested
for compatibility and component of the
DIN CERTCO certified TECEfloor pipe
systems:3V353 PE-RT / 3V355 PE-Xc /
3V373 MVR
Dimension: 20 x 20
Bestell-Nr.: 77220020
TECEfloor SLQ Eurocone universal
coupling Eurocone universal coupling,
double connector, nickel-plated,
compatible with all TECEfloor Eurocone
clamping ring connections.SLQ
quality-monitored and tested for
compatibility.
Dimension: 3/4” x 3/4”
Bestell-Nr.: 77220034
TECEfloor Eurocone push fitting type
TECElogo for SLQ MDXc- and AL/PE-RT
composite pipe Eurocone push fitting for
fast, easy and twist-free connection of
TECEfloor system pipes (order nos.
771416xx and 771516xx) to the heating
circuit manifold.Push fitting based on
innovative TECElogo technology.
Simplifies assembly and reliably
prevents torsion stress in the
connection area. Secure and resistant to
temperature changes, can subsequently be
disconnected using the TECEfloor system
tool.SLQ quality-monitored, tested for
compatibility and component of the DIN
CERTCO certified TECEfloor pipe systems
3V373 MVR and 3V377 MVR (M).
Dimension: 16
Bestell-Nr.: 77230016
TECEfloor push fit coupling 16-16 type
TECElogo for SLQ MDXc- and AL/PE-RT
composite pipe Push fit coupling for
fast, easy and twist-free connection of
TECEfloor system pipes, order nos.
771416xx and 771516xx. Push fitting on
the basis of the innovative TECElogo
technology. Secure and resistant to
temperature changes.SLQ
quality-monitored, tested for
compatibility and component of the DIN
CERTCO certified TECEfloor pipe systems
3V373 MVR and 3V377 MVR (M).
Dimension: 16
Bestell-Nr.: 77230017
TECEfloor quick-action air vent
TECEfloor quick-action air vent G1/2”
made of glass-fibre reinforced plastic,
with O-ring seal. To automatically vent
sealed heating systems to EN 12828.
Patented two-way venting principle
ensures high venting capacity. Suitable
for water and a water-glycol solution
with maximum 50 % glycol. Nominal
pressure max. 8 bar at 95 Grad C/3.5 bar
at 120 Grad C.
Bestell-Nr.: 77300001
TECEfloor stainless steel heating
circuit manifold with flow rate
indicator Stainless steel heating
circuit manifold, heating circuit
manifold bar with large chamber volume,
surface polished, sound-absorbent
plastic holder with fast assembly
function, with union nut 1” flat
sealing. Integrated return valves with
double O-ring seal on valve tappet,
valve disk with O-ring sealing for
permanently reliable closing of the
heating circuits, flow metre with
shut-off, 0.5-4 litres with locking
mechanism to DIN EN 1264-4.Sight glasses
can be exchanged under system pressure,
batch indication and tracking for the
unique identification of the manifold,
even after many years of operation
(supply of accessories and spare
parts).SLQ quality-monitored and tested
for compatibility. Every manifold is
100% tested for tightness and
function.Made in Germany
Version: 2 heating circuits
Bestell-Nr.: 77310002
TECEfloor stainless steel heating
circuit manifold with flow rate
indicator Stainless steel heating
circuit manifold, heating circuit
manifold bar with large chamber volume,
surface polished, sound-absorbent
plastic holder with fast assembly
function, with union nut 1” flat
sealing. Integrated return valves with
double O-ring seal on valve tappet,
valve disk with O-ring sealing for
permanently reliable closing of the
heating circuits, flow metre with
shut-off, 0.5-4 litres with locking
mechanism to DIN EN 1264-4.Sight glasses
can be exchanged under system pressure,
batch indication and tracking for the
unique identification of the manifold,
even after many years of operation
(supply of accessories and spare
parts).SLQ quality-monitored and tested
for compatibility. Every manifold is
100% tested for tightness and
function.Made in Germany
Version: 3 heating circuits
Bestell-Nr.: 77310003
TECEfloor stainless steel heating
circuit manifold with flow rate
indicator Stainless steel heating
circuit manifold, heating circuit
manifold bar with large chamber volume,
surface polished, sound-absorbent
plastic holder with fast assembly
function, with union nut 1” flat
sealing. Integrated return valves with
double O-ring seal on valve tappet,
valve disk with O-ring sealing for
permanently reliable closing of the
heating circuits, flow metre with
shut-off, 0.5-4 litres with locking
mechanism to DIN EN 1264-4.Sight glasses
can be exchanged under system pressure,
batch indication and tracking for the
unique identification of the manifold,
even after many years of operation
(supply of accessories and spare
parts).SLQ quality-monitored and tested
for compatibility. Every manifold is
100% tested for tightness and
function.Made in Germany
Version: 4 heating circuits
Bestell-Nr.: 77310004
TECEfloor stainless steel heating
circuit manifold with flow rate
indicator Stainless steel heating
circuit manifold, heating circuit
manifold bar with large chamber volume,
surface polished, sound-absorbent
plastic holder with fast assembly
function, with union nut 1” flat
sealing. Integrated return valves with
double O-ring seal on valve tappet,
valve disk with O-ring sealing for
permanently reliable closing of the
heating circuits, flow metre with
shut-off, 0.5-4 litres with locking
mechanism to DIN EN 1264-4.Sight glasses
can be exchanged under system pressure,
batch indication and tracking for the
unique identification of the manifold,
even after many years of operation
(supply of accessories and spare
parts).SLQ quality-monitored and tested
for compatibility. Every manifold is
100% tested for tightness and
function.Made in Germany
Version: 5 heating circuits
Bestell-Nr.: 77310005
TECEfloor stainless steel heating
circuit manifold with flow rate
indicator Stainless steel heating
circuit manifold, heating circuit
manifold bar with large chamber volume,
surface polished, sound-absorbent
plastic holder with fast assembly
function, with union nut 1” flat
sealing. Integrated return valves with
double O-ring seal on valve tappet,
valve disk with O-ring sealing for
permanently reliable closing of the
heating circuits, flow metre with
shut-off, 0.5-4 litres with locking
mechanism to DIN EN 1264-4.Sight glasses
can be exchanged under system pressure,
batch indication and tracking for the
unique identification of the manifold,
even after many years of operation
(supply of accessories and spare
parts).SLQ quality-monitored and tested
for compatibility. Every manifold is
100% tested for tightness and
function.Made in Germany
Version: 6 heating circuits
Bestell-Nr.: 77310006
TECEfloor stainless steel heating
circuit manifold with flow rate
indicator Stainless steel heating
circuit manifold, heating circuit
manifold bar with large chamber volume,
surface polished, sound-absorbent
plastic holder with fast assembly
function, with union nut 1” flat
sealing. Integrated return valves with
double O-ring seal on valve tappet,
valve disk with O-ring sealing for
permanently reliable closing of the
heating circuits, flow metre with
shut-off, 0.5-4 litres with locking
mechanism to DIN EN 1264-4.Sight glasses
can be exchanged under system pressure,
batch indication and tracking for the
unique identification of the manifold,
even after many years of operation
(supply of accessories and spare
parts).SLQ quality-monitored and tested
for compatibility. Every manifold is
100% tested for tightness and
function.Made in Germany
Version: 7 heating circuits
Bestell-Nr.: 77310007
TECEfloor stainless steel heating
circuit manifold with flow rate
indicator Stainless steel heating
circuit manifold, heating circuit
manifold bar with large chamber volume,
surface polished, sound-absorbent
plastic holder with fast assembly
function, with union nut 1” flat
sealing. Integrated return valves with
double O-ring seal on valve tappet,
valve disk with O-ring sealing for
permanently reliable closing of the
heating circuits, flow metre with
shut-off, 0.5-4 litres with locking
mechanism to DIN EN 1264-4.Sight glasses
can be exchanged under system pressure,
batch indication and tracking for the
unique identification of the manifold,
even after many years of operation
(supply of accessories and spare
parts).SLQ quality-monitored and tested
for compatibility. Every manifold is
100% tested for tightness and
function.Made in Germany
Version: 8 heating circuits
Bestell-Nr.: 77310008
TECEfloor stainless steel heating
circuit manifold with flow rate
indicator Stainless steel heating
circuit manifold, heating circuit
manifold bar with large chamber volume,
surface polished, sound-absorbent
plastic holder with fast assembly
function, with union nut 1” flat
sealing. Integrated return valves with
double O-ring seal on valve tappet,
valve disk with O-ring sealing for
permanently reliable closing of the
heating circuits, flow metre with
shut-off, 0.5-4 litres with locking
mechanism to DIN EN 1264-4.Sight glasses
can be exchanged under system pressure,
batch indication and tracking for the
unique identification of the manifold,
even after many years of operation
(supply of accessories and spare
parts).SLQ quality-monitored and tested
for compatibility. Every manifold is
100% tested for tightness and
function.Made in Germany
Version: 9 heating circuits
Bestell-Nr.: 77310009
TECEfloor stainless steel heating
circuit manifold with flow rate
indicator Stainless steel heating
circuit manifold, heating circuit
manifold bar with large chamber volume,
surface polished, sound-absorbent
plastic holder with fast assembly
function, with union nut 1” flat
sealing. Integrated return valves with
double O-ring seal on valve tappet,
valve disk with O-ring sealing for
permanently reliable closing of the
heating circuits, flow metre with
shut-off, 0.5-4 litres with locking
mechanism to DIN EN 1264-4.Sight glasses
can be exchanged under system pressure,
batch indication and tracking for the
unique identification of the manifold,
even after many years of operation
(supply of accessories and spare
parts).SLQ quality-monitored and tested
for compatibility. Every manifold is
100% tested for tightness and
function.Made in Germany
Version: 10 heating circuits
Bestell-Nr.: 77310010
TECEfloor stainless steel heating
circuit manifold with flow rate
indicator Stainless steel heating
circuit manifold, heating circuit
manifold bar with large chamber volume,
surface polished, sound-absorbent
plastic holder with fast assembly
function, with union nut 1” flat
sealing. Integrated return valves with
double O-ring seal on valve tappet,
valve disk with O-ring sealing for
permanently reliable closing of the
heating circuits, flow metre with
shut-off, 0.5-4 litres with locking
mechanism to DIN EN 1264-4.Sight glasses
can be exchanged under system pressure,
batch indication and tracking for the
unique identification of the manifold,
even after many years of operation
(supply of accessories and spare
parts).SLQ quality-monitored and tested
for compatibility. Every manifold is
100% tested for tightness and
function.Made in Germany
Version: 11 heating circuits
Bestell-Nr.: 77310011
TECEfloor stainless steel heating
circuit manifold with flow rate
indicator Stainless steel heating
circuit manifold, heating circuit
manifold bar with large chamber volume,
surface polished, sound-absorbent
plastic holder with fast assembly
function, with union nut 1” flat
sealing. Integrated return valves with
double O-ring seal on valve tappet,
valve disk with O-ring sealing for
permanently reliable closing of the
heating circuits, flow metre with
shut-off, 0.5-4 litres with locking
mechanism to DIN EN 1264-4.Sight glasses
can be exchanged under system pressure,
batch indication and tracking for the
unique identification of the manifold,
even after many years of operation
(supply of accessories and spare
parts).SLQ quality-monitored and tested
for compatibility. Every manifold is
100% tested for tightness and
function.Made in Germany
Version: 12 heating circuits
Bestell-Nr.: 77310012
TECEfloor extension set for heating
circuit manifold with flow rate
indicator Including 1” male connector to
connect to a TECEfloor stainless steel
heating circuit manifold.
Version: Two-way
Bestell-Nr.: 77310022
TECEfloor extension set for heating
circuit manifold with flow rate
indicator Including 1” male connector to
connect to a TECEfloor stainless steel
heating circuit manifold.
Version: Three-way
Bestell-Nr.: 77310023
TECEfloor stainless steel heating
circuit manifold type Logo with flow
rate indicator Stainless steel heating
circuit manifold, outlets with
preassembled push fittings of type Logo
for fast and twist-free connection of
TECEfloor heating pipes, dim. 16 types
SLQ AI/PE-RT and SLQ MDXc 5S. Push
fitting with Eurocone connection can be
subsequently removed with ease using the
system tool. Heating circuit manifold
bar with large chamber volume, surface
polished, sound-absorbent plastic holder
with fast assembly function, with union
nut 1”, flat sealing. Integrated return
valves with double O-ring seal on valve
tappet, valve disk with O-ring sealing
for permanently reliable closing of the
heating circuits, flow metre with
shut-off, 0.5-4 litres with locking
mechanism to DIN EN 1264-4.Viewing
glasses can be exchanged under system
pressure, batch indication and tracking
for the unique identification of the
manifold, even after many years of
operation (supply of accessories and
spare parts).SLQ quality-monitored and
tested for compatibility. Every manifold
is 100% tested for tightness and
function.Made in Germany
Version: 2 heating circuits
Bestell-Nr.: 77311102
TECEfloor stainless steel heating
circuit manifold type Logo with flow
rate indicator Stainless steel heating
circuit manifold, outlets with
preassembled push fittings of type Logo
for fast and twist-free connection of
TECEfloor heating pipes, dim. 16 types
SLQ AI/PE-RT and SLQ MDXc 5S. Push
fitting with Eurocone connection can be
subsequently removed with ease using the
system tool. Heating circuit manifold
bar with large chamber volume, surface
polished, sound-absorbent plastic holder
with fast assembly function, with union
nut 1”, flat sealing. Integrated return
valves with double O-ring seal on valve
tappet, valve disk with O-ring sealing
for permanently reliable closing of the
heating circuits, flow metre with
shut-off, 0.5-4 litres with locking
mechanism to DIN EN 1264-4.Viewing
glasses can be exchanged under system
pressure, batch indication and tracking
for the unique identification of the
manifold, even after many years of
operation (supply of accessories and
spare parts).SLQ quality-monitored and
tested for compatibility. Every manifold
is 100% tested for tightness and
function.Made in Germany
Version: 3 heating circuits
Bestell-Nr.: 77311103
TECEfloor stainless steel heating
circuit manifold type Logo with flow
rate indicator Stainless steel heating
circuit manifold, outlets with
preassembled push fittings of type Logo
for fast and twist-free connection of
TECEfloor heating pipes, dim. 16 types
SLQ AI/PE-RT and SLQ MDXc 5S. Push
fitting with Eurocone connection can be
subsequently removed with ease using the
system tool. Heating circuit manifold
bar with large chamber volume, surface
polished, sound-absorbent plastic holder
with fast assembly function, with union
nut 1”, flat sealing. Integrated return
valves with double O-ring seal on valve
tappet, valve disk with O-ring sealing
for permanently reliable closing of the
heating circuits, flow metre with
shut-off, 0.5-4 litres with locking
mechanism to DIN EN 1264-4.Viewing
glasses can be exchanged under system
pressure, batch indication and tracking
for the unique identification of the
manifold, even after many years of
operation (supply of accessories and
spare parts).SLQ quality-monitored and
tested for compatibility. Every manifold
is 100% tested for tightness and
function.Made in Germany
Version: 4 heating circuits
Bestell-Nr.: 77311104
TECEfloor stainless steel heating
circuit manifold type Logo with flow
rate indicator Stainless steel heating
circuit manifold, outlets with
preassembled push fittings of type Logo
for fast and twist-free connection of
TECEfloor heating pipes, dim. 16 types
SLQ AI/PE-RT and SLQ MDXc 5S. Push
fitting with Eurocone connection can be
subsequently removed with ease using the
system tool. Heating circuit manifold
bar with large chamber volume, surface
polished, sound-absorbent plastic holder
with fast assembly function, with union
nut 1”, flat sealing. Integrated return
valves with double O-ring seal on valve
tappet, valve disk with O-ring sealing
for permanently reliable closing of the
heating circuits, flow metre with
shut-off, 0.5-4 litres with locking
mechanism to DIN EN 1264-4.Viewing
glasses can be exchanged under system
pressure, batch indication and tracking
for the unique identification of the
manifold, even after many years of
operation (supply of accessories and
spare parts).SLQ quality-monitored and
tested for compatibility. Every manifold
is 100% tested for tightness and
function.Made in Germany
Version: 5 heating circuits
Bestell-Nr.: 77311105
TECEfloor stainless steel heating
circuit manifold type Logo with flow
rate indicator Stainless steel heating
circuit manifold, outlets with
preassembled push fittings of type Logo
for fast and twist-free connection of
TECEfloor heating pipes, dim. 16 types
SLQ AI/PE-RT and SLQ MDXc 5S. Push
fitting with Eurocone connection can be
subsequently removed with ease using the
system tool. Heating circuit manifold
bar with large chamber volume, surface
polished, sound-absorbent plastic holder
with fast assembly function, with union
nut 1”, flat sealing. Integrated return
valves with double O-ring seal on valve
tappet, valve disk with O-ring sealing
for permanently reliable closing of the
heating circuits, flow metre with
shut-off, 0.5-4 litres with locking
mechanism to DIN EN 1264-4.Viewing
glasses can be exchanged under system
pressure, batch indication and tracking
for the unique identification of the
manifold, even after many years of
operation (supply of accessories and
spare parts).SLQ quality-monitored and
tested for compatibility. Every manifold
is 100% tested for tightness and
function.Made in Germany
Version: 6 heating circuits
Bestell-Nr.: 77311106
TECEfloor stainless steel heating
circuit manifold type Logo with flow
rate indicator Stainless steel heating
circuit manifold, outlets with
preassembled push fittings of type Logo
for fast and twist-free connection of
TECEfloor heating pipes, dim. 16 types
SLQ AI/PE-RT and SLQ MDXc 5S. Push
fitting with Eurocone connection can be
subsequently removed with ease using the
system tool. Heating circuit manifold
bar with large chamber volume, surface
polished, sound-absorbent plastic holder
with fast assembly function, with union
nut 1”, flat sealing. Integrated return
valves with double O-ring seal on valve
tappet, valve disk with O-ring sealing
for permanently reliable closing of the
heating circuits, flow metre with
shut-off, 0.5-4 litres with locking
mechanism to DIN EN 1264-4.Viewing
glasses can be exchanged under system
pressure, batch indication and tracking
for the unique identification of the
manifold, even after many years of
operation (supply of accessories and
spare parts).SLQ quality-monitored and
tested for compatibility. Every manifold
is 100% tested for tightness and
function.Made in Germany
Version: 7 heating circuits
Bestell-Nr.: 77311107
TECEfloor stainless steel heating
circuit manifold type Logo with flow
rate indicator Stainless steel heating
circuit manifold, outlets with
preassembled push fittings of type Logo
for fast and twist-free connection of
TECEfloor heating pipes, dim. 16 types
SLQ AI/PE-RT and SLQ MDXc 5S. Push
fitting with Eurocone connection can be
subsequently removed with ease using the
system tool. Heating circuit manifold
bar with large chamber volume, surface
polished, sound-absorbent plastic holder
with fast assembly function, with union
nut 1”, flat sealing. Integrated return
valves with double O-ring seal on valve
tappet, valve disk with O-ring sealing
for permanently reliable closing of the
heating circuits, flow metre with
shut-off, 0.5-4 litres with locking
mechanism to DIN EN 1264-4.Viewing
glasses can be exchanged under system
pressure, batch indication and tracking
for the unique identification of the
manifold, even after many years of
operation (supply of accessories and
spare parts).SLQ quality-monitored and
tested for compatibility. Every manifold
is 100% tested for tightness and
function.Made in Germany
Version: 8 heating circuits
Bestell-Nr.: 77311108
TECEfloor stainless steel heating
circuit manifold type Logo with flow
rate indicator Stainless steel heating
circuit manifold, outlets with
preassembled push fittings of type Logo
for fast and twist-free connection of
TECEfloor heating pipes, dim. 16 types
SLQ AI/PE-RT and SLQ MDXc 5S. Push
fitting with Eurocone connection can be
subsequently removed with ease using the
system tool. Heating circuit manifold
bar with large chamber volume, surface
polished, sound-absorbent plastic holder
with fast assembly function, with union
nut 1”, flat sealing. Integrated return
valves with double O-ring seal on valve
tappet, valve disk with O-ring sealing
for permanently reliable closing of the
heating circuits, flow metre with
shut-off, 0.5-4 litres with locking
mechanism to DIN EN 1264-4.Viewing
glasses can be exchanged under system
pressure, batch indication and tracking
for the unique identification of the
manifold, even after many years of
operation (supply of accessories and
spare parts).SLQ quality-monitored and
tested for compatibility. Every manifold
is 100% tested for tightness and
function.Made in Germany
Version: 9 heating circuits
Bestell-Nr.: 77311109
TECEfloor stainless steel heating
circuit manifold type Logo with flow
rate indicator Stainless steel heating
circuit manifold, outlets with
preassembled push fittings of type Logo
for fast and twist-free connection of
TECEfloor heating pipes, dim. 16 types
SLQ AI/PE-RT and SLQ MDXc 5S. Push
fitting with Eurocone connection can be
subsequently removed with ease using the
system tool. Heating circuit manifold
bar with large chamber volume, surface
polished, sound-absorbent plastic holder
with fast assembly function, with union
nut 1”, flat sealing. Integrated return
valves with double O-ring seal on valve
tappet, valve disk with O-ring sealing
for permanently reliable closing of the
heating circuits, flow metre with
shut-off, 0.5-4 litres with locking
mechanism to DIN EN 1264-4.Viewing
glasses can be exchanged under system
pressure, batch indication and tracking
for the unique identification of the
manifold, even after many years of
operation (supply of accessories and
spare parts).SLQ quality-monitored and
tested for compatibility. Every manifold
is 100% tested for tightness and
function.Made in Germany
Version: 10 heating circuits
Bestell-Nr.: 77311110
TECEfloor stainless steel heating
circuit manifold type Logo with flow
rate indicator Stainless steel heating
circuit manifold, outlets with
preassembled push fittings of type Logo
for fast and twist-free connection of
TECEfloor heating pipes, dim. 16 types
SLQ AI/PE-RT and SLQ MDXc 5S. Push
fitting with Eurocone connection can be
subsequently removed with ease using the
system tool. Heating circuit manifold
bar with large chamber volume, surface
polished, sound-absorbent plastic holder
with fast assembly function, with union
nut 1”, flat sealing. Integrated return
valves with double O-ring seal on valve
tappet, valve disk with O-ring sealing
for permanently reliable closing of the
heating circuits, flow metre with
shut-off, 0.5-4 litres with locking
mechanism to DIN EN 1264-4.Viewing
glasses can be exchanged under system
pressure, batch indication and tracking
for the unique identification of the
manifold, even after many years of
operation (supply of accessories and
spare parts).SLQ quality-monitored and
tested for compatibility. Every manifold
is 100% tested for tightness and
function.Made in Germany
Version: 11 heating circuits
Bestell-Nr.: 77311111
TECEfloor stainless steel heating
circuit manifold type Logo with flow
rate indicator Stainless steel heating
circuit manifold, outlets with
preassembled push fittings of type Logo
for fast and twist-free connection of
TECEfloor heating pipes, dim. 16 types
SLQ AI/PE-RT and SLQ MDXc 5S. Push
fitting with Eurocone connection can be
subsequently removed with ease using the
system tool. Heating circuit manifold
bar with large chamber volume, surface
polished, sound-absorbent plastic holder
with fast assembly function, with union
nut 1”, flat sealing. Integrated return
valves with double O-ring seal on valve
tappet, valve disk with O-ring sealing
for permanently reliable closing of the
heating circuits, flow metre with
shut-off, 0.5-4 litres with locking
mechanism to DIN EN 1264-4.Viewing
glasses can be exchanged under system
pressure, batch indication and tracking
for the unique identification of the
manifold, even after many years of
operation (supply of accessories and
spare parts).SLQ quality-monitored and
tested for compatibility. Every manifold
is 100% tested for tightness and
function.Made in Germany
Version: 12 heating circuits
Bestell-Nr.: 77311112
TECEfloor manifold housing 110 -
flush-mounted Compact and stable
manifold housing made of 1 mm thick,
galvanized sheet steel to DIN EN
10327/10143 with lateral, pre-punched
holes, C rail for mounting heating
circuit manifolds, removable screed
baffle plate. Door and frame coated with
high-quality epoxy polyester powder
coating, RAL 9010, depth-adjustable
110-150 mm, housing height-adjustable
from 705-755 mm.Suitable for
retrofitting with TECEfloor design glass
door.
Housing type: 400
Bestell-Nr.: 77351001
TECEfloor manifold housing 110 -
flush-mounted Compact and stable
manifold housing made of 1 mm thick,
galvanized sheet steel to DIN EN
10327/10143 with lateral, pre-punched
holes, C rail for mounting heating
circuit manifolds, removable screed
baffle plate. Door and frame coated with
high-quality epoxy polyester powder
coating, RAL 9010, depth-adjustable
110-150 mm, housing height-adjustable
from 705-755 mm.Suitable for
retrofitting with TECEfloor design glass
door.
Housing type: 600
Bestell-Nr.: 77351002
TECEfloor manifold housing 110 -
flush-mounted Compact and stable
manifold housing made of 1 mm thick,
galvanized sheet steel to DIN EN
10327/10143 with lateral, pre-punched
holes, C rail for mounting heating
circuit manifolds, removable screed
baffle plate. Door and frame coated with
high-quality epoxy polyester powder
coating, RAL 9010, depth-adjustable
110-150 mm, housing height-adjustable
from 705-755 mm.Suitable for
retrofitting with TECEfloor design glass
door.
Housing type: 750
Bestell-Nr.: 77351003
TECEfloor manifold housing 110 -
flush-mounted Compact and stable
manifold housing made of 1 mm thick,
galvanized sheet steel to DIN EN
10327/10143 with lateral, pre-punched
holes, C rail for mounting heating
circuit manifolds, removable screed
baffle plate. Door and frame coated with
high-quality epoxy polyester powder
coating, RAL 9010, depth-adjustable
110-150 mm, housing height-adjustable
from 705-755 mm.Suitable for
retrofitting with TECEfloor design glass
door.
Housing type: 900
Bestell-Nr.: 77351004
TECEfloor manifold housing 110 -
flush-mounted Compact and stable
manifold housing made of 1 mm thick,
galvanized sheet steel to DIN EN
10327/10143 with lateral, pre-punched
holes, C rail for mounting heating
circuit manifolds, removable screed
baffle plate. Door and frame coated with
high-quality epoxy polyester powder
coating, RAL 9010, depth-adjustable
110-150 mm, housing height-adjustable
from 705-755 mm.Suitable for
retrofitting with TECEfloor design glass
door.
Housing type: 1050
Bestell-Nr.: 77351005
TECEfloor manifold housing 110 -
flush-mounted Compact and stable
manifold housing made of 1 mm thick,
galvanized sheet steel to DIN EN
10327/10143 with lateral, pre-punched
holes, C rail for mounting heating
circuit manifolds, removable screed
baffle plate. Door and frame coated with
high-quality epoxy polyester powder
coating, RAL 9010, depth-adjustable
110-150 mm, housing height-adjustable
from 705-755 mm.Suitable for
retrofitting with TECEfloor design glass
door.
Housing type: 1200
Bestell-Nr.: 77351006
TECEfloor manifold housing 80 -
flush-mounted Compact and stable
manifold housing made of 1 mm thick,
galvanized sheet steel to DIN EN
10327/10143 with lateral, pre-punched
holes, C rail for mounting heating
circuit manifolds, removable screed
baffle plate. Door and frame coated with
high-quality epoxy polyester powder
coating, RAL 9010, depth-adjustable
80-120 mm, housing height-adjustable
from 705-755 mm.Suitable for
retrofitting with TECEfloor design glass
door.
Housing type: 400
Bestell-Nr.: 77351011
TECEfloor manifold housing 80 -
flush-mounted Compact and stable
manifold housing made of 1 mm thick,
galvanized sheet steel to DIN EN
10327/10143 with lateral, pre-punched
holes, C rail for mounting heating
circuit manifolds, removable screed
baffle plate. Door and frame coated with
high-quality epoxy polyester powder
coating, RAL 9010, depth-adjustable
80-120 mm, housing height-adjustable
from 705-755 mm.Suitable for
retrofitting with TECEfloor design glass
door.
Housing type: 600
Bestell-Nr.: 77351012
TECEfloor manifold housing 80 -
flush-mounted Compact and stable
manifold housing made of 1 mm thick,
galvanized sheet steel to DIN EN
10327/10143 with lateral, pre-punched
holes, C rail for mounting heating
circuit manifolds, removable screed
baffle plate. Door and frame coated with
high-quality epoxy polyester powder
coating, RAL 9010, depth-adjustable
80-120 mm, housing height-adjustable
from 705-755 mm.Suitable for
retrofitting with TECEfloor design glass
door.
Housing type: 750
Bestell-Nr.: 77351013
TECEfloor manifold housing 80 -
flush-mounted Compact and stable
manifold housing made of 1 mm thick,
galvanized sheet steel to DIN EN
10327/10143 with lateral, pre-punched
holes, C rail for mounting heating
circuit manifolds, removable screed
baffle plate. Door and frame coated with
high-quality epoxy polyester powder
coating, RAL 9010, depth-adjustable
80-120 mm, housing height-adjustable
from 705-755 mm.Suitable for
retrofitting with TECEfloor design glass
door.
Housing type: 900
Bestell-Nr.: 77351014
TECEfloor manifold housing 80 -
flush-mounted Compact and stable
manifold housing made of 1 mm thick,
galvanized sheet steel to DIN EN
10327/10143 with lateral, pre-punched
holes, C rail for mounting heating
circuit manifolds, removable screed
baffle plate. Door and frame coated with
high-quality epoxy polyester powder
coating, RAL 9010, depth-adjustable
80-120 mm, housing height-adjustable
from 705-755 mm.Suitable for
retrofitting with TECEfloor design glass
door.
Housing type: 1050
Bestell-Nr.: 77351015
TECEfloor manifold housing 80 -
flush-mounted Compact and stable
manifold housing made of 1 mm thick,
galvanized sheet steel to DIN EN
10327/10143 with lateral, pre-punched
holes, C rail for mounting heating
circuit manifolds, removable screed
baffle plate. Door and frame coated with
high-quality epoxy polyester powder
coating, RAL 9010, depth-adjustable
80-120 mm, housing height-adjustable
from 705-755 mm.Suitable for
retrofitting with TECEfloor design glass
door.
Housing type: 1200
Bestell-Nr.: 77351016
TECEfloor manifold housing 125 -
wall-mounted Compact and stable
surface-mounted manifold housing made of
1 mm thick, galvanized sheet steel to
DIN EN 10327/10143 with C rail for
mounting heating circuit manifolds.
Includes high-quality epoxy polyester
powder coating, RAL 9010, depth 125 mm,
height 618 mm.
Housing type: 500
Bestell-Nr.: 77352001
TECEfloor manifold housing 125 -
wall-mounted Compact and stable
surface-mounted manifold housing made of
1 mm thick, galvanized sheet steel to
DIN EN 10327/10143 with C rail for
mounting heating circuit manifolds.
Includes high-quality epoxy polyester
powder coating, RAL 9010, depth 125 mm,
height 618 mm.
Housing type: 730
Bestell-Nr.: 77352002
TECEfloor manifold housing 125 -
wall-mounted Compact and stable
surface-mounted manifold housing made of
1 mm thick, galvanized sheet steel to
DIN EN 10327/10143 with C rail for
mounting heating circuit manifolds.
Includes high-quality epoxy polyester
powder coating, RAL 9010, depth 125 mm,
height 618 mm.
Housing type: 900
Bestell-Nr.: 77352003
TECEfloor manifold housing 125 -
wall-mounted Compact and stable
surface-mounted manifold housing made of
1 mm thick, galvanized sheet steel to
DIN EN 10327/10143 with C rail for
mounting heating circuit manifolds.
Includes high-quality epoxy polyester
powder coating, RAL 9010, depth 125 mm,
height 618 mm.
Housing type: 1000
Bestell-Nr.: 77352004
TECEfloor design glass door Design glass
door for manifold housings
flush-mounted. Retrofittable or to
replace metal door and frame of the
TECEfloor manifold housings. Glass front
made of 6 mm single-pane safety glass,
opaque with two-fold ceramic screen
printed coating, edges seamed and
polished, sealing lip on three sides of
rear to compensate for smaller wall
unevennesses.The height and width of the
glass front overlaps the width of the
metal frame by approx. 15 mm, reliably
covers wallpaper cuttings or painted
edges when retrofitting. The set
consists of a glass door and
depth-adjustable installation holders
with hinge and magnet attachment.
Housing type: 400
Glass cover: 489 x 566 mm
Bestell-Nr.: 77352011
TECEfloor design glass door Design glass
door for manifold housings
flush-mounted. Retrofittable or to
replace metal door and frame of the
TECEfloor manifold housings. Glass front
made of 6 mm single-pane safety glass,
opaque with two-fold ceramic screen
printed coating, edges seamed and
polished, sealing lip on three sides of
rear to compensate for smaller wall
unevennesses.The height and width of the
glass front overlaps the width of the
metal frame by approx. 15 mm, reliably
covers wallpaper cuttings or painted
edges when retrofitting. The set
consists of a glass door and
depth-adjustable installation holders
with hinge and magnet attachment.
Housing type: 540
Glass cover: 628 x 566 mm
Bestell-Nr.: 77352012
TECEfloor design glass door Design glass
door for manifold housings
flush-mounted. Retrofittable or to
replace metal door and frame of the
TECEfloor manifold housings. Glass front
made of 6 mm single-pane safety glass,
opaque with two-fold ceramic screen
printed coating, edges seamed and
polished, sealing lip on three sides of
rear to compensate for smaller wall
unevennesses.The height and width of the
glass front overlaps the width of the
metal frame by approx. 15 mm, reliably
covers wallpaper cuttings or painted
edges when retrofitting. The set
consists of a glass door and
depth-adjustable installation holders
with hinge and magnet attachment.
Housing type: 690
Glass cover: 778 x 566 mm
Bestell-Nr.: 77352013
TECEfloor design glass door Design glass
door for manifold housings
flush-mounted. Retrofittable or to
replace metal door and frame of the
TECEfloor manifold housings. Glass front
made of 6 mm single-pane safety glass,
opaque with two-fold ceramic screen
printed coating, edges seamed and
polished, sealing lip on three sides of
rear to compensate for smaller wall
unevennesses.The height and width of the
glass front overlaps the width of the
metal frame by approx. 15 mm, reliably
covers wallpaper cuttings or painted
edges when retrofitting. The set
consists of a glass door and
depth-adjustable installation holders
with hinge and magnet attachment.
Housing type: 840
Glass cover: 928 x 566 mm
Bestell-Nr.: 77352014
TECEfloor design glass door Design glass
door for manifold housings
flush-mounted. Retrofittable or to
replace metal door and frame of the
TECEfloor manifold housings. Glass front
made of 6 mm single-pane safety glass,
opaque with two-fold ceramic screen
printed coating, edges seamed and
polished, sealing lip on three sides of
rear to compensate for smaller wall
unevennesses.The height and width of the
glass front overlaps the width of the
metal frame by approx. 15 mm, reliably
covers wallpaper cuttings or painted
edges when retrofitting. The set
consists of a glass door and
depth-adjustable installation holders
with hinge and magnet attachment.
Housing type: 990
Glass cover: 1078 x 566 mm
Bestell-Nr.: 77352015
TECEfloor ball valve Ball valve with 1”
connection, nickel plated, incl. flat
seal, installation dimension 70 mm.
Dimension: Rp 3/4” x R 1”
Bestell-Nr.: 77381001
TECEfloor angled ball valve set Angled
ball valve set Rp 3/4” x R 1” consisting
of return ball valve with angled
connection Rp 1”, flat sealing and flow
angled connection and ball valve Rp 1”
incl. flat seal, installation dimension
125 mm.
Dimension: Rp 3/4” x R 1”
Bestell-Nr.: 77381002
TECEfloor ball valve Ball valve with 1”
connection, nickel plated, incl. flat
seal, installation dimension 70 mm.
Dimension: Rp 1” x R 1”
Bestell-Nr.: 77381003
TECEfloor ball valve with thermometer
Ball valve Rp 1” x R 1”, nickel plated,
with thermometer in turning handle,
installation dimension 70 mm.
Dimension: Rp 1” x R 1” / red
Bestell-Nr.: 77381004
TECEfloor ball valve with thermometer
Ball valve Rp 1” x R 1”, nickel plated,
with thermometer in turning handle,
installation dimension 70 mm.
Dimension: Rp 1” x R 1” / blue
Bestell-Nr.: 77381005
TECEfloor industrial ball valve set 1
1/2” Industrial heating circuit manifold
ball valve set G 1 1/2”, made of brass,
installation dimension 88 mm.
Bestell-Nr.: 77381006
TECEfloor ball valve with thermometer
Ball valve Rp 1” x R 1” with
thermometer, nickel plated, with
thermometer in turning handle, includes
red and blue clips to mark flow and
return.
Bestell-Nr.: 77381008
TECEfloor calorimeter installation kit
Calorimeter corner installation set with
sensor mount to DIN 1434-2, versatile,
overall length 110 mm or 130 mm, primary
connection Rp 3/4”, manifold connection
R 1”, flat sealing, flow and return ball
valve with sensor connection M 10 x 1,
installation dimension 127 mm,
centre-to-centre distance 70 mm.
Dimension: Rp 3/4” x R 1”
Bestell-Nr.: 77382005
TECEfloor plastic heating circuit
manifold basic module Basic module,
modular expandable with 2-way and 3-way
connection modules, consists of base
with union nut 1” flat-sealing, seal,
flow and return thermometer, filling and
emptying unit, end caps, manifold
holders, screws and wall plugs.Operating
conditions max. 60 Grad C at 6 bar or 90
Grad C at 3 bar.SLQ quality-monitored
and tested for compatibility, 100%
tested for tightness and function.
Version: Basic module
Bestell-Nr.: 77390010
TECEfloor plastic heating circuit
manifold connection module with flow
rate indicator Connection module with
flow rate indicator, modular expandable,
heating circuit outlets in 3/4”
Eurocone, flow with preconfigurable flow
rate indicators up to 3.5 l/min, return
with integrated valve cores M 30 x 1.5
mm.SLQ quality-monitored and tested for
compatibility, 100% tested for tightness
and function.
Version: 2 heating circuits
Bestell-Nr.: 77390020
TECEfloor plastic heating circuit
manifold connection module with flow
rate indicator Connection module with
flow rate indicator, modular expandable,
heating circuit outlets in 3/4”
Eurocone, flow with preconfigurable flow
rate indicators up to 3.5 l/min, return
with integrated valve cores M 30 x 1.5
mm.SLQ quality-monitored and tested for
compatibility, 100% tested for tightness
and function.
Version: 3 heating circuits
Bestell-Nr.: 77390030
TECEfloor plastic heating circuit
manifold connection module with flow
rate indicator Connection module with
flow rate indicator, modular expandable,
heating circuit outlets in 3/4”
Eurocone, flow with preconfigurable flow
rate indicators up to 3.5 l/min, return
with integrated valve cores M 30 x 1.5
mm.SLQ quality-monitored and tested for
compatibility, 100% tested for tightness
and function.
Version: 4 heating circuits
Bestell-Nr.: 77390040
TECEfloor industrial heating circuit
manifold, plastic, 1 1/2” basic module
Industrial plastic manifold 1 1/2”,
basic module for the modular
installation of industrial manifolds up
to 20 heating circuits, incl. boiler
filling/emptying tap and wall
mount.Testing pressure 6 bar (< 30 Grad
C, 24 h), operating pressure 3 bar, -20
Grad C to 60 Grad C.
Version: Basic module
Bestell-Nr.: 77390110
TECEfloor industrial heating circuit
manifold, plastic, VL/RL module 3/4”
Industrial heating circuit manifold
module, manifold segment, combinable,
modular expandable 1-20 heating
circuits, O-ring seal, flow segment with
flow metre 4-20 l/min., return segment
with integrated valve, 3/4” Eurocone
connection, connects to max. 20 heating
circuits.
Version: 1 heating circuit
Bestell-Nr.: 77390111
TECEfloor industrial heating circuit
manifold, plastic, wall mount set
Industrial heating circuit manifold 1
1/2” wall mount set for additional
mounting of the manifold module, 400 mm
spacing or as of 10 to max. 20 heating
circuits.
Bestell-Nr.: 77390120
TECEfloor industrial heating circuit
manifold, plastic, pressure gauge
Industrial heating circuit manifold
pressure gauge with installation valve.
Bestell-Nr.: 77390130
TECEfloor design thermostat cover DT
Design thermostat cover, high-quality
real glass cover in unpretentious
design, designer: NOA Matches TECElux
and TECEloop design ranges3 mm ceramic
screen printed safety glass, can be
installed on all TECEfloor DT design
thermostat covers during the fine
construction phase, can be subsequently
replacedOutside diameter 105 mm, depth
27 mm
Colour: Black glass
Bestell-Nr.: 77400010
TECEfloor design thermostat cover DT
Design thermostat cover, high-quality
real glass cover in unpretentious
design, designer: NOA Matches TECElux
and TECEloop design ranges3 mm ceramic
screen printed safety glass, can be
installed on all TECEfloor DT design
thermostat covers during the fine
construction phase, can be subsequently
replacedOutside diameter 105 mm, depth
27 mm
Colour: White glass
Bestell-Nr.: 77400011
TECEfloor design thermostat cover DT
Design thermostat cover, high-quality
real glass cover in unpretentious
design, designer: NOA Matches TECElux
and TECEloop design ranges3 mm ceramic
screen printed safety glass, can be
installed on all TECEfloor DT design
thermostat covers during the fine
construction phase, can be subsequently
replacedOutside diameter 105 mm, depth
27 mm
Colour: Orange glass
Bestell-Nr.: 77400012
TECEfloor room thermostat 230 V Room
thermostat to switch between 1-10
servomotors, temperature range from
10-30 Grad C and a switching difference
of +/- 0.2 K. For wall-mounting and
installation on the 55 mm diam.
flush-mounted socket with system
holder.Dimensions (W x H x D): 80 x 93 x
27 mm
Bestell-Nr.: 77410010
TECEfloor system holder for room
thermostat System holder suitable for
TECEfloor room thermostat 230 V (article
77410010), including protective cap for
construction site and fastening screws
for installation on flush-mounted
sockets.
Bestell-Nr.: 77410011
TECEfloor room thermostat RT 230 V,
electronic Electronic room thermostat,
230 V NC. For assembly on flush-mounted
sockets or directly on the wall,
adjusting wheel with 1/4 degree soft
setting, thermal recirculation,
temperature reduction 4 K through
actuation via an external time switch,
switching current 1.8 A (ohmic load),
max. 10 servomotors each 3 W.Dimensions
(W x H x D): 78 x 78 x 26 mm
Bestell-Nr.: 77410012
TECEfloor room thermostat RT 230 V,
electronic Electronic room thermostat,
230 V NC. For assembly on flush-mounted
sockets or directly on the wall,
adjusting wheel with 1/4 degree soft
setting, thermal recirculation,
temperature reduction 4 K through
actuation via an external time switch,
switching current 1.8 A (ohmic load),
max. 10 servomotors each 3 W.Dimensions
(W x H x D): 78 x 78 x 26 mm
Bestell-Nr.: 77410013
TECEfloor room thermostat RT 230 V,
electronic Electronic room thermostat,
230 V NC. For assembly on flush-mounted
sockets or directly on the wall,
adjusting wheel with 1/4 degree soft
setting, thermal recirculation,
temperature reduction 4 K through
actuation via an external time switch,
switching current 1.8 A (ohmic load),
max. 10 servomotors each 3 W.Dimensions
(W x H x D): 78 x 78 x 26 mm
Bestell-Nr.: 77410014
TECEfloor cover plate for standard
thermostats Cover plate for standard
room thermostats 230 V and
radio-controlled, prevents unauthorised
changes to the set-point temperature in
areas with public access.
Bestell-Nr.: 77410016
TECEfloor design thermostat base DT
Basic board with electronics as base
body for holding all TECEfloor DT design
thermostat covers.The base body with
electronics can be mounted on a
flush-mounted socket or directly on the
wall. After wiring or after programming
of the radio electronics, a separate
design cover is attached. Dimensions
incl. design cover: Diameter approx. 105
mm, depth approx. 27 mm
Bestell-Nr.: 77410020
TECEfloor design thermostat base DT
Basic board with electronics as base
body for holding all TECEfloor DT design
thermostat covers.The base body with
electronics can be mounted on a
flush-mounted socket or directly on the
wall. After wiring or after programming
of the radio electronics, a separate
design cover is attached. Dimensions
incl. design cover: Diameter approx. 105
mm, depth approx. 27 mm
Bestell-Nr.: 77410023
TECEfloor radio-controlled thermostat RT
Radio-controlled thermostat
heating/cooling, transmission frequency
868 MHz, changeover from heating/cooling
controlled via base unit, transmission
range inside buildings approx. 25 m,
radio signal can be screened or damped
e.g. by reinforced concrete.Dimensions
(W x H x D): 78 x 78 x 26 mm.
Bestell-Nr.: 77420010
TECEfloor radio-controlled thermostat RT
Radio-controlled thermostat
heating/cooling, transmission frequency
868 MHz, changeover from heating/cooling
controlled via base unit, transmission
range inside buildings approx. 25 m,
radio signal can be screened or damped
e.g. by reinforced concrete.Dimensions
(W x H x D): 78 x 78 x 26 mm.
Bestell-Nr.: 77420011
TECEfloor radio-controlled thermostat RT
Radio-controlled thermostat
heating/cooling, transmission frequency
868 MHz, changeover from heating/cooling
controlled via base unit, transmission
range inside buildings approx. 25 m,
radio signal can be screened or damped
e.g. by reinforced concrete.Dimensions
(W x H x D): 78 x 78 x 26 mm.
Bestell-Nr.: 77420012
TECEfloor design thermostat base DT
Basic board with electronics as base
body for holding all TECEfloor DT design
thermostat covers.The base body with
electronics can be mounted on a
flush-mounted socket or directly on the
wall. After wiring or after programming
of the radio electronics, a separate
design cover is attached. Dimensions
incl. design cover: Diameter approx. 105
mm, depth approx. 27 mm
Bestell-Nr.: 77420020
TECEfloor terminal strip 230 V Terminal
strip to connect 230 V TECEfloor room
thermostats with TECEfloor servomotors,
optionally with switching relay with
potential-free contact for pump or
boiler shut-off, screwless plug
connections, to connect 6 room
thermostats and a maximum of 12
servomotors, connection line with Euro
plug. Max. power input 50 W.Dimensions
(W x H x D): 345 x 74 x 40 mm.
Bestell-Nr.: 77430010
TECEfloor terminal strip 230 V Terminal
strip to connect 230 V TECEfloor room
thermostats with TECEfloor servomotors,
optionally with switching relay with
potential-free contact for pump or
boiler shut-off, screwless plug
connections, to connect 6 room
thermostats and a maximum of 12
servomotors, connection line with Euro
plug. Max. power input 50 W.Dimensions
(W x H x D): 345 x 74 x 40 mm.
Bestell-Nr.: 77430011
TECEfloor terminal strip 230 V Terminal
strip to connect 230 V TECEfloor room
thermostats with TECEfloor servomotors,
optionally with switching relay with
potential-free contact for pump or
boiler shut-off, screwless plug
connections, to connect 6 room
thermostats and a maximum of 12
servomotors, connection line with Euro
plug. Max. power input 50 W.Dimensions
(W x H x D): 345 x 74 x 40 mm.
Bestell-Nr.: 77430012
TECEfloor radio-control base unit, 6/12
channels Radio-control base unit incl.
pump module and heating/cooling signal
input, to receive signals from TECEfloor
radio-controlled thermostats and connect
TECEfloor servomotors (230 V/3 W).
Switching relay with potential-free
contact for pump or boiler shut-off,
incl. valve interval switching at 24 h
without heat requirement. Max. power
input 50 W.
Bestell-Nr.: 77440010
TECEfloor radio-control base unit, 6/12
channels Radio-control base unit incl.
pump module and heating/cooling signal
input, to receive signals from TECEfloor
radio-controlled thermostats and connect
TECEfloor servomotors (230 V/3 W).
Switching relay with potential-free
contact for pump or boiler shut-off,
incl. valve interval switching at 24 h
without heat requirement. Max. power
input 50 W.
Bestell-Nr.: 77440011
TECEfloor fixed value control 20-55 Grad
C Fixed value control with thermostat
head and flow sensor, hydraulic
comparison with the adjacent heat
distribution system via return valve and
balance valve possible.Electronically
controlled circulating pump ES 25-60
with permanent magnet synchronous motor.
Energy efficiency class A, (8.4 ... 53
W). The patented pump chamber prevents
rotor blockages caused by deposits e.g.
after long idle times.Operating
modes:Constant pressure 300 mbarConstant
pressure 400 mbarProportional
andVariably adjustableOutput approx. 10
kW,Primary flow max. 90 Grad C, primary
return max. 55 Grad C,Pmax = 6
bar,Thermostat valve KVs value
4.0,Return valve KVs value 2.7,Primary
connection via Rp 3/4”,Secondary
connection to the manifold R 1”, flat
sealing,Installation dimension 245 mm.
Bestell-Nr.: 77450000
TECEfloor contact thermostat 0-60 Grad C
STC Safety thermal cut-out with
tensioning band, electromechanical
contact thermostat for switching off
circulating pumps or closing zone valves
NC, connected load 230 V.
Bestell-Nr.: 77450011
TECEfloor SLQ servomotor 230 V
Servomotor, normally closed (NC) when no
current flowing, for mounting on return
valves of SLQ heating circuit manifolds,
degree of protection IP 54 consequently,
mounts 360Grad in any position. Robust
union nut connection M 30 x 1.5 made of
nickel-plated brass, lifting and closing
dimension tailored to SLQ heating
circuit manifolds, optimum elastic force
80 N, connected load 230 V.SLQ
quality-monitored and tested for
compatibility.
Bestell-Nr.: 77490010
TECEfloor SLQ servomotor 24 V
Servomotor, normally closed (NC) when no
current flowing, for mounting on return
valves of SLQ heating circuit manifolds,
degree of protection IP 54,
consequently, mounts 360Grad in any
position. Robust union nut connection M
30 x 1.5 made of nickel-plated brass,
lifting and closing dimension tailored
to SLQ heating circuit manifolds,
optimum elastic force 80 N, connected
load 24 V.SLQ quality-monitored and
tested for compatibility.
Bestell-Nr.: 77490020
TECEfloor dimpled panel 30-2/14-17 mm
Dimpled panel 30-2 for pipe dimensions
14-17 mm, spacing VA 6 cm, diagonal 8.4
cm, EPS DES sg BS100-SD20-CP2, WLG 040
R(Lambda) = 0.75 W/(m2x K), max. movable
load 5 kPa/m2,impact sound improvement
28 dB.
Dimension: 840 mm x 1440 mm
Bestell-Nr.: 77510010
TECEfloor dimpled panel 11/14-17 mm
Dimpled panel with 11 mm insulation,
spacing VA 6 cm, diagonal 8.4 cm, EPS
DEO ds BS250-CS(10)200, WLG 035
R(Lambda) = 0.31 W/(m2x K), max. movable
load 30 kPa/m2. For pipe dimensions
14-17 mm.
Dimension: 840 mm x 1440 mm
Bestell-Nr.: 77510020
TECEfloor compensating element NP 30/11
for dimpled panels 30-2 and 11
Compensating element NP 30/11 for
TECEfloor dimpled panels 30-2 and 11, 90
cm wide, to compensate for door openings
or movement joints.
Dimension: Width 900 mm
Bestell-Nr.: 77510021
TECEfloor dimpled sheet without
insulation /14-17 mm Dimpled sheet
without insulation, to be laid on
customer’s insulation. For pipe
dimensions 14-17 mm, spacing VA 6 cm,
diagonal 8.4 cm.
Dimension: 840 mm x 1440 mm
Bestell-Nr.: 77510030
TECEfloor compensating strips for
dimpled sheets Compensating element for
TECEfloor dimpled sheets, 90 cm wide, to
compensate for door openings or movement
joints.Not suitable for dimpled panels
30-2 and 11.
Dimension: Width 900 mm
Bestell-Nr.: 77510031
TECEfloor universal panel UP 125 or 250
with aluminium guide plate For universal
use in old and new buildings in dry-wall
or brick-wall construction or as wall
heating. EPS element with 0.5 mm
aluminium guide plate glued over full
surface for optimum lateral distribution
of heat. Omega pipe layout, edges
beaded, with predetermined breaking
points to facilitate tool-free length
and width adjustment.Base place made of
EPS 035 DEO, 240 kPa,Thermal
conductivity 0.035 W/mKThermal
resistance > 0.8 m2K/WBending strength >
0.4 N/mm2 to DIN EN 13089Compression
strength 240 kPa at 10 % compression to
DIN EN 826Building material class E to
EN 13501Dimensions (L x W x H): 1000 x
500 x 30 mmPipe spacing RA = 125 and 250
mm
Dimension: UP 125
Bestell-Nr.: 77520010
TECEfloor universal panel UP 125 or 250
with aluminium guide plate For universal
use in old and new buildings in dry-wall
or brick-wall construction or as wall
heating. EPS element with 0.5 mm
aluminium guide plate glued over full
surface for optimum lateral distribution
of heat. Omega pipe layout, edges
beaded, with predetermined breaking
points to facilitate tool-free length
and width adjustment.Base place made of
EPS 035 DEO, 240 kPa,Thermal
conductivity 0.035 W/mKThermal
resistance > 0.8 m2K/WBending strength >
0.4 N/mm2 to DIN EN 13089Compression
strength 240 kPa at 10 % compression to
DIN EN 826Building material class E to
EN 13501Dimensions (L x W x H): 1000 x
500 x 30 mmPipe spacing RA = 125 and 250
mm
Dimension: UP 250
Bestell-Nr.: 77520011
TECEfloor head element UP 125 or 250
with aluminium guide plate 4-way element
made of EPS 035 DEO, 240 kPa, with
incorporated pipe redirections and glued
aluminium guide plates in Omega form, to
perfectly secure the heating pipes in
the bends, predetermined breaking points
for easy separation of the individual
head pieces.Head element made of EPS 035
DEO, 240 kPaDimensions (L x W x H): 1000
x 500 x 30 mm
Dimension: UP 125
Bestell-Nr.: 77520012
TECEfloor head element UP 125 or 250
with aluminium guide plate 4-way element
made of EPS 035 DEO, 240 kPa, with
incorporated pipe redirections and glued
aluminium guide plates in Omega form, to
perfectly secure the heating pipes in
the bends, predetermined breaking points
for easy separation of the individual
head pieces.Head element made of EPS 035
DEO, 240 kPaDimensions (L x W x H): 1000
x 500 x 30 mm
Dimension: UP 250
Bestell-Nr.: 77520013
TECEfloor transition element UP 125 on
UP 250 Transition element made of EPS
035 DEO, 240 kPa, with incorporated pipe
redirections for transition from RA 125
to RA 250 mm, without aluminium guide
plate.Transition element made of EPS 035
DEO, 240 kPaDimensions (L x W x H): 375
x 250 x 30 mm
Dimension: UP 125 > UP 250
Bestell-Nr.: 77520014
TECEfloor compensating element UP
Compensating element made of EPS 035
DEO, 240 kPa, for covering and
compensating for remaining areas and
inlet areas, pipe guides for inlet pipes
can be incorporated easily and
individually with the hot cutter. Areas
in inlet areas are to be covered with
0.5 mm sheet steel for load
distribution.Compensating element made
of EPS 035 DEO, 240 kPaDimensions (L x W
x H): 1000 x 500 x 30 mm
Dimension: UP 125 > UP 250
Bestell-Nr.: 77520015
TECEfloor edge board UP Edge board made
of wood fibre material for stronger and
accurate edging, to be laid along the
edge insulation strips. 5 mm wood fibre
layer on underside to reduce
structure-borne noise and compensate for
minor surface unevenness.Mandatory for
all types of structures when laid
directly. Recommended for structures
with dry screed.Dimensions (L x W x
H): 1000 x 45 x 30 mm
Bestell-Nr.: 77520016
TECEfloor edge board for door opening UP
Edge board with two pre-cut pipe
openings, for use, e.g., in the doorway.
5 mm wood fibre layer on underside to
reduce structure-borne noise and
compensate for minor surface
unevenness.Dimensions (L x W x H): 250 x
45 x 30 mm
Bestell-Nr.: 77520017
TECEfloor insulation mat UP Load
distribution and insulation mat for
tiles and laminate.Polyester-fibre board
made of aluminium-clad polyester fleece
and thermoplastic binder consequently,
high tear resistance and compression
strength, movable loads up to 2 kN/m2,
point load up to 2 kN.Thermal
conductivity: 0.2 W/mKWeight: approx.
5.2 kg/m2 Tile formatsMinimum size 10 x
10 cm or 100 cm2Maximum size 60 x 40
cmMinimum thickness (natural stone) 10
mmJoint sizeMinimum 3 mm up to tile size
30 x 30 cmMinimum 4 mm up to tile size
40 x 40 cmMinimum 5 mm up to tile size
40 x 60 cmField sizeUp to max. 60 m2,
length/width ratio max. 2: 1Dimensions
(L x W x H): 1150 x 600 x 5 (+0.5) mm
Bestell-Nr.: 77520018
TECEfloor joint adhesive strip UP
Adhesive tape to glue insulation mat
edges when laying tiles.
Dimension: 120 m
Bestell-Nr.: 77520019
TECEfloor Ultrabond Eco Fix UP
Dispersion fixing, for gluing the
universal panels to the subsurface (only
when laid directly) and for gluing the
insulation mat to the universal panel,
10 kg container.
Dimension: 10 kg
Bestell-Nr.: 77520020
TECEfloor hot cutter UP Hot cutter with
U-shaped blade to cut out inlet guides
in EPS compensating elements, connected
load 230 V.
Bestell-Nr.: 77520021
TECEfloor head element UP 125 or 250
without aluminium guide plate 4-way
element made of EPS 035 DEO, 240 kPa,
with incorporated pipe redirections
without aluminium guide plate,
predetermined breaking points for easy
separation of the individual head
pieces.Head element made of EPS 035 DEO,
240 kPaDimensions (L x W x H): 1000 x
500 x 30 mm
Dimension: UP 125
Bestell-Nr.: 77520022
TECEfloor head element UP 125 or 250
without aluminium guide plate 4-way
element made of EPS 035 DEO, 240 kPa,
with incorporated pipe redirections
without aluminium guide plate,
predetermined breaking points for easy
separation of the individual head
pieces.Head element made of EPS 035 DEO,
240 kPaDimensions (L x W x H): 1000 x
500 x 30 mm
Dimension: UP 250
Bestell-Nr.: 77520023
TECEfloor load distribution sheet UP
Load distribution sheet UP to cover and
distribute load from pipe runs in the
compensating element, e.g. where the
manifold is installed (1 sheet for 2
heating circuits)Sheet steel 800 x 200 x
1 mm
Bestell-Nr.: 77520024
TECEfloor roll insulation with impact
sound insulation 30-2 DES WLG 040
Insulation made of EPS DES sg
BS50-SD20-CP2, WLG 040, R(Lambda) = 0.75
W/(m2x K), coated with a tear-resistant
strip woven film, max. moving load 5
kN/m2, impact sound improvement 28 dB.
Dimension: Width 1 m / length 10 m
Bestell-Nr.: 77531500
TECEfloor roll insulation with impact
sound insulation 30-3 DES WLG 045
Insulation made of EPS DES sm
BS50-SD15-CP3, WLG 045, R(Lambda) = 0.67
W/(m2x K), class E/B2, coated with a
tear-resistant strip woven film, max.
moving load 4 kN/m2, impact sound
improvement 29 dB.
Dimension: Width 1 m / length 10 m
Bestell-Nr.: 77531520
TECEfloor tacking sheet 10plus 10 mm
thick EPS DEO dh BS200-CS(10)150 folding
tacking sheet for universal laying on
customer’s insulation such as suitable
mineral wool, EPS and PUR insulation or
in renovations on the existing screed.
Made of expanded polystyrene EPS,
nominal value for thermal conductivity
0.034 W/mK (DIN EN 13163 DIN EN 12667),
R(Lambda) = 0.285 W/(m2K)Compression
strength at 10 % compression 150 kPA
CS(10/Y) 150 (DIN EN 826 DIN EN 13163),
EPS Euroclass E (DIN EN 13501-1)Coated
with a highly tear-resistant, finely
woven, fibre-reinforced multi-layer
composite woven film made of
polyethylene (DIN EN 1264-4), highly
adhesive, for very high holding forces
for the TECEfloor 10plus tacking
pinsOne-sided, self-adhesive 30 mm wide
film overlap, grid markings 5 and 10
cmEPS thickness: 10 mmDimensions: 1.60 x
1.20 m (1.92 m2), delivered folded: 0.80
x 1.20 m
Bestell-Nr.: 77531530
TECEfloor tacking sheet 10plus 10 mm
thick EPS DEO dh BS200-CS(10)150 folding
tacking sheet for universal laying on
customer’s insulation such as suitable
mineral wool, EPS and PUR insulation or
in renovations on the existing screed.
Made of expanded polystyrene EPS,
nominal value for thermal conductivity
0.034 W/mK (DIN EN 13163 DIN EN 12667),
R(Lambda) = 0.285 W/(m2K)Compression
strength at 10 % compression 150 kPA
CS(10/Y) 150 (DIN EN 826 DIN EN 13163),
EPS Euroclass E (DIN EN 13501-1)Coated
with a highly tear-resistant, finely
woven, fibre-reinforced multi-layer
composite woven film made of
polyethylene (DIN EN 1264-4), highly
adhesive, for very high holding forces
for the TECEfloor 10plus tacking
pinsOne-sided, self-adhesive 30 mm wide
film overlap, grid markings 5 and 10
cmEPS thickness: 10 mmDimensions: 1.60 x
1.20 m (1.92 m2), delivered folded: 0.80
x 1.20 m
Bestell-Nr.: 77531531
TECEfloor backerboard Backerboard made
of rack-drawn 3 mm steel wire for fixing
the underfloor heating pipes with board
binders or pipe clips.Dimensions (L x W
x H): 2100 x 1200 x 3 mm
Dimension: M 100 x 100 mm
Bestell-Nr.: 77540010
TECEfloor backerboard Backerboard made
of rack-drawn 3 mm steel wire for fixing
the underfloor heating pipes with board
binders or pipe clips.Dimensions (L x W
x H): 2100 x 1200 x 3 mm
Dimension: M 150 x 150 mm
Bestell-Nr.: 77540015
TECEfloor clip rail 16-20 Clip rail,
modular expandable by means of push-fit
connector system. Length of individual
segments 100 cm, double-sided adhesive
tape on underside.
Dimension: 14-17 mm
Bestell-Nr.: 77570010
TECEfloor adhesive tape Adhesive tape to
create a waterproof screed form by
sticking on the stapled insulation
joints.
Dimension: Width 50 mm / length 66 m
Bestell-Nr.: 77600010
TECEfloor tape unwinder Tape unwinder
for efficient use of adhesive tape.
Bestell-Nr.: 77600020
TECEfloor tacking tool T8 extra Tacking
tool specially designed for extra-wide
tacking pins T8 extra (8 mm).The
precision-made tools are distinguished
by their excellent reliability.Incl.
stand, weight and inspection opening.Not
suitable for conventional 6 mm tacking
pins.
Bestell-Nr.: 77610001
TECEfloor tacking pins T8 extra, dim.
14-20 Extra-wide tacking pins with 8 mm
wide clip for better fixing and guiding
of heating pipes, particularly in floor
areas. Tacking pin with special anchor,
very good foil penetration, low damage
to strip woven film and improved hold
with 45Grad angle of pull
(curves).Optimised for EPS insulation,
not suitable for PUR insulation.Cannot
be used with standard tacking tools!
Bestell-Nr.: 77610010
TECEfloor tacking pins standard 6 mm,
dim. 14-20 Standard tacking pins,
heat-applied, can be used with many
conventional tacking tools.
Bestell-Nr.: 77610016
TECEfloor tacking pins standard 6 mm,
dim. 14-20 Standard tacking pins,
heat-applied, can be used with many
conventional tacking tools.
Bestell-Nr.: 77610023
TECEfloor standard tacking tool 6 mm
Standard tacking tool for conventional 6
mm tacking pins of length 40 mm or 40
and 60 mm. These precision-made tools
are distinguished by their excellent
reliability.Incl. stand, weight and
inspection opening.
Bestell-Nr.: 77610024
TECEfloor tacking pins 10plus 10plus
tacking pins, for heating pipes in
dimensions 14-17 mm, in particular
developed for fixing pipes on the
TECEfloor 10plus folding tacking sheets,
each with 4 short holding anchors per
pin and a wide supporting surface to
achieve very high holding forces and
pipe fixing in accordance with
standards, also suitable for
conventional tacking sheets. Only for
use with the TECEfloor tacking tool type
10plus.
Bestell-Nr.: 77610025
TECEfloor tacking tool 10plus Tacking
tool 10plus, suitable only for use with
type 10plus tacking pins. These
precision-made tools are distinguished
by their excellent reliability.
Bestell-Nr.: 77610026
TECEfloor pipe clips 17, magazined Pipe
clips for mounting underfloor heating
pipes, dim. 17 on 3 mm backerboards.
Magazined for use in tacking tools.
Dimension: 17 mm
Bestell-Nr.: 77611000
TECEfloor pipe clips Pipe clips for
mounting underfloor heating pipes, dim.
16-18 on 3 mm backerboards.
Dimension: 16-18 mm
Bestell-Nr.: 77611010
TECEfloor board binders Board binders to
fix pipes on and join backerboards
together.
Bestell-Nr.: 77611020
TECEfloor retaining pin Retaining pins
for fixing clip rails or mounting
underfloor heating pipes.
Bestell-Nr.: 77612010
TECEfloor edge insulation strip Edge
insulation strips made of PE foam,
self-adhesive with foil for sound
insulation and to compensate for thermal
expansion of the screed layer in
accordance with DIN 18560. Suitable for
cement and flow screed.
Dimension: 150/10 - 40 m
Bestell-Nr.: 77620012
TECEfloor expansion joint profile 10 x
100 mm PE strips made of PE flexible
foam, CFC-free, to create permanently
elastic screed joints and to limit
screed areas. With 40 mm wide
self-adhesive foot. Suitable for cement
and flow screed.Width 10 mm, height 100
mm, length 1800 mm
Dimension: 10 x 100 mm
Bestell-Nr.: 77630010
TECEfloor pipe joint protection
Polyethylene insulating tube to protect
floor heating pipes in the expansion
joint area.
Dimension: 14-17 mm
Bestell-Nr.: 77630020
TECEfloor pipe joint protection
Polyethylene insulating tube to protect
floor heating pipes in the expansion
joint area.
Dimension: 17-20 mm
Bestell-Nr.: 77630025
TECEfloor cement screed additive
Plasticizing additive especially for the
production of cement and calcium
sulphate heating screeds (not suitable
for flow screeds), 10 kg
container.Requirement: 0.03 kg/m2 per cm
screed thickness
Dimension: 10 kg
Bestell-Nr.: 77640010
TECEfloor polyethylene foil 0.2 mm
Dimension: Width: 1.5 m
Bestell-Nr.: 77660010
TECEfloor pipe bend guides Pipe bend
guides made of plastic, to guide pipes
out of the screed.
Dimension: 14-17 mm
Bestell-Nr.: 77910010
TECEfloor pipe bend guides Pipe bend
guides made of plastic, to guide pipes
out of the screed.
Dimension: 20 mm
Bestell-Nr.: 77910011
TECEfloor SLQ pipe calibrator dim.
14-16-17-20 SLQ pipe calibrator
14-16-17-20 with adapted cutting
geometry, to deburr and calibrate pipe
ends when SLQ clamping ring connections
are used, SLQ tested system tool.
Dimension: 14 - 16 - 17 - 20
Bestell-Nr.: 77920000
TECEfloor tension belt 20 mm Tension
belt for fixing started pipe rolls
during transport and storage.
Bestell-Nr.: 77920010
TECEfloor roll dispenser Universal roll
dispenser for rolls of TECE pipe, length
200-800 m, width adjustment of inner
roll diameter (Di) 200-900 mm, outer
roll diameter (Da) 600-1300 mm.
Bestell-Nr.: 77920020
TECEfloor tool set dim. 16, type
TECElogo Tool set to deburr and
calibrate TECEfloor system pipes - type
MDXc-5S and ISO composite pipes - in
combination with TECEfloor Eurocone push
fit connectors type Logo.Consists of
manual calibrator and hook wrench.
Dimension: 16
Bestell-Nr.: 77920040
TECEfloor tool case dim. 16, type
TECElogo Complete tool set to cut to
length, deburr and calibrate TECEfloor
system pipes, dimension 16 - type
MDXc-5S and ISO composite pipes - in
combination with TECEfloor Eurocone push
fittings type Logo.Consists of pipe
cutter, calibrator, handle, hook wrench
and open-end wrench.
Dimension: 16
Bestell-Nr.: 77920041
TECEfloor expanding head, suitable for
pipe expanding tool RAZ-V SLQ expanding
head for expanding PE-Xc and PE-RT
all-plastic pipes for installing the SLQ
pressure sleeve coupling, not suitable
for AL composite pipes.
Dimension: 17 x 2
Bestell-Nr.: 77921700
TECEfloor expanding head, suitable for
pipe expanding tool RAZ-V SLQ expanding
head for expanding PE-Xc and PE-RT
all-plastic pipes for installing the SLQ
pressure sleeve coupling, not suitable
for AL composite pipes.
Dimension: 20 x 2 (20 L)
Bestell-Nr.: 77922000
TECEfloor turning lock for manifold
housings Turning lock for TECEfloor
manifold housings flush-mounted and
wall-mounted.
Bestell-Nr.: 77990010
TECE pipe scissor
Dimension: 14-25
Bestell-Nr.: 8760002